{"text_format":"2","workbook":"xls","n_sheets":4,"sheets":["Kleuren","Hardware IO (geen TMX)","Configuratie PLC Racks","Configuratie PLC Racks_altern32"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":3,"defined_names":27,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Kleuren","index":0,"n_rows":23,"n_cols":4,"rows_kept":23,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[]
[null,"Kleurcodering opmerking A. Söntgerath"]
[null,null,null,"= gewijzigd t.o.v. Versie 1"]
[]
[null,null,null,"= goed"]
[]
[null,null,null,"= niet aanwezig"]
[]
[null,null,null,"= reserve"]
[]
[null,null,null,"= fout"]
[]
[null,null,null,"= vervallen"]
[]
[]
[null,"x",null,"= analoge ingangskaart"]
[]
[null,"x",null,"=analoge uitgangskaart"]
[]
[null,"x",null,"= digitale ingangskaart"]
[]
[null,"x",null,"= digitale uitgangskaart"]

{"sheet":"Hardware IO (geen TMX)","index":1,"n_rows":1568,"n_cols":32,"rows_kept":1568,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["ALGEMEEN"]
["installatie-onderdeel","Signaal","Gereed","DI","DI","DO","DO","AO","AO","AI","AI","0mA","4mA","20mA","Eenheid",{"$nulls":16},"Opmerking"]
[{"$nulls":4},"tel",null,"tel",null,"tel",null,"tel"," ",{"$nulls":6},"HEESBEEN ",{"$nulls":12},"rev 16-08-02 UPS-st"]
["Totaal I/O:",null,172,128,null,32,null,4,null,8,0,{"$nulls":4},"Softwarecode","Rack","Steekplaats","Adres",null,null,"Adres",0,1,2,3,"Pag_blok","Pad_blok","Bladnr.","Stramien","FO"]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0,{"$nulls":7},"HEESBEEN "]
[{"$nulls":4},0,null,0,null,0,null,0]
["Rioolwaterpomp 1","Motorstroom",1,null,0,null,0,null,0,"x",1,null,null,null,"telemetrie ai","ai",0,5,"PEW272",null,null,"PEW500","PEW",5,0,0]
["Rioolwaterpomp 2","Motorstroom",2,null,0,null,0,null,0,"x",1,null,null,null,"telemetrie ai","ai",0,5,"PEW274",null,null,"PEW502","PEW",5,0,2]
[null,"Reserve",3,null,0,null,0,null,0,"x",1,{"$nulls":5},0,5,"PEW276",null,null,"PEW504","PEW",5,0,4]
[null,"Reserve",4,null,0,null,0,null,0,"x",1,{"$nulls":5},0,5,"PEW278",null,null,"PEW506","PEW",5,0,6]
["Drukopnemer ontvangstkelder","Niveau",5,null,0,null,0,null,0,"x",1,null,null,null,"telemetrie ai","ai",0,5,"PEW280",null,null,"PEW508","PEW",5,0,8]
["Drukopnemer persleiding","Reserve",6,null,0,null,0,null,0,"x",1,{"$nulls":5},0,5,"PEW282",null,null,"PEW510","PEW",5,1,0]
["Debietmeting","Debiet",7,null,0,null,0,null,0,"x",1,null,null,null,"telemetrie ai",null,0,5,"PEW284",null,null,"PEW512","PEW",5,1,2]
["Algemeen ","Reserve",8,null,0,null,0,null,0,"x",1,{"$nulls":5},0,5,"PEW286",null,null,"PEW514","PEW",5,1,4]
[null,"4 inputs reserve AI",null,null,0,null,0,null,0,null,0]
[null,null,1,null,0,null,0,null,0,null,0,{"$nulls":4},"ai",{"$nulls":5},"PEW",{"$nulls":4},516]
[null,null,2,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},518]
[null,null,3,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},520]
[null,null,4,null,0,null,0,null,0,null,0,{"$nulls":4},"ai",{"$nulls":5},"PEW",{"$nulls":4},522]
[null,null,5,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},524]
[null,null,6,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},526]
[null,null,7,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},528]
[null,null,8,null,0,null,0,null,0,null,0,{"$nulls":10},"PEW",{"$nulls":4},530]
[" "," ",null,null,0,null,0,null,0,null,0,{"$nulls":7},"",null,null,""]
["Drukopnemer ontvangstkelder","Niveau -> Telemetrie ?, beter rechtstreeks",1,null,0,null,0,"x",1,null,0,{"$nulls":5},0,6,"PAW288",null,null,"PAW600","PAW",6,0,0,{"$nulls":5},"Rechtstreeks ivm noodbedrijf"]
["Rioolwaterpomp 1","Motorstroom -> Telemetrie ?, beter rechtstreeks",2,null,0,null,0,"x",1,null,0,null,null,null,"telemetrie ai",null,0,6,"PAW290",null,null,"PAW602","PAW",6,0,2,{"$nulls":5},"Rechtstreeks ivm noodbedrijf"]
["Rioolwaterpomp 2","Motorstroom -> Telemetrie ?, beter rechtstreeks",3,null,0,null,0,"x",1,null,0,null,null,null,"telemetrie ai",null,0,6,"PAW292",null,null,"PAW604","PAW",6,0,4,{"$nulls":5},"Rechtstreeks ivm noodbedrijf"]
["Debietmeting","Reserve",4,null,0,null,0,"x",1,null,0,{"$nulls":5},0,6,"PAW294",null,null,"PAW606","PAW",6,0,6]
[]
[" "," ",null,null,0,null,0,null,0,null,0,{"$nulls":5},0]
["Rioolwaterpomp 1","Thermische storing",1,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.0",null,null,"E0.0","E",0,".",0]
["Rioolwaterpomp 1","Stuurstroom storing",2,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.1",null,null,"E0.1","E",0,".",1]
["Rioolwaterpomp 1","ACOF (ingeschakeld)",3,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.2",null,null,"E0.2","E",0,".",2]
["Rioolwaterpomp 1","Werkschakelaar",4,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.3",null,null,"E0.3","E",0,".",3]
["Rioolwaterpomp 1","Clixon/vocht",5,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.4",null,null,"E0.4","E",0,".",4]
["Rioolwaterpomp 1","Thermistor",6,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.5",null,null,"E0.5","E",0,".",5]
["Rioolwaterpomp 1","Reserve",7,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E12.6",null,null,"E0.6","E",0,".",6,{"$nulls":5},"niet aanwezig"]
["Rioolwaterpomp 1","Noodbedrijf actief",8,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,7,"E12.7",null,null,"E0.7","E",0,".",7]
["Rioolwaterpomp 2","Thermische storing",9,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.0",null,null,"E1.0","E",1,".",0]
["Rioolwaterpomp 2","Stuurstroom storing",10,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.1",null,null,"E1.1","E",1,".",1]
["Rioolwaterpomp 2","ACOF (ingeschakeld)",11,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.2",null,null,"E1.2","E",1,".",2]
["Rioolwaterpomp 2","Werkschakelaar",12,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.3",null,null,"E1.3","E",1,".",3]
["Rioolwaterpomp 2","Clixon/vocht",13,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.4",null,null,"E1.4","E",1,".",4]
["Rioolwaterpomp 2","Thermistor",14,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.5",null,null,"E1.5","E",1,".",5,{"$nulls":5},"niet aanwezig"]
["Rioolwaterpomp 2","Reserve",15,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E13.6",null,null,"E1.6","E",1,".",6]
["Rioolwaterpomp 2","Noodbedrijf actief",16,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,7,"E13.7",null,null,"E1.7","E",1,".",7]
[]
["Rioolwaterpompen","Inschakelbewaking pomp 1",17,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.0",null,null,"E2.0","E",2,".",0]
["Rioolwaterpompen","Inschakelbewaking pomp 2",18,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.1",null,null,"E2.1","E",2,".",1]
["Rioolwaterpompen","Inschakelbewaking pomp 3",19,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.2",null,null,"E2.2","E",2,".",2,{"$nulls":5},"Gereserveerd"]
["Afsluiter persleiding","Centraal",20,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.3",null,null,"E2.3","E",2,".",3]
["Afsluiter 1 pomp 1 zuigzijde","Centraal",21,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.4",null,null,"E2.4","E",2,".",4]
["Afsluiter 2 pomp 1 perszijde","Centraal",22,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.5",null,null,"E2.5","E",2,".",5]
["Afsluiter 1 pomp 2 zuigzijde","Centraal",23,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.6",null,null,"E2.6","E",2,".",6]
["Afsluiter 2 pomp 2 perszijde","Centraal",24,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E14.7",null,null,"E2.7","E",2,".",7]
["Lenspomp","Thermische storing",25,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.0",null,null,"E3.0","E",3,".",0]
["Lenspomp","Stuurstroom storing",26,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.1",null,null,"E3.1","E",3,".",1]
["Lenspomp","Aardlekschakelaar",27,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.2",null,null,"E3.2","E",3,".",2]
["Lenspomp","In bedrijf",28,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.3",null,null,"E3.3","E",3,".",3]
["Lenspomp","Werkschakelaar",29,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.4",null,null,"E3.4","E",3,".",4]
["Lenspomp","Staafelektrode pomp in",30,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.5",null,null,"E3.5","E",3,".",5]
["Lenspomp","Water op vloer vlotterbal",31,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,7,"E15.6",null,null,"E3.6","E",3,".",6]
[null,"Reserve",32,"x",1,null,0,null,0,null,0,{"$nulls":5},0,7,"E15.7",null,null,"E3.7","E",3,".",7]
["Afsluiter persleiding","Thermische storing",1,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.0",null,null,"E4.0","E",4,".",0]
["Afsluiter persleiding","Stuurstroom storing",2,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.1",null,null,"E4.1","E",4,".",1]
["Afsluiter persleiding","In bedrijf",3,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.2",null,null,"E4.2","E",4,".",2]
["Afsluiter persleiding","Werkschakelaar",4,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.3",null,null,"E4.3","E",4,".",3]
["Afsluiter persleiding","Verzamelstoring",5,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.4",null,null,"E4.4","E",4,".",4]
["Afsluiter persleiding","Reserve",6,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.5",null,null,"E4.5","E",4,".",5]
["Afsluiter persleiding","Eindschakelaar open",7,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.6",null,null,"E4.6","E",4,".",6]
["Afsluiter persleiding","Eindschakelaar dicht",8,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E16.7",null,null,"E4.7","E",4,".",7]
[null,"Reserve",9,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.0",null,null,"E5.0","E",5,".",0]
[null,"Reserve",10,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.1",null,null,"E5.1","E",5,".",1]
["Ventilatie pompenkelder ","Thermische storing",11,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.2",null,null,"E5.2","E",5,".",2]
["Ventilatie pompenkelder ","Stuurstroom storing",12,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.3",null,null,"E5.3","E",5,".",3]
["Ventilatie pompenkelder ","In bedrijf",13,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.4",null,null,"E5.4","E",5,".",4]
["Ventilatie pompenkelder ","Werkschakelaar",14,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.5",null,null,"E5.5","E",5,".",5]
[null,"Reserve",15,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.6",null,null,"E5.6","E",5,".",6]
["Heater ventilator","Thermische storing",16,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E17.7",null,null,"E5.7","E",5,".",7]
["Heater ventilator","Stuurstroom storing",17,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.0",null,null,"E6.0","E",6,".",0]
["Heater ventilator","In bedrijf",18,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.1",null,null,"E6.1","E",6,".",1]
["Heater ventilator","Werkschakelaar",19,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.2",null,null,"E6.2","E",6,".",2]
["Heater ventilator","Reserve",20,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.3",null,null,"E6.3","E",6,".",3]
[null,"Reserve",21,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.4",null,null,"E6.4","E",6,".",4]
["Ventilator afzuiging FO's bovenbouw","Thermische storing",22,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.5",null,null,"E6.5","E",6,".",5]
["Ventilator afzuiging FO's bovenbouw","Stuurstroom",23,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.6",null,null,"E6.6","E",6,".",6]
["Ventilator afzuiging FO's bovenbouw","In bedrijf",24,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E18.7",null,null,"E6.7","E",6,".",7]
["Ventilator afzuiging FO's bovenbouw","Werkschakelaar",25,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.0",null,null,"E7.0","E",7,".",0]
["Ventilator afzuiging FO's bovenbouw","Thermosstaat",26,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.1",null,null,"E7.1","E",7,".",1]
[null,"Reserve",27,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.2",null,null,"E7.2","E",7,".",2]
["Drukverhogingsinstallatie","Hoofdstroom storing",28,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.3",null,null,"E7.3","E",7,".",3,{"$nulls":5},"Automaat in de hoofdverdeler"]
["Drukverhogingsinstallatie","Storing drinkwaterdrukverhoging",29,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.4",null,null,"E7.4","E",7,".",4,{"$nulls":5},"Klemmen 15/15/17"]
["Drukverhogingsinstallatie","Thermische storing",30,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.5",null,null,"E7.5","E",7,".",5,{"$nulls":5},"Klemmen 13/14"]
["Drukverhogingsinstallatie","In bedrijf",31,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.6",null,null,"E7.6","E",7,".",6,{"$nulls":5},"Klemmen 11/12"]
["Drukverhogingsinstallatie","Laagwater",32,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E19.7",null,null,"E7.7","E",7,".",7,{"$nulls":5},"Klemmen 9/10"]
[" ",null,null,null,0,null,0,null,0,null,0]
["Algemeen","Gemaal blokkeren (Telemetrie)",1,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie do",null,0,8,"E20.0",null,null,"E8.0","E",8,".",0]
[null,"Reserve",2,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E20.1",null,null,"E8.1","E",8,".",1]
["kWh meting/ Display  ","Stuurstroom storing",3,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E20.2",null,null,"E8.2","E",8,".",2]
["kWh meting","Puls",4,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,8,"E20.3",null,null,"E8.3","E",8,".",3]
["kWh meting","Dag/nacht tarief / Reserve",5,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E20.4",null,null,"E8.4","E",8,".",4,{"$nulls":5},"Gereserveerd/niet naar telemetr"]
[null,"Reserve",6,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E20.5",null,null,"E8.5","E",8,".",5]
["Algemeen","Netspanning aanwezig",7,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,8,"E20.6",null,null,"E8.6","E",8,".",6]
["Algemeen","Overspanningsbeveiliging",8,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E20.7",null,null,"E8.7","E",8,".",7]
[null,"Reserve",9,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.0",null,null,"E9.0","E",9,".",0]
["Algemeen","Stuurstroom aanwezig 230VAC",10,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.1",null,null,"E9.1","E",9,".",1]
["Algemeen","Stuurstroom 24V algemeen",11,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,8,"E21.2",null,null,"E9.2","E",9,".",2,{"$nulls":5},"Niet uitgevoerd naar telemetrie"]
["Algemeen","Stuurstroom 24V PLC",12,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.3",null,null,"E9.3","E",9,".",3]
["Algemeen","Stuurstroom  TMX / Reserve",13,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.4",null,null,"E9.4","E",9,".",4]
["Algemeen","Stuurstroom  UPS",14,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.5",null,null,"E9.5","E",9,".",5]
["Algemeen","Storing UPS",15,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.6",null,null,"E9.6","E",9,".",6]
["Algemeen","Reserve",16,"x",1,null,0,null,0,null,0,{"$nulls":5},0,8,"E21.7",null,null,"E9.7","E",9,".",7]
[]
["Algemeen","Drukknop reset storing",1,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.0",null,null,"E10.0","E",10,".",0,{"$nulls":5},"Blauwe knop op kast "]
["Algemeen","Drukknop lampentest",2,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.1",null,null,"E10.1","E",10,".",1,{"$nulls":5},"Zwarte knop op kast  "]
["Algemeen","Reset storing (van Telemetrie)",3,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie do",null,0,9,"E22.2",null,null,"E10.2","E",10,".",2]
["Natte kelder","Stuurstroom storing ",4,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.3",null,null,"E10.3","E",10,".",3]
["Natte kelder","Hoogwater vlotter",5,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,9,"E22.4",null,null,"E10.4","E",10,".",4]
["Drukopnemer ontvangstkelder","Stuurstroom storing",6,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.5",null,null,"E10.5","E",10,".",5]
["Drukopnemer ontvangstkelder","Storing niveaumeting",7,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.6",null,null,"E10.6","E",10,".",6]
["Debietmeting","Storing stuurstroom",8,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E22.7",null,null,"E10.7","E",10,".",7]
["Debietmeting","Storing debietmeting ",9,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.0",null,null,"E11.0","E",11,".",0]
["Debietmeting","Puls contact",10,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,9,"E23.1",null,null,"E11.1","E",11,".",1]
["Debietmeting","Reserve",11,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.2",null,null,"E11.2","E",11,".",2]
["Drukopnemer stuwput","Reserve",12,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.3",null,null,"E11.3","E",11,".",3,{"$nulls":5},"Gereserveerd"]
["Drukopnemer stuwput","Reserve",13,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.4",null,null,"E11.4","E",11,".",4,{"$nulls":5},"Gereserveerd"]
["Drukopnemer persleiding","Reserve",14,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.5",null,null,"E11.5","E",11,".",5,{"$nulls":5},"Gereserveerd"]
["Drukopnemer persleiding","Reserve",15,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E23.6",null,null,"E11.6","E",11,".",6,{"$nulls":5},"Gereserveerd"]
["Debietmeterput","Water op vloer vlotterbal",16,"x",1,null,0,null,0,null,0,null,null,null,"telemetrie di",null,0,9,"E23.7",null,null,"E11.7","E",11,".",7]
[" ",null,null,null,0,null,0,null,0,null,0,{"$nulls":5},0]
["Afsluiter 1 pomp 1 zuigzijde","Thermische storing",1,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.0",null,null,"E12.0","E",12,".",0]
["Afsluiter 1 pomp 1 zuigzijde","Stuurstroom storing",2,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.1",null,null,"E12.1","E",12,".",1]
["Afsluiter 1 pomp 1 zuigzijde","In bedrijf",3,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.2",null,null,"E12.2","E",12,".",2]
["Afsluiter 1 pomp 1 zuigzijde","Werkschakelaar",4,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.3",null,null,"E12.3","E",12,".",3]
["Afsluiter 1 pomp 1 zuigzijde","Verzamelstoring",5,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.4",null,null,"E12.4","E",12,".",4]
["Afsluiter 1 pomp 1 zuigzijde","Reserve",6,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.5",null,null,"E12.5","E",12,".",5]
["Afsluiter 1 pomp 1 zuigzijde","Eindschakelaar open",7,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.6",null,null,"E12.6","E",12,".",6]
["Afsluiter 1 pomp 1 zuigzijde","Eindschakelaar dicht",8,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E24.7",null,null,"E12.7","E",12,".",7]
["Afsluiter 2 pomp 1 perszijde","Thermische storing",9,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.0",null,null,"E13.0","E",13,".",0]
["Afsluiter 2 pomp 1 perszijde","Stuurstroom storing",10,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.1",null,null,"E13.1","E",13,".",1]
["Afsluiter 2 pomp 1 perszijde","In bedrijf",11,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.2",null,null,"E13.2","E",13,".",2]
["Afsluiter 2 pomp 1 perszijde","Werkschakelaar",12,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.3",null,null,"E13.3","E",13,".",3]
["Afsluiter 2 pomp 1 perszijde","Verzamelstoring",13,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.4",null,null,"E13.4","E",13,".",4]
["Afsluiter 2 pomp 1 perszijde","Reserve",14,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.5",null,null,"E13.5","E",13,".",5]
["Afsluiter 2 pomp 1 perszijde","Eindschakelaar open",15,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.6",null,null,"E13.6","E",13,".",6]
["Afsluiter 2 pomp 1 perszijde","Eindschakelaar dicht",16,"x",1,null,0,null,0,null,0,{"$nulls":5},0,9,"E25.7",null,null,"E13.7","E",13,".",7]
["Afsluiter 1 pomp 2 zuigzijde","Thermische storing",17,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.0",null,null,"E14.0","E",14,".",0]
["Afsluiter 1 pomp 2 zuigzijde","Stuurstroom storing",18,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.1",null,null,"E14.1","E",14,".",1]
["Afsluiter 1 pomp 2 zuigzijde","In bedrijf",19,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.2",null,null,"E14.2","E",14,".",2]
["Afsluiter 1 pomp 2 zuigzijde","Werkschakelaar",20,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.3",null,null,"E14.3","E",14,".",3]
["Afsluiter 1 pomp 2 zuigzijde","Verzamelstoring",21,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.4",null,null,"E14.4","E",14,".",4]
["Afsluiter 1 pomp 2 zuigzijde","Reserve",22,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.5",null,null,"E14.5","E",14,".",5]
["Afsluiter 1 pomp 2 zuigzijde","Eindschakelaar open",23,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.6",null,null,"E14.6","E",14,".",6]
["Afsluiter 1 pomp 2 zuigzijde","Eindschakelaar dicht",24,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E26.7",null,null,"E14.7","E",14,".",7]
["Afsluiter 2 pomp 2 perszijde","Thermische storing",25,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.0",null,null,"E15.0","E",15,".",0]
["Afsluiter 2 pomp 2 perszijde","Stuurstroom storing",26,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.1",null,null,"E15.1","E",15,".",1]
["Afsluiter 2 pomp 2 perszijde","In bedrijf",27,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.2",null,null,"E15.2","E",15,".",2]
["Afsluiter 2 pomp 2 perszijde","Werkschakelaar",28,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.3",null,null,"E15.3","E",15,".",3]
["Afsluiter 2 pomp 2 perszijde","Verzamelstoring",29,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.4",null,null,"E15.4","E",15,".",4]
["Afsluiter 2 pomp 2 perszijde","Reserve",30,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.5",null,null,"E15.5","E",15,".",5]
["Afsluiter 2 pomp 2 perszijde","Eindschakelaar open",31,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.6",null,null,"E15.6","E",15,".",6]
["Afsluiter 2 pomp 2 perszijde","Eindschakelaar dicht",32,"x",1,null,0,null,0,null,0,{"$nulls":5},0,10,"E27.7",null,null,"E15.7","E",15,".",7]
[" ","13 inputs reserve DI",null,null,0,null,0,null,0,null,0]
[null,null,1,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.0",null,null,"E16.0","E",16,".",0]
[null,null,2,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.1",null,null,"E16.1","E",16,".",1]
[null,null,3,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.2",null,null,"E16.2","E",16,".",2]
[null,null,4,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.3",null,null,"E16.3","E",16,".",3]
[null,null,5,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.4",null,null,"E16.4","E",16,".",4]
[null,null,6,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.5",null,null,"E16.5","E",16,".",5]
[null,null,7,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.6",null,null,"E16.6","E",16,".",6]
[null,null,8,null,0,null,0,null,0,null,0,{"$nulls":7},"E28.7",null,null,"E16.7","E",16,".",7]
[null,null,9,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.0",null,null,"E17.0","E",17,".",0]
[null,null,10,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.1",null,null,"E17.1","E",17,".",1]
[null,null,11,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.2",null,null,"E17.2","E",17,".",2]
[null,null,12,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.3",null,null,"E17.3","E",17,".",3]
[null,null,13,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.4",null,null,"E17.4","E",17,".",4]
[null,null,14,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.5",null,null,"E17.5","E",17,".",5]
[null,null,15,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.6",null,null,"E17.6","E",17,".",6]
[null,null,16,null,0,null,0,null,0,null,0,{"$nulls":7},"E29.7",null,null,"E17.7","E",17,".",7]
[null,null,17,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.0",null,null,"E18.0","E",18,".",0]
[null,null,18,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.1",null,null,"E18.1","E",18,".",1]
[null,null,19,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.2",null,null,"E18.2","E",18,".",2]
[null,null,20,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.3",null,null,"E18.3","E",18,".",3]
[null,null,21,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.4",null,null,"E18.4","E",18,".",4]
[null,null,22,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.5",null,null,"E18.5","E",18,".",5]
[null,null,23,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.6",null,null,"E18.6","E",18,".",6]
[null,null,24,null,0,null,0,null,0,null,0,{"$nulls":7},"E30.7",null,null,"E18.7","E",18,".",7]
[null,null,25,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.0",null,null,"E19.0","E",19,".",0]
[null,null,26,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.1",null,null,"E19.1","E",19,".",1]
[null,null,27,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.2",null,null,"E19.2","E",19,".",2]
[null,null,28,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.3",null,null,"E19.3","E",19,".",3]
[null,null,29,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.4",null,null,"E19.4","E",19,".",4]
[null,null,30,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.5",null,null,"E19.5","E",19,".",5]
[null,null,31,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.6",null,null,"E19.6","E",19,".",6]
[null,null,32,null,0,null,0,null,0,null,0,{"$nulls":7},"E31.7",null,null,"E19.7","E",19,".",7]
[" "," ",null,null,0,null,0,null,0,null,0]
["Rioolwaterpomp 1","Hoofdstroom in",1,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.0",null,null,"A40.0","A",40,".",0]
["Rioolwaterpomp 1","Storing",2,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.1",null,null,"A40.1","A",40,".",1]
["Rioolwaterpomp 2","Hoofdstroom in",3,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.2",null,null,"A40.2","A",40,".",2]
["Rioolwaterpomp 2","Storing",4,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.3",null,null,"A40.3","A",40,".",3]
["Lenspomp","Reserve",5,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.4",null,null,"A40.4","A",40,".",4]
["Ventilatie pompenkelder ","Reserve",6,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.5",null,null,"A40.5","A",40,".",5]
["Ventilator afzuiging FO's bovenbouw","Reserve",7,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.6",null,null,"A40.6","A",40,".",6]
[null,"Reserve",8,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A40.7",null,null,"A40.7","A",40,".",7]
["Algemeen","Reset storing algemeen/ Reserve",9,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A41.0",null,null,"A41.0","A",41,".",0,{"$nulls":5},"Gereserveerd"]
["Algemeen","Lampentest/ Reserve",10,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A41.1",null,null,"A41.1","A",41,".",1,{"$nulls":5},"Gereserveerd"]
["Algemeen","Lamp storing",11,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A41.2",null,null,"A41.2","A",41,".",2,{"$nulls":5},"Rode signaallamp op kast"]
["Algemeen","Lamp gemaal paraat",12,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di ?nee",null,0,10,"A41.3",null,null,"A41.3","A",41,".",3,{"$nulls":5},"Witte signaallamp op kast"]
["Algemeen","Lamp + telemetrie gemaal geblokkeerd",13,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di",null,0,10,"A41.4",null,null,"A41.4","A",41,".",4,{"$nulls":5},"Blauwe signaallamp op kast"]
["Algemeen","Lamp + telemetrie blokkering overbrugd",14,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di",null,0,10,"A41.5",null,null,"A41.5","A",41,".",5,{"$nulls":5},"Blauwe signaallamp op kast"]
["Algemeen","Storing PLC - Watchdog",15,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di",null,0,10,"A41.6",null,null,"A41.6","A",41,".",6,{"$nulls":5},"Gereserveerd"]
[null,"Reserve",16,null,0,"x",1,null,0,null,0,{"$nulls":5},0,10,"A41.7",null,null,"A41.7","A",41,".",7]
[]
[]
[null,"Reserve",17,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.0",null,null,"A42.0","A",42,".",0]
[null,"Reserve",18,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.1",null,null,"A42.1","A",42,".",1]
[null,"Reserve",19,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.2",null,null,"A42.2","A",42,".",2]
[null,"Reserve",20,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.3",null,null,"A42.3","A",42,".",3]
[null,"Reserve",21,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.4",null,null,"A42.4","A",42,".",4]
[null,"Reserve",22,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.5",null,null,"A42.5","A",42,".",5]
[null,"Reserve",23,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.6",null,null,"A42.6","A",42,".",6]
[null,"Reserve",24,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A42.7",null,null,"A42.7","A",42,".",7]
["Algemeen","Reset storing algemeen",25,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A43.0",null,null,"A43.0","A",43,".",0]
["Algemeen","Lampentest",26,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A43.1",null,null,"A43.1","A",43,".",1,{"$nulls":5},"Rode signaallamp op kast"]
["Algemeen","Lamp storing",27,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A43.2",null,null,"A43.2","A",43,".",2,{"$nulls":5},"Witte signaallamp op kast"]
["Algemeen","Lamp gemaal paraat",28,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di ???",null,0,11,"A43.3",null,null,"A43.3","A",43,".",3,{"$nulls":5},"Blauwe signaallamp op kast"]
["Algemeen","Lamp + telemetrie gemaal geblokkeerd",29,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di",null,0,11,"A43.4",null,null,"A43.4","A",43,".",4]
["Algemeen","Lamp + telemetrie blokkering overbrugd",30,null,0,"x",1,null,0,null,0,null,null,null,"telemetrie di",null,0,11,"A43.5",null,null,"A43.5","A",43,".",5,{"$nulls":5},"signaallamp op kast"]
["Algemeen","Watchdog",31,null,0,"x",1,null,0,null,0,null,null,null,"tmx","tmx",0,11,"A43.6",null,null,"A43.6","A",43,".",6]
[null,"Reserve",32,null,0,"x",1,null,0,null,0,{"$nulls":5},0,11,"A43.7",null,null,"A43.7","A",43,".",7]
[null,"5/7 outputs reserve"]
[]
["Schakelaar ","Monteur aanwezig",{"$nulls":12},"telemetrie di",{"$nulls":16},"Direct naar telemetrie"]
["Opmerking: diverse ingangssignalen worden (ook) direct aan de telemetrie aangeboden (telemetrie di), zie detailontwerp"]
["Voordeel; signalen blijven werken, ook bij noodbedrijf (buiten de PLC om) als bijv. de PLC defect is."]
[]
[]
[]
[]
[" "," ",null,null,0,null,0,null,0,null,0]
[null,null,1,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.0",null,null,"A44.0","A",44,".",0]
[null,null,2,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.1",null,null,"A44.1","A",44,".",1]
[null,null,3,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.2",null,null,"A44.2","A",44,".",2]
[null,null,4,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.3",null,null,"A44.3","A",44,".",3]
[null,null,5,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.4",null,null,"A44.4","A",44,".",4]
[null,null,6,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.5",null,null,"A44.5","A",44,".",5]
[null,null,7,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.6",null,null,"A44.6","A",44,".",6]
[null,null,8,null,0,null,0,null,0,null,0,{"$nulls":7},"A44.7",null,null,"A44.7","A",44,".",7]
[null,null,9,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.0",null,null,"A45.0","A",45,".",0]
[null,null,10,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.1",null,null,"A45.1","A",45,".",1]
[null,null,11,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.2",null,null,"A45.2","A",45,".",2]
[null,null,12,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.3",null,null,"A45.3","A",45,".",3]
[null,null,13,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.4",null,null,"A45.4","A",45,".",4]
[null,null,14,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.5",null,null,"A45.5","A",45,".",5]
[null,null,15,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.6",null,null,"A45.6","A",45,".",6]
[null,null,16,null,0,null,0,null,0,null,0,{"$nulls":7},"A45.7",null,null,"A45.7","A",45,".",7]
[null,null,17,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.0",null,null,"A46.0","A",46,".",0]
[null,null,18,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.1",null,null,"A46.1","A",46,".",1]
[null,null,19,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.2",null,null,"A46.2","A",46,".",2]
[null,null,20,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.3",null,null,"A46.3","A",46,".",3]
[null,null,21,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.4",null,null,"A46.4","A",46,".",4]
[null,null,22,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.5",null,null,"A46.5","A",46,".",5]
[null,null,23,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.6",null,null,"A46.6","A",46,".",6]
[null,null,24,null,0,null,0,null,0,null,0,{"$nulls":7},"A46.7",null,null,"A46.7","A",46,".",7]
[null,null,25,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.0",null,null,"A47.0","A",47,".",0]
[null,null,26,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.1",null,null,"A47.1","A",47,".",1]
[null,null,27,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.2",null,null,"A47.2","A",47,".",2]
[null,null,28,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.3",null,null,"A47.3","A",47,".",3]
[null,null,29,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.4",null,null,"A47.4","A",47,".",4]
[null,null,30,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.5",null,null,"A47.5","A",47,".",5]
[null,null,31,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.6",null,null,"A47.6","A",47,".",6]
[null,null,32,null,0,null,0,null,0,null,0,{"$nulls":7},"A47.7",null,null,"A47.7","A",47,".",7]
[" "," ",null,null,0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,0,null,0]
[{"$nulls":4},0,null,0,null,null,null,0]
[{"$nulls":4},0,null,0,null,null,null,0]
[{"$nulls":4},0,null,0,null,null,null,0]
[{"$nulls":4},0,null,0,null,null,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":4},0,null,0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
["Gereserveerd Bronpomp","Thermische storing",{"$nulls":4},0]
["Gereserveerd Bronpomp","Stuurstroom storing",{"$nulls":4},0]
["Gereserveerd Bronpomp","In bedrijf",{"$nulls":4},0]
["Gereserveerd Bronpomp","Werkschakelaar",{"$nulls":4},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]
[{"$nulls":6},0]

{"sheet":"Configuratie PLC Racks","index":2,"n_rows":51,"n_cols":14,"rows_kept":51,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[{"$nulls":8},160,482,530,830,2000]
[{"$nulls":13},"lengte in cm"]
[null,null,null,80,null,40,40,40,40,40,40,40,40,400]
[null,null,"Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie"," "]
[null,null,1,2,3,4,5,6,7,8,9,10,11," "]
[null,"beginadres ->",null,"MPI 2/(DP 2)",null,"(E/A 256)","PEW500","PAW 600","E0.0","E8.0","E10.0","A 40.0",null," "]
[null,"lengte ->",null,null,null,"16 byte","16 byte","8 (16) byte","2 byte","2 byte","2 byte","2 byte",null," "]
[{"$nulls":13}," "]
["id","Adres","Normaal voeding","CPU ","IM module","Dummy","AI","Dummy","DI","DI","DI","DO",null," "]
[null,null,"nu extern","S7-315-DP",null,"DM 370","S7-331","DM 370","S7-321","S7-321","S7-321","S7-322"]
[1,0,{"$nulls":4},"x",null,"x","x","x","x"]
[2,1,null,null,"Exclusief voor","Gereserveerd","x","Gereserveerd","x","x","x","x"]
[3,2,null,null,"IM module","voor ","x","voor ","x","x","x","x"]
[4,3,null,null,null,"Com.kaart","x","Analog-out","x","x","x","x"]
[5,4,null,null,null,"S7-CP 340","x","S7-332","x","x","x","x"]
[6,5,{"$nulls":4},"x",null,"x","x","x","x"]
[7,6,{"$nulls":4},"x",null,"x","x","x","x"]
[8,7,{"$nulls":4},"x",null,"x","x","x","x"]
[]
[9,0,{"$nulls":6},"x","x","x","x"]
[10,1,{"$nulls":6},"x","x","x","x"]
[11,2,{"$nulls":6},"x","x","x","x"]
[12,3,{"$nulls":6},"x","x","x","x"]
[13,4,{"$nulls":6},"x","x","x","x"]
[14,5,{"$nulls":6},"x","x","x","x"]
[15,6,{"$nulls":6},"x","x","x","x"]
[16,7,{"$nulls":6},"x","x","x","x"]
[]
[17,0]
[18,1]
[19,2]
[20,3,null," "]
[21,4]
[22,5]
[23,6]
[24,7]
[]
[25,0]
[26,1]
[27,2]
[28,3]
[29,4]
[30,5]
[31,6]
[32,7]
[]
[null,"Pag.",null," "," "," "]
[null,"Stramien",null," "," "," "]
[]
[]
[null,null,null,"PLC rack 0"]

{"sheet":"Configuratie PLC Racks_altern32","index":3,"n_rows":51,"n_cols":14,"rows_kept":51,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[{"$nulls":8},160,482,530,830,2000]
[{"$nulls":13},400]
[null,null,null,80,null,40,40,40,40,40,40,40,40,400]
[null,null,"Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie","Positie"," "]
[null,null,1,2,3,4,5,6,7,8,11,10,11," "]
[null,"beginadres ->",null,"MPI 2/(DP 2)",null,"(E/A 256)","PEW500","PAW 600","E0.0","E4.0","A 40.0",null,null," "]
[null,"lengte ->",null,null,null,"16 byte","16 byte","8 (16) byte","4 byte","4 byte","4 byte","4 byte","4 byte"," "]
[{"$nulls":13}," "]
["id","Adres","Normaal voeding","CPU MPI/DP","IM-module","Com.kaart","AI","AO","DI","DI","DO",null,null," "]
[null,null,"nu extern","S7-315-DP",null,"S7-CP 340","S7-331","S7-332","S7-321","S7-321","S7-322"]
[1,0,{"$nulls":4},"x","x","x","x","x"]
[2,1,null,null,"Exclusief voor","Gereserveerd","x","x","x","x","x"]
[3,2,null,null,"IM-module",null,"x","x","x","x","x"]
[4,3,{"$nulls":4},"x","x","x","x","x"]
[5,4,{"$nulls":4},"x",null,"x","x","x"]
[6,5,{"$nulls":4},"x",null,"x","x","x"]
[7,6,{"$nulls":4},"x",null,"x","x","x"]
[8,7,{"$nulls":4},"x",null,"x","x","x"]
[]
[9,0,{"$nulls":6},"x","x","x"]
[10,1,{"$nulls":6},"x","x","x"]
[11,2,{"$nulls":6},"x","x","x"]
[12,3,{"$nulls":6},"x","x","x"]
[13,4,{"$nulls":6},"x","x","x"]
[14,5,{"$nulls":6},"x","x","x"]
[15,6,{"$nulls":6},"x","x","x"]
[16,7,{"$nulls":6},"x","x","x"]
[]
[17,0,{"$nulls":6},"x","x","x"]
[18,1,{"$nulls":6},"x","x","x"]
[19,2,{"$nulls":6},"x","x","x"]
[20,3,null," ",{"$nulls":4},"x","x","x"]
[21,4,{"$nulls":6},"x","x","x"]
[22,5,{"$nulls":6},"x","x","x"]
[23,6,{"$nulls":6},"x","x","x"]
[24,7,{"$nulls":6},"x","x","x"]
[]
[25,0,{"$nulls":6},"x","x","x"]
[26,1,{"$nulls":6},"x","x","x"]
[27,2,{"$nulls":6},"x","x","x"]
[28,3,{"$nulls":6},"x","x","x"]
[29,4,{"$nulls":6},"x","x","x"]
[30,5,{"$nulls":6},"x","x","x"]
[31,6,{"$nulls":6},"x","x","x"]
[32,7,{"$nulls":6},"x","x","x"]
[]
[null,"Pag.",null," "," "," "]
[null,"Stramien",null," "," "," "]
[]
[]
[null,null,null,"PLC rack 0"]