| FactoryLink server | DMV Fl-Servers T01C1 |
| --- | --- |
| UTC tijd afleiden van SECTIME |  |

| RLD Automation | v. Sonsbeeckstraat 11 5344 JB Oss Tel: 0412-655909 Mail: mjordaan@rldautomation.eu | Opdrachtgever: Project: Project id: | DMV FL-Servers T01C1 V109022 |
| --- | --- | --- | --- |
| Industriële Automatisering |  |  |  |

Inhoudsopgave

1	UTC	3

1.1	Inleiding	3

1.2	IML aanpassen	3

2	De Windows Time-service configureren voor gebruik van een interne hardwareklok	5

# UTC

## Inleiding

De UTC tijd wordt afgeleid van de systeem klok van windows met de taak FlNTsys. In de applicatie is een IML programma aanwezig dat momenteel de UTC tijd uitrekent, hierbij wordt geen rekekning gehouden met de instelling ‘zomertijd en wintertijd gebruiken’ van Windows.

De bepaling van UTC tijd wordt bepaald door de taak FlNTsys, deze houdt rekekning met de instelling van Windows om zomer/winter tijd te gebruiken.

| Jaar | Start zomertijd Einde wintertijd | Start wintertijd Einde zomertijd |
| --- | --- | --- |
| 2007 | 25 maart 2007 | 28 oktober 2007 |
| 2008 | 30 maart 2008 | 26 oktober 2008 |
| 2009 | 29 maart 2009 | 25 oktober 2009 |
| 2010 | 28 maart 2010 | 31 oktober 2010 |
| 2011 | 27 maart 2011 | 30 oktober 2011 |
| 2012 | 25 maart 2012 | 28 oktober 2012 |
| 2013 | 31 maart 2013 | 27 oktober 2013 |
| 2014 | 30 maart 2014 | 26 oktober 2014 |
| 2015 | 29 maart 2015 | 25 oktober 2015 |
| 2016 | 27 maart 2016 | 30 oktober 2016 |

## IML aanpassen

Aanpassen van IML gebeurd door de procedure ‘utc_time’ niet meer aan te roepen. In deze procedure worden twee tags van een waarde voorzien:

De UTC tijd wordt bewaard in de tag: Utc_time.

De markering of momenteel de zomertijd actief is: Zomertijd.

De procedure ‘utc_time’ wordt iedere seconde opgeroepen, deze regel wordt uit de IML trigger tabel verwijderd.

## FlNTsys aanpassen

De tags Utc_time en Zomertijd worden door de module FlNTsys van de juiste waarde voorzien.

In de table System Settings van FlNTsys worden de tags met de bijbehorende actie geconfigureerd.

System Settings

Domain Name : SHARED

_______________________________________________________________________________

Action Tag: sec1

Action    : SET_UTCTIME

*Parameter: Utc_time

Completion:

_______________________________________________________________________________

Action Tag: sec1

Action    : GET_DAYLIGHT

*Parameter: Zomertijd

Completion:

## Trend taak configuratie

De trend taak van FactoryLink bepaald het tijdsinterval voor real-time trending aan de hand van de tag SECTIME. Voor de trend taak dient de kolom die overeenkomt met deze tijdsaanduiding gebruikt te worden.

Trend Database Tables

Domain Name : USER

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t0

Time Key           : SECT_P0

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t1

Time Key           : SECT_P1

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t2

Time Key           : SECT_P2

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t3

Time Key           : SECT_P3

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t4

Time Key           : SECT_P4

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t5

Time Key           : SECT_P5

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t6

Time Key           : SECT_P6

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t7

Time Key           : SECT_P7

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t8

Time Key           : SECT_P8

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t9

Time Key           : SECT_P9

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t10

Time Key           : SECT_P10

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1t13

Time Key           : SECT_P13

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1tr

Time Key           : SECT_REG

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

_______________________________________________________________________________

Database Alias Name: p1db1

Database Table Name: db1dr

Time Key           : SECT_DR

Sequence Key       :

Group Key          :

Historian Mailbox  : p1_mbx_1

## SQL Server aanpassing

Voor SQL-server dienen de tabellen gebruikt voor trending aangepast te worden, de index die gebruikt wordt de tend taak voor selectie van data wordt geclustered. Op deze wijze is de index geoptimaliseerd voor de gebruikswijze door trending. Dit resulteert in een snellere weergave van trending over langere tijdsperioden.

In de alarm logger zijn er meldingen gemaakt voor een indicatie bij ontbrekende geclusterde indices.

Alarm Definition Information

Domain Name : SHARED

Table Name : WARNING

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[0]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t0 index db1t0_2 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[1]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t1 index db1t1_4 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[2]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t2 index db1t2_6 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[3]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t3 index db1t3_8 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[4]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t4 index db1t4_10 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[5]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t5 index db1t5_12 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[6]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t6 index db1t6_14 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[7]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t7 index db1t7_16 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[8]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t8 index db1t8_18 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[9]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t9 index db1t9_20 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[10]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t10 index db1t10_22 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[11]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1tr index db1tr_25 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[12]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1dr index db1dr_26 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : SQL_ISCLUSTERED[13]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t13 index db1t13_31 is NON clustered

Variable 1 Tag    : PCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : server

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : sql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[0]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t0 index db1t0_2 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[1]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t1 index db1t1_4 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[2]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t2 index db1t2_6 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[3]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t3 index db1t3_8 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[4]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t4 index db1t4_10 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[5]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t5 index db1t5_12 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[6]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t6 index db1t6_14 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[7]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t7 index db1t7_16 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[8]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t8 index db1t8_18 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[9]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t9 index db1t9_20 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[10]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t10 index db1t10_22 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[11]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1tr index db1tr_24 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[12]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1dr index db1dr_25 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

_______________________________________________________________________________

Unique Alarm ID   :

Alarm Tag Name    : REMSQL_ISCLUSTERED[13]

Cond.             : =

*Limit            : 0

*Deadband         :

Message Text      : db1_t01c1_s%s.db1t13 index db1t13_31 is NON clustered

Variable 1 Tag    : REMPCNUMMER

Variable 2 Tag    :

Variable 3 Tag    :

Variable 4 Tag    : remserver

Priority          : 1

Area Name         :

Time-stamp Tag    :

Time-stamp Format :

Use Global Hide   : NO

Alarm Hide Tag    : remsql_hide

Status Tag        :

Notification Group:

E-mail Subject    :

De alarm meldingen worden met een sQL SELECT statement uit de SQL database gehaald.

Database Browser Control

Domain Name : SHARED

_______________________________________________________________________________

Browse Name                : CLUSTERED0

Select Trigger             : check_clustered[0]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t0

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[1]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED1

Select Trigger             : check_clustered[1]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t1

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[2]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED2

Select Trigger             : check_clustered[2]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t2

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[3]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED3

Select Trigger             : check_clustered[3]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t3

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[4]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED4

Select Trigger             : check_clustered[4]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t4

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[5]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED5

Select Trigger             : check_clustered[5]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t5

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[6]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED6

Select Trigger             : check_clustered[6]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t6

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[7]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED7

Select Trigger             : check_clustered[7]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t7

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[8]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED8

Select Trigger             : check_clustered[8]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t8

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[9]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED9

Select Trigger             : check_clustered[9]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t9

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[10]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED10

Select Trigger             : check_clustered[10]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t10

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[11]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED11

Select Trigger             : check_clustered[11]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1tr

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[12]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED12

Select Trigger             : check_clustered[12]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1dr

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[13]

Completion Status          :

_______________________________________________________________________________

Browse Name                : CLUSTERED13

Select Trigger             : check_clustered[13]

Update Trigger             :

Delete Trigger             :

Move Trigger               :

Position Trigger           :

Historian Mailbox          : p1_mbx_1

Database.Table Name        : P1DB1.db1t13

Current Row Tag            :

Auto Create Record?        : NO

Browse Table Size (Rows)   : 1

Internal Buffer Size (Rows): 1

External Buffer Size (Rows):

Disable Tag                :

Completion Trigger         : check_clustered[19]

Completion Status          :