{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["logging diensttellers"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"logging diensttellers","index":0,"n_rows":62,"n_cols":2,"rows_kept":62,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PLC","T00P2 (RMO 3)"]
["TABEL","db1t9"]
[]
["Tag in FactoryLink","In te voeren trendparameter"]
["Utc_time","UTC_P9"]
[null,"SECT_P9"]
["DATE","DATE_P9"]
["TIME","TIME_P9"]
["reg_pv_lpv[9][1]","T00L6203"]
["reg_pv_lpv[9][2]","T00F6403"]
["reg_pv_lpv[9][3]","T00F6413"]
["reg_pv_lpv[9][62]","T00T6421"]
["reg_pv_lpv[9][6]","T00T6481"]
["reg_pv_lpv[9][7]","T00F6507"]
["reg_pv_lpv[9][7]","T00F6603"]
["reg_pv_lpv[9][8]","T00L6517"]
["reg_pv_lpv[9][61]","T00T6527"]
["reg_pv_lpv[9][11]","T00T6587"]
["reg_pv_lpv[9][12]","T00T6641"]
["reg_pv_lpv[9][63]","T00Q6507"]
["ana_ing[9][1]","T00I6050"]
["ana_ing[9][2]","T00T6050"]
["ana_ing[9][4]","T00T6361"]
["reg_pv_lpv[9][4]","T00T6441"]
["ana_ing[9][9]","T00T6461"]
["ana_ing[9][10]","T00P6473"]
["dummy_an","T00T6473"]
["ana_ing[9][12]","T00T6491"]
["ana_ing[9][13]","T00Q6503"]
["reg_pv_lpv[9][9]","T00T6541"]
["ana_ing[9][16]","T00T6561"]
["ana_ing[9][17]","T00P6573"]
["ana_ing[9][20]","T00F6621"]
["ana_ing[9][22]","T00P6663"]
["ana_ing[9][23]","T00P6681"]
["ana_ing[9][24]","T00P6682"]
["ana_ing[9][25]","T00P6683"]
["reg_pv_lpv[9][13]","T00P6684"]
["ana_ing[9][27]","T00P6686"]
["ana_ing[9][28]","T00P6687"]
["ana_ing[9][29]","T00P6688"]
["reg_pv_lpv[9][14]","T00P6689"]
["ana_ing[9][31]","T00T6703"]
["sbr_stap[9][10]","P9_SBR10"]
["sbr_stap[9][12]","P9_SBR12"]
["sbr_stap[9][14]","P9_SBR14"]
["sbr_stap[9][15]","P9_SBR15"]
["sbr_stap[9][16]","P9_SBR16"]
["sbr_stap[9][17]","P9_SBR17"]
["sbr_stap[9][18]","P9_SBR18"]
["sbr_stap[9][20]","P9_SBR20"]
["sbr_stap[9][21]","P9_SBR21"]
["flexlog[9][0]","L0_T00P2"]
["flexlog[9][1]","L1_T00P2"]
["flexlog[9][2]","L2_T00P2"]
["flexlog[9][3]","L3_T00P2"]
["flexlog[9][4]","L4_T00P2"]
["flexlog[9][5]","L5_T00P2"]
["flexlog[9][6]","L6_T00P2"]
["flexlog[9][7]","L7_T00P2"]
["flexlog[9][8]","L8_T00P2"]
["flexlog[9][9]","L9_T00P2"]