{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Blad1","Blad2","Blad3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Blad1","index":0,"n_rows":75,"n_cols":27,"rows_kept":75,"cut":false,"hidden":false,"merged":[[30,8,30,9],[30,6,30,7],[30,10,30,12],[30,13,30,15],[31,6,31,7],[32,6,32,7],[31,10,31,12],[31,13,31,15],[32,10,32,12],[33,6,33,7],[34,6,34,7],[34,10,34,12],[34,13,34,15],[30,16,30,25],[31,16,31,25],[39,6,39,7],[40,6,40,7],[40,10,40,12],[40,13,40,15],[37,6,37,7],[38,6,38,7],[38,10,38,12],[38,13,38,15],[46,6,46,7],[31,8,31,9],[32,8,32,9],[34,8,34,9],[36,8,36,9],[38,8,38,9],[40,8,40,9],[42,8,42,9],[42,6,42,7],[43,6,43,7],[32,16,32,25],[33,16,33,25],[44,6,44,7],[45,6,45,7],[42,10,42,12],[42,13,42,15],[41,6,41,7],[35,6,35,7],[36,6,36,7],[36,10,36,12],[32,13,32,15],[33,8,33,9],[33,10,33,12],[33,13,33,15],[35,8,35,9],[35,10,35,12],[35,13,35,15],[34,16,34,25],[35,16,35,25],[37,8,37,9],[37,10,37,12],[37,13,37,15],[36,16,36,25],[37,16,37,25],[36,13,36,15],[39,8,39,9],[39,10,39,12],[39,13,39,15],[38,16,38,25],[39,16,39,25],[41,8,41,9],[41,10,41,12],[41,13,41,15],[40,16,40,25],[41,16,41,25],[43,8,43,9],[43,10,43,12],[43,13,43,15],[42,16,42,25],[43,16,43,25],[44,8,44,9],[44,10,44,12],[44,13,44,15],[44,16,44,25],[45,8,45,9],[45,10,45,12],[45,13,45,15],[45,16,45,25],[46,8,46,9],[46,10,46,12],[46,13,46,15],[46,16,46,25]],"flags":["formulas_cached_only"]}
["DMV International",{"$nulls":10}," ",{"$nulls":14},"SOFTWARE"]
["Van",null,null,null,": Afdeling System Engineering"]
["Datum",null,null,null,":",{"$nulls":4}," "]
["Betreft",null,null,null,": Checklist bij wijzigingen aan FactoryLink en/of netwerken (software deel)"]
["Project nr.",null,null,null,":"]
["Installatiecode(s)",null,null,null,":"]
["Omschrijving",null,null,null,":"]
[]
[null,"ja","nee","nvt"]
[{"$nulls":5},"Voor de wijzigingen:"]
[{"$nulls":6},"is productie vooraf ingelicht"]
[{"$nulls":9},"zo nee, waarom niet:"]
[{"$nulls":6},"lock-out formulieren geschreven"]
[{"$nulls":6},"wijzigingsformulieren geschreven"]
[{"$nulls":6},"status diverse installatiedelen m.b.v. operator gecheckt"]
[{"$nulls":5},"zo ja, met:"]
[{"$nulls":5},"afdeling:"]
[{"$nulls":6},"operator(s) ingelicht hoelang je bezig denkt te zijn"]
[{"$nulls":6},"operator(s) ingelicht hoe / waar je bereikbaar bent"]
[{"$nulls":6},"extra ondersteuning nodig, zo ja van wie en wat voor ondersteuning:"]
[{"$nulls":5},"zo ja, met:"]
[{"$nulls":5},"afdeling:"]
[]
[{"$nulls":5},"De wijzigingen:"]
[{"$nulls":6},"kunnen wijzigingen gefaseerd uitgevoerd worden i.v.m. risico spreiding"]
[]
[{"$nulls":5},"Direct na de wijziging"]
[{"$nulls":6},"Functioneerd systeem goed"]
[{"$nulls":6},"Kan van elke PLC een klep / motor op hand gezet worden? Zie onderstaande tabel"]
[{"$nulls":6},"Zijn regelaarsettings aanwezig (via tuning/alarmering) Zie onderstaande tabel"]
[{"$nulls":6},"PLC NR",null,"PLC code",null,"tagname k/m",null,null,"tagname loop",null,null,"opmerkingen"]
[{"$nulls":6},0]
[{"$nulls":6},1]
[{"$nulls":6},2]
[{"$nulls":6},3]
[{"$nulls":6},4]
[{"$nulls":6},5]
[{"$nulls":6},6]
[{"$nulls":6},7]
[{"$nulls":6},8]
[{"$nulls":6},9]
[{"$nulls":6},10]
[{"$nulls":6},11]
[{"$nulls":6},12]
[{"$nulls":6},13]
[{"$nulls":6},14]
[{"$nulls":6},15]
[]
[{"$nulls":6},"Status sinec h1 running"]
[{"$nulls":7},"zo nee, melding:"]
[{"$nulls":6},"Status redundant running"]
[{"$nulls":7},"zo nee, melding:"]
[{"$nulls":6},"Status decoder running"]
[{"$nulls":7},"zo nee, melding:"]
[{"$nulls":6},"Status alarmtaak running"]
[{"$nulls":7},"zo nee, melding:"]
[{"$nulls":6},"Werkt de logging van alle PLC's"]
[{"$nulls":7},"zo nee, melding:"]
[{"$nulls":6},"Zijn eventueel gewijzigde invoervelden met operator doorgenomen"]
[{"$nulls":6},"Zijn alle clients ingelogd op master server"]
[{"$nulls":6},"Is elke client slechts op een server ingelogd"]
[]
[{"$nulls":5},"Afronding wijzigingen"]
[{"$nulls":6},"lock-out procedure af laten tekenen"]
[{"$nulls":6},"gele copy wijzigingsbon(nen) ingeleverd bij operator"]
[{"$nulls":6},"rose copy wijzigingsbon(nen) ingeleverd bij installatie beheerder"]
[{"$nulls":6},"blauwe copy wijzigingsbon(nen) in softwaremap desbetreffende installatie"]
[{"$nulls":6},"originele wijzigingsbon(nen) in storingsboek bij afdeling onderhoud"]
[{"$nulls":6},"documentatie bijgewerkt (evt met potlood)"]
[{"$nulls":6},"backups gemaakt en bij onderhoud ingeleverd"]
[]
[]
[{"$nulls":4},"Accoord namens:",{"$nulls":5},"Naam:",{"$nulls":8},"Paraaf:",null,null,"Datum:"]
[{"$nulls":4},"System Engineering"]
[{"$nulls":4},"Productie"]

{"sheet":"Blad2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}