{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":31,"n_cols":14,"rows_kept":31,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Adres"]
["BedWrd",401199,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["PriWrd",401799,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["OndWrd",401999,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["StatBedr",401599,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["AlwPri",402199,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["AlwSec",402399,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
["AcofTijd",402599,"PLC01_","PLC02_","PLC21_","PLC22_","PLC23_","PLC24_","PLC03_","PLC25_","PLC26_","PLC31_","PLC11_","PLC12_"]
[]
["Name",null,"PLC01","PLC02","PLC21","PLC22","PLC23","PLC24","PLC03 ","PLC25","PLC26","PLC31","PLC11","PLC12"]
["Benaming",null,"Winning","Productie","Filter 1 en 2","Filter 3 en 4","Filter 5 en 6","Filter 7 en 8","Spoelwater","Kalk","Kalium","Cias","Groote Heide 1","Groote Heide 2"]
[]
[null,1]
[null,2,{"$nulls":6},"Communicatie met PLC31","Communicatie met PLC31"]
[null,3,null,"Communicatie met PLC26","Communicatie met PLC26","Communicatie met PLC26","Communicatie met PLC26","Communicatie met PLC26"]
[null,4,null,"Communicatie met PLC25","Communicatie met PLC25","Communicatie met PLC25","Communicatie met PLC25","Communicatie met PLC25","Communicatie met PLC25","Communicatie met PLC25",null,"Communicatie met PLC25"]
[null,5,null,"Communicatie met PLC24",{"$nulls":4},"Communicatie met PLC24","Communicatie met PLC24","Communicatie met PLC24"]
[null,6,null,"Communicatie met PLC23",{"$nulls":4},"Communicatie met PLC23","Communicatie met PLC23","Communicatie met PLC23"]
[null,7,null,"Communicatie met PLC22",{"$nulls":4},"Communicatie met PLC22","Communicatie met PLC22","Communicatie met PLC22"]
[null,8,"Communicatie met PLC12","Communicatie met PLC21",{"$nulls":4},"Communicatie met PLC21","Communicatie met PLC21","Communicatie met PLC21"]
[null,9,"Communicatie met PLC11","Communicatie met PLC03","Communicatie met PLC03","Communicatie met PLC03","Communicatie met PLC03","Communicatie met PLC03",null,"Communicatie met PLC03",null,"Communicatie met PLC03"]
[null,10,"Communicatie met PLC02",null,"Communicatie met PLC02","Communicatie met PLC02","Communicatie met PLC02","Communicatie met PLC02","Communicatie met PLC02","Communicatie met PLC02","Communicatie met PLC02"]
[null,11,null,"Communicatie met PLC01",{"$nulls":8},"Communicatie met PLC01","Communicatie met PLC01"]
["Rack4",12,"Rack4"]
["Rack3",13,"Rack3","Rack3"]
["Rack2",14,"Rack2","Rack2"]
["Rack1",15,"Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1","Rack1"]
["Batterij",16,"Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij","Batterij"]
[]
[]
[{"$nulls":4},"Toekomst??"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}