{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["PLC 02 - Productie"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"PLC 02 - Productie","index":0,"n_rows":35,"n_cols":3,"rows_kept":35,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Rack 1","140 XBP 010 00"]
[1,"140 CPS 214 00 PS 24vdc 8A"]
[2,"140 CPU 434 12"]
[3,"140 NOE 771 11"]
[4,"140 CRP 931 00"]
[5,"140 ACI 040 00",300001]
[6,"140 ACI 040 00",300018]
[7]
[8,"140 ACO 130 00",400001]
[9,"140 ACO 130 00",400009]
[10,"140 ACO 130 00",400017]
[]
["Rack 2","140 XBP 010 00"]
[1,"140 CPS 214 00 PS 24vdc 8A"]
[2,"140 CRA 931 00"]
[3,"140 ACO 130 00",400025]
[4]
[5,"142 DDI 353 00",100001]
[6,"143 DDI 353 00",100033]
[7,"144 DDI 353 00",100065]
[8,"145 DDI 353 00",100097]
[9]
[10]
[]
["Rack 3","140 XBP 010 00"]
[1,"140 CPS 214 00 PS 24vdc 8A"]
[2,"140 CRA 931 00"]
[3,"140 DDO 353 00","000001"]
[4,"140 DDO 353 00","000033"]
[5]
[6]
[7]
[8]
[9]
[10]