[image: image1.jpg]W I~ N R D



[image: image64.png]


FLNTsys Version 2.0
[image: image64.png]
Contents

Wizard Information Systems

[image: image70.png]Selectthe components you want o nstal; cear the compornents you do not wart o
installClick Next when you ae read) to cortinue.

System les and documentation 5K8
Sewver 562KB
Clent B4KE

Curent selecton requies atlsast 0.8 MB ofdisk space.

Bk Cance





FactoryLink System Utilities

for

FactoryLink 7.0

[image: image2.png]


 FLNTsys

Version 2.0

Printed: 24 August, 2002
Introduction

The FLNTsys utility is a FactoryLink task, which enables NT or W2K system functionality’s inside a FactoryLink ap​pli​ca​tion. These functions include enabling, disabling keys, request system information regarding disk space, screen​saver settings, shutting down the system or logging off a user, logging event-message to the event viewer.

This manual is intended for use by a technician who is familiar with the FactoryLink ECS software. Covered in this manual are the principles of operation, installation and configuration of the software. Included in the shipment is a demo-application, which can be used as an example of how to implement the futures in your FactoryLink application.

This software is protected with a software key, a serial number and configuration sequence. Both are included in your shipment, registration is already completed on receiving the complete package. 

FactoryLink is a registrated trademark of United States Data Corporation, Richardson Texas USA.


Wizard Information Systems


Pioenroosstraat 26


5241 AB Rosmalen


The Netherlands


tel. +31(0) 73 523 1234


fax +31(0) 73 523 1222


e-mail : sales@wizinfosys.nl
Contents

2Introduction

Contents
3
1
Operation principle
5
1.1
Keystroke filtering
5
1.1.1
ActiveX keyboard filter component
5
1.2
System settings
6
1.3
Event viewer messages
6
2
Installation
7
2.1
System requirements
7
2.2
FLNTsys installation
7
2.3
Keyboard filter start-up
10
2.4
FactoryLink task configuration
12
2.5
Registration of the software
13
2.6
FlNTsys task de-installation
14
3
Configuration tables
15
3.1
Enable/Disable keystrokes
16
3.2
System settings
20
3.3
Event Logging
23
4
ActiveX Control ‘Keyboard Filter’
25
4.1
Properties
27
4.2
Methods
27
5
Error messages
29
6
License Agreement
31


1 Operation principle

The FLNTsys utility is a FactoryLink task which enables NT4 or W2K system functionalities inside a FactoryLink ap​pli​ca​tion. These functions include enabling, disabling keys, request system information regarding diskspace, screen​saver settings, shutting down the system or logging off a user, showing a simple message box to notify users. 

The operation principle differs for the three different main futures of the application, keystroke filtering, system settings and (simple) message boxes.

After installation a demo application and client builder project are present in the {FLINK}\mps\en directory, the application is stored as a multiplatform save file with the name: ‘flntsys.mps’. The demo client builder project is in the file ‘flntsys.cba’. After restoring and starting the application and the client builder project a screen with an overview of the capabilities of FLNTsys is shown to the user, see the figure below.

[image: image3.png]Overview  Activex Sun 01-09-2002 22:36:20

=== Tasks

Enable / Disable keystrokes -
Diskspace usage

[~ Ctrl + Alt + Del Used 0O Used 0
[~ Alt + Tab Free 0 Free 0
[~ Alt + Shift + Tab (el (e DK
[~ Alt +Esc
[~ Ctrl + Esc . o
3 0 Screensaver active, yes=1,no=0 | Set Screensaver info
[~ Ctrl + Shift + Esc i =
 Win keys 0 Screensaver timeout Get Screensaver info

Shutdown the system, or restart

3 Restart...
[~ Stop FactoryLink before shutdown or reboot





Figure 1.1. FactoryLink demo application.
1.1 Keystroke filtering

The FLNTsys utility is capable of filtering keystrokes from the keyboard buffer. The utility lets you specify which keys are to be filtered, these keystrokes can be altered from within a FactoryLink application. If a keystroke is filtered none of the (running) applications will receive this keystroke, it is removed from the keyboard buffer, so even before any program ‘sees’ the keystroke. In order to do this the utility depends on a device driver: KbFilter, which stands for Keyboard Filter. This device driver is just a normal device driver, its start-up options can be modified from the “control panel ( Devices ( Keyboard filtering” for NT4, or “Computer management ( Device manager ( Non-plug and play drivers ( Keyboard filter for W2K”.

As this driver attaches itself to the keyboard, it has the same class as a keyboard driver. This means you can start the driver manually (see the next figure), but you are not allowed to stop this device driver! NT will not allow you to stop a device driver of the keyboard class.

1.1.1 ActiveX keyboard filter component

The FlNTsys utility is designed as a FactoryLink task, and therefore allows you to filter keyboard events on the server which is running the FactoryLink application. The FactoryLink task can not filter keyboard events on a client system, only running a client builder application. In order to enable keyboard filtering on a client system an ActiveX component, included in your shipment, should be installed on the client system. Together with the ActiveX control the keyboard filter device driver is installed.

With the ActiveX control “KeyboardFilter Control”, keyboard filtering is possible from within a client builder application. Enabling and disabling of keystrokes can now be done from within the client builder application, using the scripting options of client builder.

[image: image4.png]Devie Staus Statp
oot Disaled (=] [___Cse
1ezzga00 Distled

Lacagast Distled at
Jzides Disled

Keyboard Clss Diver Siaied  Syem e
KSe<D Started  System e EO)
moa Disabled HW Profies.
nge_ il Dissled | e |
Microsot NDIS System Diver Stated Syotem =] 5





Figure 1.2. Control panel device list for NT4.
1.2 System settings

Several system settings can be queried or modified, they are divided in three main groups.

[image: image5.png]



Shutdown or logoff the system.

[image: image6.png]



Query information about free and used disk space

[image: image7.png]



Screen saver options

The shutdown and logoff commands allow you to logoff or shutdown, even reboot the system from within a FactoryLink application. Prior to shutting down or logging off, the currently active FactoryLink application is gracefully stopped.

Information about used and free disk space can be queried for the disks in your workstation. The results of a query are integer values representing the amount of free or used disk space in kBytes. The information is available in a standard FactoryLink tag of type analog or long analog.

The screen saver options allow you to activate the screensaver setting for the display. The option present the setting and querying of the inactivity time for a screen saver, the value is in seconds. Also the automatic activation of the screen saver can be enabled or disabled.

1.3 Event viewer messages
Messages can be written to the NT event log, these messages can be informal, warning or error messages. The messages are viewed with the standard event viewer of Windows NT. 

[image: image8.png]=lolx|

R EEEEE)

Applcation Log_1 event(s)

Tree |
Tine Saurce

R e — Date
5 (ufomaton 192002 225125 NT system Utites
Securky Log
Systemlog
e | |




    [image: image9.png]192002 5ol
251 Ca
None. Ev
oA

Computer: RLDLAPTOP]

Dessiptior:

uice:  NT System Utties
tegay: None
entID: 7

Dat

& Butes € words

Message logged o event viewer.

Cance

ol





Figure 1.3. Logging to the event viewer.
Installation

1.4 System requirements

The FLNTsys utility will install and run on any IBM PC or PC-compatible computer equipped with:

· A processor equivalent to an Intel 80486 or later. RLD Automation recommends at least an Intel Pentium-class or compatible processor.

· A diskette station.

· At least 1.5 Mb of free hard disk space.

· Microsoft Windows NT 4.0, with at least service pack 4 installed; or Microsoft Windows 2000, with at least service pack 1 installed.

· USDATA FactoryLink ECS 7.0

1.5 FLNTsys installation

The main objective of the FLNTsys installation is copying two groups of files from the installation media to your workstation. In the first group all the files related to the FactoryLink environment are copied to your FactoryLink system directory (normally set by the ‘FLINK’ environment variable), including both the runtime and configuration options. The second group consists of the files for the keyboard filter device driver; those files are placed in the Windows NT system directory.

To start the installation locate the ‘setup.exe’ file on the installation media. Make sure that you are logged in as a user with administrator rights, otherwise the installation will be aborted. Installing a device driver re​qui​res administrator rights! 

[image: image10.png])

Setpene



Figure 2.1. Setup the application (large icon view).
After starting the setup, some questions need some answers, most important one is where your FactoryLink  system directory is located. The setup assumes that the environment variable %FLINK% is correct, but gives you the chance to change the directory. All the steps in the installation process are presented in the figures to come.

[image: image11.png]=10 x|
W g st yers Foctors T Sy
Information Systems FactoryLink
NT System Utilities (FL70, NT4 or
Windows 2000) Setup Wizard

et

WizARD

NT System
Utilities

This wil install FINTsys Version 2.0, for FL7.0 NT4 with SP4 or
bigher)or Windows 2000 on your computer.

It stiongly recommended that you close all other appiicalions
you have funning befare contiving. This will elp prevent any
conficts duing th insallaton process.

Click Nextto continue, o1 Cancel o exit Setup.

=





Figure 2.2. The welcome wizard panel.

The first screen displayed is the ‘Welcome’ screen, click ‘Next >’ to continue. The next wizard panel displays the FLNTsys end-user license agreement. read this agreement carefully. If you install FLNTsys you agree to abide by the terms of the license.

If you do not agree to the license terms, click ‘I do not accept the agreement’. Setup will quit immediately. Otherwise, click ‘I accept the agreement’ followed by ‘Next’ to continue.

[image: image12.png]=10l x|

Flease read the following Lizense Agreement. (ou must acoept the tems o tis
greement before continuing with the installaion

Tike ta the liensed scftware i NOT transfered or sod o the end user. The end
user is ranted a non-exclusive license to use the scftware an a SINGLE computer
or computer work station. EACH computerof computer workstaton must have ts
Jonn licensed copy of the software.

Tie To The Licensed Software. ﬂ

Copyright Prtection

This software i copyighted malerl I s pratected by the copyiohtlawsofthe
Nethelnd, and ihetprarietany fihts of RLD Autamalin, o may nat make

any changes o modiicatons o he progtem o the mental You may ot
decompe,dsassenble, of theruise reverseengineet the sofware i any wap. |

1 zcoept the ageement

140 not acoept the agreement

Bk Cance





[image: image13.png]ies (FL’ =10 x|

Select the folder where you would ke FLD Automalion FactoryLink NT System Uties
(FL70, NT4 or Windows 2000 to be instalie, then click Next

=Y P
(3 USdats
St Do
o B
Eoneen
[

|
Sd 7|

The program requites atlsast 1.5 MB of disk space.





Figure 2.3. The software license agreement.
Figure 2.4. Select destination directory

[image: image65.png]


Use the browse window to specify a directory for the FactoryLink system files, in case the one selected by the set-up wizard is not the one where you want to install this FactoryLink task. 

Next you have to choose the setup type: a full installation or a custom installation. for a custom installation you can select the server and/or client part of the FlNTsys utility. the server part of the application is the FactoryLink task and configuration environment for the Configuration Explorer. The client part is the ActiveX control to enable or disable keystrokes from within a Client Builder application. The keyboard filter driver which hooks to the system keyboard driver is always installed, as are the documentation files.

Figure 2.5. Select the type of installation

[image: image14.png]=10 x|

Click Instll to continue with the instalation, o cick Back if you wank o revisw or
change any seltings.

[Destnation diecton:
DAAUSdatalFactoryLink\FactoryLink

Bk Cance





[image: image15.png]ies (FLTC

T4 =10] )
Tocaplee the instalaion of RLD Autamalion Factanink NT
System Uit (FL7D, NT4 or Windows 2000], Setup mst

T restr you compter. Would you ke o feta now?

@ e Tesi e ampii now

NT System € o vl estat the compuler atr
Utilities





Figure 2.6. Ready to install the application.
Figure 2.7. Installation is completed.

You need to confirm your settings and requirements, before the actual installation process is started. Setup requires you to restart your computer in order to complete your FLNTsys installation and to ensure that the Keyboard filter driver is recognized by your system. If you have other work you must do, select ‘No, I will restart the computer later’, then click ‘Finish”. Otherwise select ‘Yes, restart the computer now’, then click ‘Finish’ to reboot your system.

Keyboard filter start-up

The keyboard filter device driver is responsible for filtering the keystrokes, before any application gets the keys. If this device driver is not installed or running, the FLNTsys application will not be able to filter any keystroke. After installation the keyboard filter device driver has a start-up priority of manual. This means you need to start the device driver manually, see the figure below. Normally this priority can be set to system or automatic. Remember that you need administrator rights to change the start priority, and to manually start the driver. Set startup priority to ‘Automatic’ if you want the driver to start everytime the system starts-up.

[image: image66.png][Keyboard Filter Propert

Gererdl Divr |

\> Keyboard Fiter

Sewice name:  KbFiler

Displayname:  Keyboard Filer

- Curent stalus

Status:  Stopped

- Stattup

Tope: Demand

Diver Detais

oK Cancel




[image: image67.png]5] Computer Manag =i
| acton vew || & » | @m || 2 ||
Tree | B Network adepters = |
oo ooy Dvers
B Comortormgenr Gy | 7 Mo
T i, System Took 3 foao
(g st D A
@ system Information 3 e
B performance Logs and Alerts o iew 2.3
i o Comew
few‘czManan’G ) DCF-Clock
ocal Users and Groups ) DDK PACKET Protacol
& Storage < Diskperf
Disk Managsment 3t B
1B Disk Defragmenter iond
S Logeatmes b $iinll
& Removable Storage > i

o Servces snd Aplcatons

<3 Feec
<5 Fokbad

< Generic Packet Classfier
<5 PsEC dver

<5 19X Traffic Fer river

<5 19X Traffic Forwarder Drivr
<5 108 Protocel




[image: image16.png]Quesarch CFolders (BHistory | 1 % [ B8 00 X i |

B

=k 8 % L o4

Component: _Computer  DataSources Event Viewsr  Internet

Services  Management (0DBC) Servic.
et an e o v 15 Locaisecurty porfornance PersorlWeb _ Server Services
s Palicy Manager  Extensions.
Confqures adnitatve satings
for your computer [ﬁ
See also: Telnet Server
1 Documents mmsration
i o lces

11 object(s) 15,168

My Computer





[image: image68.png]Activex Controls Configuration

Installed ActiveX Controls Approved ActiveX Controls
(88 ) VideoSoft Flexhiray Control 1= KeyBoardFiter Control
[a2]:1) VidsoSoft FlexSting Control

[ ctionBvi Class

ActiveBar Class
ActiveBar? Class

[ ctiveMovieCortrol Object
g Activei<Plugin Dbiect

(& Actov Cass »
(&84ctsys Contol e
(9 adbarmer Ciss: «
ocK il ool
B o Acrobat Corto For Actve
Al Contol
24, ADAppDbiectEdior ADAObiectE
@ 0ConfoDtieckE dior ADCFG0b;
17 ADContos ADListView
340 Conos FecMapping
A0Coniols FinkT sk GrousE cior
63 A0 Contrl FlrkTssList
2 AN Cariels FinkT sk Tren =

o Caresl





[image: image69.png]Insert ActiveX Control

[}

KeyBoardFiter Contol oK





Figure 2.8. Start-up priority of the keyboard filter device driver for Windows2000.

[image: image17.png]| «- -ty

9 [ X & [E-

| acttess [0 Contarponel

Control Panel

Select an icon to view its
description:

Microsoft Home
Techical Support

-

3LCom
Dynamichos

@ 8 &

Date/Time.

Accesshilty  Add/Remove

%
Auad
__|
=]

DialUp
Meritar

Console

Display

[ )My Computer





[image: image18.png]Devie Staus Statp
oot Disaled (=] [___Cse
1ezzga00 Distled

Lacagast Distled at
Jzides Disled

Keyboard Clss Diver Siaied  Syem e
KSe<D Started  System e EO)
moa Disabled HW Profies.
nge_ il Dissled | e |
Microsot NDIS System Diver Stated Syotem =] 5





[image: image19.png]Device:  Keyboard Fiter

Statup Type —

€ oot

€ System Cancel
€ futomatic Hep

@ il —

€ Disabled





Figure 2.9. Start-up priority of the keyboard filter device driver for NT4.

If after installation the registry settings are not set, you can install the driver manually by running ‘regedit kbfilter.reg’, remember that you need administrator rights. The file with the registry settings can be found in your windows directory: %Systemroot%\system32\drivers.

FactoryLink task configuration

In order to activate the utility as a FactoryLink task it needs some configuration in the ‘system configuration’ table of the FactoryLink Configuration Explorer.

[image: image20.png]E =18
e tiw Wndow Eb —laix|

T EEEITX

=il
5 [ Enterprise View = Dol
=B octarytinkservers Descrpton st
WyFactoryLinkServer RUNMGR  RurTime Manager TASKSTART S[0] | TASKSTATUS_5[0] TASKMESSAGE 5[ TASKD:

FITsys

PERSIST Persistence TASKSTART_S[1] | TASKSTATUS_S[1] TASKMESSAGE_S[ TASKD!
& Aoplcstion Ojec Classes

SCALE  Lincor Scaling and Deadbanding | TASKSTART (2] | TASKSTATUS_5[2] TASKMESSAGE 5[ TASKD:
Applcation Obect Instances TIMER  Interval and Evert Timer TASKSTART 5(3] | TASKSTATUS 5[3] TASKMESSAGE_5{ TASKD!
Harms ML Interprted Math and Logic  TASKSTART_S[4] | TASKSTATUS_S[4] TASKMESSAGE S| TASKD:
Data Logaing ALLOG  Distibuted Alor Logger TASKSTART 5(5] | TASKSTATUS 5[5] TASKMESSAGE_5{ TASKD!
Device Interfaces. FLITSYS  NT System uiies TASKSTART S(6] | TASKSTATUS S[6] TASKMESSAGE_5{ TASKD!
araphis RECIPE Recpe Save andLoad TASKSTART 5(7] | TASKSTATUS 5[7] TASKMESSAGE_5{ TASKD!
i COUNTER  Programmable Counter TASKSTART S(3] | TASKSTATUS 5[8] TASKMESSAGE_5{ TASKD!

£01 Extemal Device Inerface TASKSTART 5(3] | TASKSTATUS 5[3] TASKMESSAGE_5{ TASKD!
Math and Logic I0XLATOR  RAPD Transllor TASKSTART S(10] TASKSTATUS S[1( TASKMESSAGE_5{ TASKD!
Hetworking DB4_HIST _ Historen for dBASE IV (] TASKSTART 5(11] TASKSTATUS 5[1" TASKMESSAGE_5{ TASKD!
Recipe DBLOG __ Dotobase Logger TASKSTART 5(12] TASKSTATUS S[1: TASKMESSAGE_5{ TASKD!
Reports DPLOGGER _ Dota Point Logger TASKSTART S(13] TASKSTATUS S[1: TASKMESSAGE_5{ TASKD!

SPCDATA  Power SPC Data Colletion & Calc TASKSTART_5[14] TASKSTATUS_S[1: TASKMESSAGE 5[ TASKD:
CONNSRY _ WebClen(R) Connection Server | TASKSTART_5[15] TASKSTATUS_S[1¢ TASKMESSAGE 5[ TASKD:
FOWERNET  Cliot/Server RTDB Network Inte TASKSTART_5[16] TASKSTATUS_S[1( TASKMESSAGE 5[ TASKD!
FLFM_SERVE Fie Mansger Remole Server | TASKSTART 5[17] TASKSTATUS_S[1; TASKMESSAGE 5[ TASKD!
FLLANSND  Local Area Network Send TASKSTART_5[15] TASKSTATUS S[1i TASKMESSAGE 5[ TASKD!
FLLANRCY  Local Area Network Receive | TASKSTART 5[19] TASKSTATUS_S[1¢ TASKMESSAGE 5[ TASKD:
SPOOL  Spooker TASKSTART_5[20] TASKSTATUS_S[2( TASKMESSAGE 5[ TASKD!
RTMON  RealTine Database Montor | TASKSTART_5[21] TASKSTATUS_S[2 TASKMESSAGE 5[ TASKD!

Secaling and Deadbanding
L sec
=44 System
=413 System Configuration
&) System Configuration I—
L Persistence
L1 Timers
MonitorPro Add-Ons
Client Management
Enhanced Communication

‘ | _l"

| EF Enterprise View System C.
T [152002 [2315





Figure 2.10. FactoryLink task definition.

The required settings for the FLNTsys task are its taskname and executable name, the last one is not visible in the figure above, but can be reached by panning through the configuration row. 
the following settings apply:


	Task Name 
= 
FLNTSYS

Executable File 
= 
bin/flntsys
	[image: image21.png]- Task Information

Task Name. FLnTSYS
Task Description NT System iies m

- Task Flags
I Runt Statup Flag Sting Value-

I™ Creste Session Window F

T Edit Flags Directly

T~ Suppress Oniine Configuration

T Suppress Task Hibemation

[~ Task Options

Start Orcer

- Task Executable
Evecutable Fil binditsys

Frogram Avgurients

Sttty e
E

AT ool ez oy | peee | cew

| conee





Figure 2.11. FlNTsys task definition.


Registration of the software

The first time the software is started, a serial number and configuration sequence needs to be filled in, to register your copy of the software on the workstation the application is currently running on. The dialog box shown to you is given in the figure below, the serial number and registration code can be found on the installation media and at the end of this manual, see the chapter about the license agreement. Do not enter any spaces in the serial number or registration code, if you do so there will not be enough space for you to enter all the digits and the code will be rejected. The entry for the serial number must be 6 digits, and the entry for the registration code must be 16 characters.

 [image: image22.png][FactoryLink NT Sytem Utilities

Wizard Information Systems =
FactoyLink NT Sytem Utiies
Your copy s ot regitered I

Eter your seral number and regisration code below
1o prevent showing this screen, every time the appl:
calion s stated

The seiil number and registation cods can be found
in'the documentation incuded i the shipment.

Contact Wizard Informston systers fo nformation
nd picing o a cense.

Wizad Infomaton sstems E-mal
Seral rumber Registaon code:
Begiter () Continue unegistered





Figure 2.12. Registration window.

If you don’t have a serial and or registration number you can continue without registration, there are no limitations what so ever. Only the registration window will pop-up anytime you start the application. The serial number and registration code are stored in the windows registry, if you ever need to remove a license, you can do so by deleting the appropriate registry settings:

HKEY_LOCAL_MACHINE\SOFTWARE\RLD Automation\FLNTSYS\Serial

HKEY_LOCAL_MACHINE\SOFTWARE\RLD Automation\FLNTSYS\Registration

[image: image23.png]Registry E
Registy Edt_View Help

[_[CIx]

Data

T3 elable Softwars Nare
=23 ALD Automation [2Bf{Defaul] |
S FLNTSYS (E)Regiaton
Qs B

{2 Seagate ot

RIS b il

vale ot se)
4461 d218d1 a3 aa
“s00301"

My Computer\HKEY_LOCAL_MACHINE\SOFTWARE\ALD Automalior\ FLNTSYS

NI





Figure 2.13. Registry entries for a license.

FlNTsys task de-installation

De-installation of the FlNTsys task is done through the Control Panel applet ‘Add/Remove Programs’. The FlNTsys task has an entry in the list of applications, which can be de-installed: ‘FactoryLink NT System Utilities’.

[image: image24.png]&3 Add/Remove Programs. =1oix|

Currently nstalled programs: Sort by:[Hame =}

] ok 150194 Drver Al
1 FactoryLink NT System util

2% Factorylink OPC Clint/Server Software See  2,06MB
15 FactoryLink Senchai Task
G Grabberzkvo.9%e s sae

@ Greatis Wirbows2 3.0 S a0

ancaszos
® =l
=





[image: image25.png][=i
ink NT System U

Factoryl es

Use the Follwing information £ get techrical support for
Factorylink T Syster Utiltes

Publsher wiard Information Systems
Version; o

Support Information: support@wizinosys.ni
Product Updates:  bttp:Jonwi.iinfosys.nl





Figure 2.14. Control Panel applet for removing the FlNTsys task.

Clicking on the button Change/Remove allows you to remove the FlNTsys task from the system. Before the deleting of files starts, you are asked to confirm the removal of the application.

2 Configuration tables

The configuration tables for the NT system utilities can be accessed with the FactoryLink Configuration Explorer. For general information about entering data in FactoryLink configuration tables refer to the FactoryLink Manual. In the Configuration Explorer select ‘Other tasks’, one table entry ‘NT System utilities’ appears. Opening this option gives you the three main configuration parts of the task: ‘Enable/Disable Keystrokes’, ‘Log to the Event Viewer’ and ‘System Settings’. These three configuration panels allow entering configuration information for the three different functionality’s of the FactoryLink application: enabling or disabling keystrokes, logging messages to the event viewer and retrieving or setting system parameters. 

[image: image26.png]SHARED ( D:\USdatal\Fintsysapp )] ~=lolx|

5 T T la/x]
T EEEITX

— tpeX|dFF sseE ]
B o Enable/Disable Keystrokes
b g
e e Enable/Disable Tag [CtriATtDel
Graphics Get State
e Keystroke |
Networking Shift Key NO <
’;:;‘:is Contral Key YES ¥
Scslng snd Deadbanding Alt Key YEs |
s Replacement ey [NoNE TR
S Key State
s Compltion

Clent Management
Enhnced Conmurication
Redndancy
523 Other Tasks
21 Fle Manager
{53 opcExplorer

Factorytink OFC Clent
alam Setup Information
2 Alarm Defriton L
A6 Comor setup

T System uiies
{81 Log To The Event Viewer
System Settngs

21 Quadtine Hodbus s,
K} S Id_‘

» .| »{ o8 bty | Dol | gem | cose
| EF Enterprise View Enable/Di.

T [352002 [05:48





Figure 3.1. FactoryLink configuration Explorer.

Enable/Disable keystrokes

The ‘Enable/Disable Keystrokes’ panel is used to filter keys form the keyboard. Filtering is made active with a digital tag, filtering is set active with a digital value of ON (value is ‘1’). In case of active filtering the defined keystroke is removed from the keyboard buffer, this means no application will receive this keystroke. A keystroke can be com​bi​ned with any combination of the alt, shift or control keys. For windows NT care should be taken with the com​bi​na​tion ‘Ctlr + Alt + Del’, if this key combination is disabled, the workstation should not be locked, because the same keystroke is used to unlock a workstation and allow the user to enter a username + password to return to his desktop.

In fact the same applies to a screensaver, a screensaver can be used with and without a password, when using a password the screensaver ends only if the keys ‘Ctrl + Alt + Del’ can be pressed! 

[image: image27.png]Enable/Disable Keystrokes

Enable/Disable Tag
Get State
Keystroke

Shift Key

Control Key

Alt Key
Replacement Key
Key State

Completion

CtriAltDel

DEL
NO -
YES -
YES -
NONE





Figure 3.2. Configuration panel for keystroke filtering.

Every definition in the configuration panel completely defines the filtering behaviour for a particular key​stro​ke. All the fields are discussed in the same order as they are presented in the configuration panel.

[image: image28.png]



Enable/Disable Tag

A Digital tag which enables or disables the filtering (or removal of the keyboard buffer) of the defined keystroke (the keystroke is defined in the next field). The value of the tag defines the filtering type, value OFF (tag value is ‘0’) enables the keystroke, the keystroke is not removed form the key​board buffer. A value of ON (value is ‘1’) disables the keystroke, the keystroke is upon detection (that is entrance in the keyboard buffer) removed from the keyboard buffer.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


[image: image29.png]



Get State

A Digital tag used as a trigger to retrieve the current state of the keystroke: enabled or disabled. The current state is returned as a tag value, this tag is defined in the field ‘Key State’. The current state is only retrieved when the trigger is activated: the value of the digital tag is ‘ON’, and the change bits of the tag is set (indicating a value change from ‘OFF’ to ‘ON’ or a ‘forced’ write).

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL


[image: image30.png]



Keystroke

The keystroke removed from the keyboard buffer if the value of the digital tag in the ‘Enable/Disable Tag’ field has the value ‘ON’. A selection list is provided to select the keystroke, the keystroke to filter must be in this selection list. If you may need more keystrokes then the ones defined, please feel free to contact us, the list can easily be extended! Standard the following keystrokes are provided:

	Selection
	Keystroke name

	DEL
	Delete key

	ESC
	Escape key

	TAB
	Tab key

	FLYWINL
	Left windows key

	FLYWINR
	Right windows key

	POPUPMENU
	

	F1
	Function key 1

	F2
	Function key 2

	F3
	Function key 3

	F4
	Function key 4

	F5
	Function key 5

	F6
	Function key 6

	F7
	Function key 7

	F8
	Function key 8

	F9
	Function key 9

	F10
	Function key 10

	F11
	Function key 11

	F12
	Function key 12

	CAPS_LOCK
	Caps Lock key

	PRINTSCREEN
	Print screen button

	ENTER
	Enter key

	BACKSPACE
	Back space key

	SCROLL_LOCK
	Scroll lock key

	NUM_LOCK
	Numeric Lock key

	INSERT
	Insert key

	HOME
	Home key

	PAGE_UP
	Page up key

	DELETE
	Delete key

	END
	End key

	PAGE_DOWN
	Page down key

	UP
	Up arrow key

	LEFT
	Left arow key

	RIGHT
	Right arrow key

	DOWN
	Down arrow key


	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	DEL


[image: image31.png]



Shift key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the shift key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Shift + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


[image: image32.png]



Control key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the control key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Ctrl + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


[image: image33.png]



Alt key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the alt key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Alt + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


[image: image34.png]



Replacement key

Instead of removing the keystroke from the keyboard buffer the key can be replaced with another key. For example the printsrceen key: this keystroke is normally handled by NT, and is not received by the FactoryLink graphics task. Replace this keystroke with ‘F12’ and the graphics task gets the ‘F12’ key any time the printscreen button is pressed. If you define a graphics ‘print screen’ action for ‘F12’ key, a print of the current screen will be generated every time the printscreen button is pressed. 

	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	NONE


	Selection
	Keystroke name

	NONE
	No replacement key active

	DEL
	Delete key

	ESC
	Escape key

	TAB
	Tab key

	FLYWINL
	Left windows key

	FLYWINR
	Right windows key

	POPUPMENU
	

	F1
	Function key 1

	F2
	Function key 2

	F3
	Function key 3

	F4
	Function key 4

	F5
	Function key 5

	F6
	Function key 6

	F7
	Function key 7

	F8
	Function key 8

	F9
	Function key 9

	F10
	Function key 10

	F11
	Function key 11

	F12
	Function key 12

	CAPS_LOCK
	Caps Lock key

	PRINTSCREEN
	Print screen button

	ENTER
	Enter key

	BACKSPACE
	Back space key

	SCROLL_LOCK
	Scroll lock key

	NUM_LOCK
	Numeric Lock key

	INSERT
	Insert key

	HOME
	Home key

	PAGE_UP
	Page up key

	DELETE
	Delete key

	END
	End key

	PAGE_DOWN
	Page down key

	UP
	Up arrow key

	LEFT
	Left arow key

	RIGHT
	Right arrow key

	DOWN
	Down arrow key


[image: image35.png]



Key State

If defined this tag has the current filtering state of a keystroke, that is after setting the filtering state with the ‘Enable/Disable Tag’ or after activating the trigger ‘Get State’. The tag value can be ‘ON’, indicating a disabled keystroke, or ‘OFF’, indicating an enabled keystroke. 

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG


[image: image36.png]



Completion

After setting or retrieving the filtering state of a keystroke, and all output tag’s are written, the tag defined here is forced to ‘ON’. This tag can be used to signal the completion of setting/retrieving the filtering state of a keystroke. 

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG


System settings

The ‘System Settings’ panel is used to change system settings or perform system actions. There are different groups of actions or settings. The first group is for shutting down the system, depending on the configuration of your system the system can be shutdown, powered off or logged off. The success of every one of these actions depends on the settings for security, if a logged on user does not have the privilege to shutdown the system, executing the action will not result in shutting down the workstation. Prior to shutting down (or logging off) the complete FactoryLink application is stopped.

The second group deals with disk space, both the numbers of kBytes free disk space and used disk space can be requested. The result will be available as a numeric tag value. In the third group settings for the screen saver can be requested and set. The inactivity time before a screensaver gets active can be queried and changed. The setting if a screensaver should appear after some time of inactivity can be read and changed.

[image: image37.png]System Settings

Action Tag
Action
*parameter

Completion

[Lockworkstation

LOCK





Figure 3.3. Configuration panel for system settings and actions.

Every definition in the configuration panel completely defines a setting or action. All the fields are discussed in the same order as they are presented in the con​fi​gu​ra​tion panel.

[image: image38.png]



Action Tag

Digital tag associated with the action defined in the next field, the tag is used as a trigger tag to start the action. For a digital trigger tag this means the value and the change flag for the tag must be both ‘ON’ for executing the action. The actions are described in the next field.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


[image: image39.png]



Action

The action to perform if the trigger defined in the previous field is active. A selection list is provided to select the action, the action must be in this selection list. If you may need more or different actions then the ones defined, please feel free to contact us, on request the list can be extended. In the table below the possible actions are listed, together with a description. For some action the next field ‘*Parameter’ is essential, for the action this field is interpreted as a parameter. It can be input or an output parameter for an action. 

	Action
	Description
	Parameter

	LOGOFF
	Log the current user off, FactoryLink application is stopped prior to logging off.
	not used

	POWEROFF
	Log the current user off, shutdown and power off the workstation. The FactoryLink application is stopped prior to logging off. Note that your workstation should have powermanagement in​stal​led properly for correct functioning of this action.
	not used

	REBOOT
	Log the current user off, shutdown the workstation and reboot. The FactoryLink application is stopped prior to logging off.
	not used

	SHUTDOWN
	Log the current user off, shutdown the workstation. The FactoryLink application is stopped prior to logging off.
	not used

	
	
	

	SCREENSAVER
	Activate the current installed screen saver. Don’t move mouse of hit the keyboard after activation, otherwise the screensaver will end…

Tag triggers the activation of the screen​saver, triggering is on the change bit, any value allowed, except for a digital tag which also needs a value of 1 (ON).
	not used

	SET_SCRNSAVER
	Boolean setting for the screensaver: the pa​ra​me​ter value determines if a screensaver after a cer​tain time of inactivity is displayed. The value is set for the workstation.
	Digital value 0, 1 to prevent or allow a screensaver after some time of inactivity. 

	GET_SCRNSAVER
	Boolean setting for the screensaver: the pa​ra​me​ter value determines if a screensaver after a cer​tain time of inactivity is displayed. The value is queried from the workstation.
	Tag tag has the actual setting for the screensaver activation: 0 means screensaver will never be activated, 1 means that the screensaver will get active after a certain time of inactivity.

	SET_SCRNTIME
	The inactivity time in seconds before a screen​saver gets active. Note: the activation of a screen​saver should be allowed!

The value is set for the workstation.
	Decimal value representing the inactivity time in seconds, ranging from 1 and up.

	GET_SCRNTIME
	The inactivity time in seconds before a screensaver gets active. Note: the activation of a screensaver should be allowed!

The value is queried from the workstation.
	Tag which has the actual value of the inactivity time in seconds after execution of the action.

	SET_PSWSAVER
	A screensaver can be password protected, with this action the current password protection is set.
	Digital value 0, 1 to set or remove password enabling of the screensaver. 

	GET_PSWSAVER
	A screensaver can be password protected, with this action the current password protection is retrieved.
	Tag that has the actual value of the password enabling of the screensaver, 1 means that the screensaver is password pro​tec​ted.

	SET_LOCK
	After pressing Control+Alt+Delete, a security screen will pop-up, on this screen there is a button to lock the workstation, this button can be anabled or disabled. With this action the button state is set to enabled or disabled.
	Digital value 0, 1 to enable or disable the ‘lock’ button on the se​cu​rity screen. 

	GET_LOCK
	After pressing Control+Alt+Delete, a security screen will pop-up, on this screen there is a button to lock the workstation, this button can be anabled or disabled. With this action the actual button state is retrieved.
	Tag that has the actual value of the state of the ‘lock’ button on the security screen, 1 means the button is disabled.

	SET_TASKM
	After pressing Control+Alt+Delete, a security screen will pop-up, on this screen there is a button to start the task manager, this button can be anabled or disabled. With this action the button state is set to enabled or disabled.
	Digital value 0, 1 to enable or disable the ‘task manager’ button on the se​cu​rity screen. 

	GET_TASKM
	After pressing Control+Alt+Delete, a security screen will pop-up, on this screen there is a button to start the task manager, this button can be anabled or disabled. With this action the actual button state is retrieved.
	Tag that has the actual value of the state of the ‘task manager‘ button on the security screen, 1 means the button is disabled.

	
	
	

	FREE_?
	Requests the amount of free disk space in kBytes of drive ?.
	Tag which has the actual amount of free disk space.

	USED_?
	Requests the amount of used disk space in kBytes of drive ?.
	Tag which has the actual amount of used disk space.


	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	SHUTDOWN


[image: image40.png]



*Parameter

Parameter value associated with the action defined in the previous field. The entry can be a fixed parameter (or numerical value) or a tag name. In case of a tag the application uses the tag value as the parameter value. This applies only to parameters, which are ‘inputs’, for the action, see the description of the actions in the table above. For output parameters only a tag name is useful, the application will set the tag value to the result of the action.

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG, LONG ANALOG, FLOAT


[image: image41.png]



Completion

After executing an action, and if needed writing a value to the parameter tag, the tag defined here is forced to ‘ON’. This tag can be used to signal the completion of an action. 

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG


Event Logging

[image: image42.png]Log To The Event Viewer

Log Event logaviewer
*Event Type [INFORMATION ~|
*Event Message [EventMessage

Event Completion [EventCompletion





Figure 3.4. Configuration panel for event logging.

Every row in the configuration panel completely defines an event logging mechanism. All the fields are discussed in the same order as they are presented in the configuration panel.

[image: image43.png]



Log Event

Digital tag used as a trigger to start the logging action, the type of event and the message logged are defined with the next two fields. For a digital trigger tag this means the value and the change flag for the tag must be both ‘ON’ to start the logging action.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


[image: image44.png]



*Event Type

Type of the event logged is defined with this field, the entry types allowed are an alphanumeric string or an analog tag. Three different types are possible, every one of them has its own icon in the event viewer: Information, error or warning message. See the figure and table below for the appearance in the event viewer and the associated icons for every type. The alphanumeric allowed entries in the field correspond with a decimal value of 0 ..2, this value is the equivalent of the selections ‘INFORMATION’, ‘WARNING’ and ‘ERROR’. And these are the only values accepted if an analog tag name is entered in the field, values less then zero are (internally in the task) set to zero, and values greater then two are (internally in the task) set to 2. Don’t forget to start the selection text with an apostrophe ‘, only with this sign the Configuration Explorer will interpret the entry as a (static) selection, otherwise the entry is assumed to be a tag name.

	[image: image45.png]Type |Date = | Time | source.

Avwamy  3em  z9stes NI sptmuies
Qeir Sva N Sy ies
ufomaion 352002 204603 NI System Usties





Figure 3.5. Event types in the event viewer.

	Selection

Decimal

Icon

WARNING

0

[image: image46.png]



INFORMATION

1

[image: image47.png]



ERROR

2

[image: image48.png]






	entry
	( Required

	entry type
	Tagname, tag type: ANALOG
Keyword from a selection list: INFORMATION, ERROR, WARNING 

	default
	INFORMATION


[image: image49.png]



*Event Message

The message logged to the event viewer can be static or dynamic, dynamic means the entry in this field is a message tag, the text in the tag is used as the log-message. For a static configuration the message text is configured in the panel, don’t forget to start the text with an apostrophe ‘. Only with this sign the Configuration Explorer will interpret the entry as static text, otherwise the entry is assumed to be a tag name.

	entry
	Optional

	entry type
	Tagname, tag type: MESSAGE

Alphanumeric string of up to 250 characters


[image: image50.png]



Completion

After the logging is completed the tag defined here is forced to ‘ON’. This tag can be used to signal the completion of a logging action. 

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG


ActiveX Control ‘Keyboard Filter’

If you have installed the ‘client’ part of the FlNTsys application, a new ActiveX control is now registered on your system: Keyboard Filter. Together with this control the keyboard filter driver is installed on the system, together they can filter keystrokes from the keyboard on a ‘client’ system. That is a system without an active FactoryLink server! The control is easily integrated in Client Builder, and can be used in combination with the FlNTsys FactoryLink server task.

To enable keystroke filtering from within a Client Builder application one must install the ActiveX control from the installation media, and next select the control as a favourite in the Client Builder environment, see the figure below.

[image: image51.png]Fle Edt Diplay Insert Draw Amange Animate Mods | Took Window 7

B3 RERSE -

O

Overview

ActiveX

Appication
Project
Securty

Language

Keyboard Manager.
Expression Edior

Servers,

Options.

=0 x|

Nasmme

[X Ctrl + Shift # Esc
|





Figure 4.1. Setting the ‘KeyboardFilter Control’ as a favourite control in Client Builder.
If the control is added as an approved control, you can insert the control on a page, see the figure below.

[image: image52.png]&)

0 3| @ g oo

R noce
%

1
17 O Favorites Activex Controls
%0z OLE Object.

& rrend,

3 UsDATA Trend Cortrol
5 USDATA Alerm Viewer Conrol
* & USDATA Databsse browser Cortrol

VD

Fle Edt Diplay [ Insert Draw Arange Animate Mode ook Window 7

B2R9 0 |4Ls mEg

=0 x|

Enablei/ Disable keystrokes





Figure 4.2. Inserting th e’KeyboardFilter Control’ on a page.

After the insertion of the control on a page, you can set one property: the control can be visible or not. A visible control looks just like the icon on the page in the figure above. An invisible control is present on a page, but invisible for the user (and developer).

[image: image53.png]KeyBoardFilter Control Properties.

Gensl |

¥ Visible.

=





Figure 4.3. Properties of the ActiveX control.
To disable or enable keystrokes the appropriate methods of the control should be invoked. The control has seceral methods and properties which you can invoke, retrieve or set. An example of invoking a method is given in the sample script below.

[image: image54.png]=lox|

£ Fie Ede Insert Display Debug Window

lai x|

Hsma am

eI

oo e

A= [Shapea

=] [ouek

bt |

221 As Poly
222 s Poly
223 s Poly
224 A Poly
226 As Poly
227 As Poly
228 As Poly

i e o

Private Sub Shapes_Click()

End Sub

Ready

ReyboardFilterl.LockUorkstation '

Lockiorkstation(]

(Custom)
(Name)
Anchaix
Anchart
Arimations

Events
Methads
Variable Links

rr 4





Figure 4.4. A script, invoking a method of the ‘KeyboardFiltering Control’.
Properties

There is only one property of the control that can be read and written to, which is ‘Visible’. This is the same property which is displayed as an option on the configuration dialog of the control. The other properties are read-only, and are standard properties of an ActiveX object.

[image: image55.png](Custom)
(Name) KeyBoardFiler]
Heicht a1
Lot 144
Obiect
Parent
144
True
a1
(winkelp)
Evens
Methads

Variable Links





Figure 4.5. ‘KeyboardFiltering Control’ properties.
2.1 Methods

The methods of the ’KeyboardFilter Control’ are functions to disable, enable keystrokes, lock the workstation or invoke the screensaver.

	Method
	Function prototype

	AboutBox
	Sub AboutBox (  )

Show the about box of the control, the dialog is dismissed with the ‘Ok’ button.

	DisableKey
	Sub DisableKey ( ByVal ScanCode As Integer, ByVal Shift As Boolean, ByVal Alt As Boolean, ByVal Control As Boolean )

Disable the specified keystroke (Scancode), and define the exact key combination with Control, Alt and/or  Shift.

	DisableLockWorkstation
	Sub DisableLockWorkstation ( ByVal Disable As Boolean )

Disable the ‘Lock Computer’ button on the security page, that is invoked with the key combination: Control+Alt+Delete.

	DisableTaskManager
	Sub DisableTaskManager ( ByVal Disable As Boolean )

Disable the ‘Task Manager’ button on the security page, that is invoked with the key combination: Control+Alt+Delete.

	EnableAllKeys
	Sub EnableAllKeys (  )

Just enable all keystrokes.

	EnableKey
	Sub EnableKey ( ByVal ScanCode As Integer, ByVal Shift As Boolean, ByVal Alt As Boolean, ByVal Control As Boolean )

Enable the specified keystroke (Scancode), and define the exact key combination with Control, Alt and/or  Shift.



	IsKeyDisabled
	Sub IsKeyDisabled ( ByVal ScanCode As Integer, ByVal Shift As Boolean, ByVal Alt As Boolean, ByVal Control As Boolean )

Retrieve the actual state (enabled = 0, disabled <> 0) of the specified keystroke (ScanCode), the combination of Control, Alt and Shift is also defined.

	LockWorkStation
	Sub LockWorkStation (  )

Lock the workstation. If the key combination ‘Control+Alt+Delete’ is disabled, the user can never unlock the system!

	ReplaceKey
	Sub ReplaceKey ( ByVal ScanCode As Integer, ByVal Shift As Boolean, ByVal Alt As Boolean, ByVal Control As Boolean, ByVal ReplaceCode As Integer )

Replace the specified keystroke (Scancode)with the one given in ‘ReplaceCode’, and define the exact key combination with Control, Alt and/or  Shift. The Control, Alt and Shift setting also apply for the replacement keystroke.

	SetScreenSaverSecure
	Sub SetScreenSaverSecure ( ByVal Secure As Boolean )

Set or remove the password protection from the screensaver, specify a boolean value true to secure the screensaver.

	StartScreenSaver
	Sub StartScreenSaver (  )

Start the (default) screensaver on the system, if there is no screen saver activated the function will fail.


You can find the most used scancodes in the list below.

'Key          Hex code   Decimal
'DEL          53         83
'ESC           1         1
'TAB           F         15
'FLYWINL      5B         91
'FLYWINR      5C         92
'POPUPMENU    5D         93
'F1           3B         59
'F2           3C         60
'F3           3D         61
'F4           3E         62
'F5           3F         63
'F6           40         64
'F7           41         65
'F8           42         66
'F9           43         67
'F10          44         68
'F11          57         87
'F12          58         88
'CAPS_LOCK    3A         58
'PRINTSCREEN  37         55
'ENTER        1C         28
'BACKSPACE     E         14
'SCROLL_LOCK  46         70
'NUM_LOCK     45         69
'INSERT       52         82
'HOME         47         71
'PAGE_UP      49         73
'DELETE       53         83
'End          4F         79
'PAGE_DOWN    51         81
'UP           48         72
'Left         50         80
'Right        4B         75
'DOWN         4D         77
Error messages

If an error condition is present in the application, an appropriate message is send to the FactoryLink kernel. The message can be seen in the ‘run-time manger’ screens which are part of the starter application. In the standard screens the error message will appear to the right of the ‘FLNTSYS’ task. Errors are marked by a red button, if an error occurred but the task can continue. Severe errors cause a FactoryLink task to stop, these errors are marked with an error description and a grey button (same as an inactive task).

[image: image56.png]Overview  Activex Sun 07-04-2002 07:52:31

VUSDAA
S Tasks

Tasks Last Message Server Run Manager Page 1 Next

Running

W

PERSIST

SCALE

W

Running

ML

AL_LOG

Could not attach to keyboard

W

RECIPE

COUNTER

EDI

I0XLATOR

DB4_HIST

DBLOG

DPLOGGER

SPCDATA

CONNSRY

Program Directory: D:\USDATAVFACTOR~ 1\FACTOR~ 1
Applica ectory: D:\USdata\FLNTS Y~ 1 Help





Figure 4.1. Run-time manager screen.


[image: image57.png]FLNTSYS




 Could not attach to keyboard

The application was unable to find the keyboard filter device, keyfiltering is not possible.

Possible solutions: Make sure the keyboard filter driver is installed and running, to start a device in NT4 go to the control panel ( devices ( Keyboard filter, and try to start the device if it is not running. For Windows2000 open the control panel ( Administrative tools ( Computer management. In the application computer management select in the tree on the left side: Device manager ( Non-plug and play drivers ( Keyboard Filter. If the entry ‘non-plug and play drivers’ is not visible, activate it with the menu command ‘View ( Show hidden devices’. For starting a device one needs administrator rights. If the driver is not in the list (re)install the application.


[image: image58.png]FLNTSYS




 System tag for exiting FactoryLink is not found

The application was unable to find the system tag to shutdown the FactoryLink application, shutting down FactoryLink is now impossible. Possible causes are a corrupted database (see ‘Could not access ‘%s”) or missing of the system tag, the system tags can be removed! 

Possible solutions: Make sure the system tags are all present.


[image: image59.png]FLNTSYS




 Changing system information failed

Changing the system settings for screensaver, retrieving disk space, shutting down the system failed. Most likely cause is not enough rights to change or even request a system setting.

Possible solutions: increase the rights of the user, or log on as a different user with more rights.


[image: image60.png]FLNTSYS




 Reading system information failed

Reading the system settings for screensaver, retrieving disk space, shutting down the system failed. Most likely cause is not enough rights to change or even request a system setting.

Possible solutions: increase the rights of the user, or log on as a different user with more rights.


[image: image61.png]FLNTSYS



 Could not access '%s'

The application was unable to access the specified tag (on position %s), most likely cause is a corrupted application database and/or CT-file. 

Possible solutions: The normal advised action to repair a damaged application database, try generating the CT-file by hand. One point to check is if the application is correctly installed in your FactoryLink system directory. There must be entry with FLNTsys in both the {FLINK}/ac/titles file and the {FLINK}/ctgen/ctlist file. Is either one of them is missing try to reinstall the application.


[image: image62.png]FLNTSYS



 CT-file not found

The application was unable to access the task specific CT-file, the file was not found in the application directory. 

Possible solutions: Make sure the FlNTsys task has a configuration in the Configuration Explorer, if so please check if this is the same application as you started. 

Check if there is a configuration file ‘flntsys.ct present in the application, directory: {FLAPP}\shared\ct. If there is no such file present, see if FactoryLink is instructed to generate this file. In the ASCII-file ‘{FLINK}\ctgen\ctlist’ there must an entry: flntsys: ntsys_k ntsys_s ntsys_m.


[image: image63.png]FLNTSYS



 No triggers found in CT-file

The SendMail task found a configuration file ‘flntsys.ct’ in the application directory, however there are no triggers defined for the task. 

Possible solutions: Make sure the SendMail task has a valid configuration in the Configuration Explorer, if so please check if this is the same application as you started. 

Check if there is a configuration file ‘sendmail.ct present in the application, directory: {FLAPP}\shared\ct. If there is no such file present, see if FactoryLink is instructed to generate this file. In the ASCII-file ‘{FLINK}\ctgen\ctlist’ there must an entry: sendmail: sndmailr sndmailm sndmailt.

If a configuration file (CT-file) present, please generate a list file of the configuration, before contacting the support desk. The listing file is generated with a utility called “ctlist.exe”, check first if the program is present in the {FLINK}\bin directory, if so open a command prompt and go to the application directory. In the application directory is heck if there is a configuration file ‘sendmail.ct present in the application, directory: {FLAPP}\shared\ct. In the application directory go to the subdirectory: shared\ct, from there run the command: “ctlist sendmail.ct”. The output can be redirected to a file, e.g. appending: “> d:\sendmail.txt” to the commandline. Contact the support desk for more help.

License Agreement

The use of this program is subject to the following terms and conditions.

Title To The Licensed Software

Title to the licensed software is NOT transferred or sold to the end user. The end user is granted a non-exclusive license to use the software on a SINGLE computer or computer work station. EACH computer or computer workstation must have its own licensed copy of the software.

Copyright Protection

This software is copyrighted material. It is protected by the copyright laws of the Netherlands, and other proprietary rights of RLD Automation. You may not make any changes or modifications to the program or the manual. You may not decompile, disassemble, or otherwise reverse-engineer the software in any way.

Limited Warranty

RLD Automation does not warrant that the licensed software will meet your requirements or that the opera​tion of the software will be uninterrupted or error free.  The warranty does not cover any media or do​cu​mentation which has been subjected to damage or abuse by you or others. The software warranty does not cover any copy  of the licensed software which has been altered or changed in any way. In other words there is no warranty either implied or expressed.

ANY IMPLIED WARRANTIES INCLUDING ANY WARRANTIES OF MERCHANTABILITY OR FITNESS OR A PARTICULAR PURPOSE ARE LIMITED TO THE TERM OF THE EXPRESS WARRANTIES. Some states do not allow limitations on how long an implied warranty lasts, so the above limitation may not apply to you.

Other Warranties

The warranties set forth above are in lieu of any and all other express or implied warranties, whether oral, written, or implied, and the remedies set forth above are the sole and exclusive remedies.

Limitation Of Liability

RLD Automation is not responsible nor liable in anyway for any problems or damage caused by the licensed software that may result from using the licensed software. This includes, but is not limited to, computer hardware, computer software, operating systems, and any computer or computing accessories. End user agrees to hold RLD Automation harmless for any problems arising from the use of the software.

 RLD Automation SHALL NOT IN ANY CASE BE LIABLE FOR ANY SPECIAL,  INCIDENTAL, CON​SE​QUENTIAL, INDIRECT OR OTHER SIMILAR DAMAGES  ARISING FROM ANY BREACH OF THESE WARRANTIES EVEN IF RLD Automation OR ITS AGENTS OR DISTRIBUTORS HAVE BEEN ADVISED OF THE POSSIBILITY OF SUCH DAMAGES. Some states do not allow the exclusion or limitation of incidental or consequential damages, so the above limitation or exclusion may not apply to you.

 In no case shall RLD Automation’s liability exceed the license fees paid for the right to use the li​cen​sed software.

The above constitutes the license agreement for this program. It supersedes any and all previous license a​gree​ments.

LICENSE

	
	

	
	

	
	

	
	


( Copyright 2000 RLD Automation, the Netherlands, all rights reserved.
Information window for the FlNTsys task








( RLD Automation

Page 31

_1079670968

_1079671529

