[image: image36.png]


[image: image37.png]


FLNTsys Version 1.1
[image: image36.png]
Contents

RLD
Automation

FactoryLink System Utilities

for

FactoryLink ECS 6.6.0

[image: image1.png]


 FLNTsys

Version 1.1

Printed: Monday, 12 June, 2000
Introduction

The FLNTsys utility is a FactoryLink task, which enables NT4 system functionality’s inside a FactoryLink ap​pli​ca​tion. These functions include enabling, disabling keys, request system information regarding diskspace, screen​saver settings, shutting down the system or logging off a user, showing a simple message box to notify users.

This manual is intended for use by a technician who is familiar with the FactoryLink  ECS software. Covered in this manual are the principles of operation, installation and configuration of the software. Included in the shipment is a demo-application, which can be used as an example of how to implement the futures in your FactoryLink application.

This software is protected with a software key, a serial number and configuration sequence. Both are included in your shipment, registration is already completed on receiving the complete package. 

FactoryLink is a registrated trademark of United States Data corporation, Richardson Texas USA.

( Copyright 2000 RLD Automation, the Netherlands, all rights reserved.

RLD Automation 

van Sonsbeeckstraat 11

5344 JB Oss

The Netherlands

Tel. 
+31 412 655990

Fax. 
+31 412 655991

e-mail
rld.marcel@worldonline.nl
Contents

2Introduction

Contents
3
1
Operation principle
4
1.1
Keystroke filtering
4
1.2
System settings
5
1.3
Message boxes
5
2
Installation
6
2.1
System requirements
6
2.2
FLNTsys installation
6
2.3
Keyboard filter start-up
8
2.4
FactoryLink task configuration
9
2.5
Registration of the software
10
3
Configuration tables
11
3.1
Enable/Disable keystrokes
12
3.1.1
Single point keystroke configuration
15
3.2
System settings
16
3.3
Message Box
18
4
Error messages
22
5
License Agreement
24


1 Operation principle

The FLNTsys utility is a FactoryLink task which enables NT4 system functionality’s inside a FactoryLink ap​pli​ca​tion. These functions include enabling, disabling keys, request system information regarding diskspace, screen​saver settings, shutting down the system or logging off a user, showing a simple message box to notify users. 

The operation principle differs for the three different main futures of the application, keystroke filtering, system settings and (simple) message boxes.

After installation a demo application is present in the {FLINK}\mps\en directory, the application is stored as a multiplatform save file with the name: ‘flntsys.mps’. After restoring and starting the application a screen with an overview of the capabilities of FLNTsys is shown to the user, see the figure below.

[image: image2.png]i

Overview

[=[Of=]

System ﬂ

Diskspace usage

Disk C Disk D

Used o Used 1
Free o Free 0

Info Disk C Info Disk D

Get Screensaver info

Screensaver active, yes =1,no =0
Screensaver timeout Start screensaver

Set Screensaver info

Enable / Disable keystrokes
[~ Ctrl + Alt + Del

[~ Alt+ Tab

[~ Alt + Shift + Tab

[~ Alt+Esc

[~ Ctrl+Esc

[~ Ctrl + Shift + Esc
[~ Win keys

Shutdown the system, or restart

Restart...





Figure 1.1. FactoryLink demo application.

1.1 Keystroke filtering

The FLNTsys utility is capable of filtering keystrokes from the keyboard buffer. The utility lets you specify which keys are to be filtered, these keystrokes can be altered from within a FactoryLink application. If a keystroke is filtered none of the (running) applications will receive this keystroke, it is removed from the keyboard buffer, so even before any program ‘sees’ the keystroke. In order to do this the utility depends on a device driver: KbFilter, which stands for Keyboard Filter. This device driver is just a normal device driver, its start-up options can be modified from the control panel ( Devices ( Keyboard filtering.

As this driver attaches itself to the keyboard, it has the same class as a keyboard driver. This means you can start the driver manually (see the next figure), but you are not allowed to stop this device driver! NT4 will not allow you to stop a device driver of the keyboard class.
[image: image3.png]Devie Staus Statp
oot Disaled (=] [___Cse
1ezzga00 Distled

Lacagast Distled at
Jzides Disled

Keyboard Clss Diver Siaied  Syem e
KSe<D Started  System e EO)
moa Disabled HW Profies.
nge_ il Dissled | e |
Microsot NDIS System Diver Stated Syotem =] 5






Figure 1.2. Control panel device list.

1.2 System settings

Several system settings can be queried or modified, they are divided in three main groups.

· Shutdown or logoff the system.

· Query information about free and used disk space

· Screen saver options

The shutdown and logoff commands allow you to logoff or shutdown, even reboot the system from within a FactoryLink application. Prior to shutting down or logging off, the currently active FactoryLink application is gracefully stopped.

Information about used and free disk space can be queried for the disks in your workstation. The results of a query are an analog value representing the amount of free or used disk space in kBytes. The information is available in a standard FactoryLink tag of type analog or long analog.

The screen saver options allow you to activate the screensaver setting for the display. The option present the setting and querying of the inactivity time for a screen saver, the value is in seconds. Also the automatic activation of the screen saver can be enabled or disabled.

1.3 Message boxes

Message boxes can be shown to inform the user about a warning or a critical action, which will take place. The text, tile, icon and buttons can be configured individually for every message box. Additionally you can specify a timeout value for the message box. Normally the user dismisses the box, he needs to press one of the button(s). With the timeout option the box is dismissed automatically after the specified time.

[image: image4.png]



Figure 1.3. Example of a messagebox.

Installation

1.4 System requirements

The FLNTsys utility will install and run on any IBM PC or PC-compatible computer equipped with:

· A processor equivalent to an Intel 80486 or later. RLD Automation recommends at least an Intel Pentium-class or compatible processor.

· A diskette station.

· At least 1.5 Mb of free hard disk space.

· Microsoft Windwos NT 4.0, with at least service pack 4 installed.

· USDATA FactoryLink ECS 6.6.0

1.5 FLNTsys installation

The main objective of the FLNTsys installation is copying two group of files from the installation media to your workstation. In the first group all the files related to the FactoryLink environmentare copied to your FactoryLink system directory (normally set by the ‘FLINK’ environment varaible), including both the runtime and configuration options. The second group consists of the files for the keyboard filter device driver, those files are placed in the Windows NT system directory.

To start the installation locate the ‘setup.exe’ file on the installation media, normally this will be a floppy. Make sure that you are logged in as a user with administrator rights, otherwise the installation will be aborted. installing a device driver requires administrator rights! 

[image: image5.png])

Setpene



Figure 2.1. Setup the application (large icon view).
After starting the setup, some questions need some answers, most important one is where your FactoryLink  system directory is located. The setup assumes that the environment variable %FLINK% is correct, but gives you the chance to change the directory. All the steps in the installation proces are presented in the figures to come.

[image: image6.png]Welcome

‘Welcame o the ALD Automation Factanink NT
System Utiiss setup progtam. This wil nstall FNTsys
Version 1.1 on you computer.

I songl recormended that yu lse ol other
= applatons yo have ruving beore cording. This
ltelspreven any confcts g he ntslatn
- pocess.

Clck Nextto continue, o1 Cancel o exit Setup.

Teiws ] Cancel





Figure 2.2. The Welcome wizard panel.

The first screen displayed is the ‘Welcome’ screen, click ‘Next >’ to continue. The next wizard panel displays the FLNTsys end-user license agreement. read this agreement carefully. If you install FLNTsys you agree to abide by the terms of the license.

If you do not agree to the license terms, click ‘No’. Setup will quit immediately. Otherwise, click ‘Yes’ to continue.

[image: image7.png]Please read the fllowing Lizense Agreemert. Use the scroll ba o press
the Page Down key 0 view the rest of the agreement.

Tile ta the icensed scftware i NOT ransfered or sod o the end user. The.
lend user is ranted a norr-exclusive license to use the software on a SINGLE
computer ar computer work station, EACH computer o1 computer workstation
musthave i o iensed copy of the software,

[Tt To The Licensed Software: j

Copyight Frtection

[This software i copprighted material I i potected by the copyight laws of

the Netherlands, and other propristaty tights of RLD Automation ou may ot
make any changes or modiications tothe program orthe menual.You may not
decompie, disasserbl, o ctherwise reverse-engineet the software nany v

Do you accept al the terms of the preceding Lizense Agreement? I you chaose
No. Setup wil close. To install ALD Automation FactarpLink NT Sysiem Utities,

you must accept tis agresment.
<Back Yes o





[image: image8.png]Directory

Select the folder you would ke Setup to install ILD.
Automation FactoryLink NT System Utiies to

[\usdala\FLEC

03 flecsB50
3 flcs70
3 floc

S d progiams E

The program requies atlsast 2.5 MB of disk space.

Clck Nextto continue, o1 Cancel o exit Setup.

<Back Next> Cancel |





Figure 2.3. The Software license agreement.
Figure 2.4. Select destination directory

Use the browse window to specify a directory for the FactoryLink system files, in case the one selected by the set-up wizard is not the one where you want to install this FactoryLink task.

[image: image9.png]Ready to Install

Setup i now reacly o begin insaling LD Automation
FactoLink NT System Utites on your computer.

Clck Instll to continue with the instalation, o cick
Back f you want ta review of change any seltings

<Back [Tl | Cancel





[image: image10.png]To complete the instaltion of RLD Auomation
FactoLink NT System Uties, Setup must restart your
computer, Would youlke o estart now?

& s, estar the computer now

€ Mo | villretat the computer lter

Erish





Figure 2.5. Ready to install the application.
Figure 2.6 Installation is completed.

You need to confirm your settings and requirements, before the actual installation proces is started. Setup requires you to restart your computer in order to complete your FLNTsys installation and to ensure that the Keyboard filter driver is recognized by your system. If you have other work you must do, select ‘No, I will restart the computer later’, then click ‘Finish”. Otherwise select ‘Yes, restart the computer now’, then click ‘Finish’ to reboot your system.

Keyboard filter start-up

The keyboard filter device driver is responsible for filtering the keystrokes, before any application gets the keys. If this device driver is not installed or running, the FLNTsys application will not be able to filter any keystroke. After installation the keyboard filter device driver has a start-up priority of manual. This means you need to start the device driver manually, see the figure below. Normally this priority can be set to system or automatic. Remember that you need administrator rights to change the start priority, and to manually start the driver. Set startup priority to ‘Automatic’ if you want the driver to start everytime the system starts-up.

[image: image11.png]| «- -ty

9 [ X & [E-

| acttess [0 Contarponel

Control Panel

Select an icon to view its
description:

Microsoft Home
Techical Support

-

3LCom
Dynamichos

@ 8 &

Date/Time.

Accesshilty  Add/Remove

%
Auad
__|
=]

DialUp
Meritar

Console

Display

[ )My Computer





[image: image12.png]Devie Staus Statp
oot Disaled (=] [___Cse
1ezzga00 Distled

Lacagast Distled at
Jzides Disled

Keyboard Clss Diver Siaied  Syem e
KSe<D Started  System e EO)
moa Disabled HW Profies.
nge_ il Dissled | e |
Microsot NDIS System Diver Stated Syotem =] 5





[image: image13.png]Device:  Keyboard Fiter

Statup Type —

€ oot

€ System Cancel
€ futomatic Hep

@ il —

€ Disabled





Figure 2.7. Start-up priority of the keyboard filter device driver.

If after installation the registry settings are not set, you can install the driver manually by running ‘regedit kbfilter.reg’, remember that you need administrator rights. The file with the registry settings can be found in your windows directory: %Systemroot%\system32\drivers.

FactoryLink task configuration

In order to activate the utility as a FactoryLink task it needs some configuration in the ‘system configuration’ table of the FactoryLink Configuration Manager.

[image: image14.png]Configuration Manager [_[CIx]

Applcation View Utiiies Exit Help

Domain
NT System util

Scaling and Deadbanding [SHARED e

External Domai

WebClient Se

Persistence oK

Print Spooler

Interval

Event Timer

Programmable Counter ISR A [= B

uted Alarm Logg  Edt View Uiies Ext Help
uted Alarm Defin

Flags Task Name Start
Trigger
Math and Logic Trigger [ FSR RUNMGR ime Manager TASKSTART_S
Math and Logic Proced | | F PERSIST Persistence TASKSTART_S
Math and Logic System | FR SCALE Linear Scaling and Deadbanding TASKSTART_S
FR TIMER Interval and Event Timer TASKSTART_S
F ML Interpreted Math and Logic TASKSTART_S
File Manager F AL_LOG Distributed Alarm Logger TASKSTART_S
Report Generator F FLNTSYS NT System s TASKSTART_S
e = F RECIPE Recipe Save and Load TASKSTART_S
F COUNTER Programmable Counter TASKSTART_S
F EDI External Device Interface TASKSTART_S
F 10XLATOR RAPD Translator TASKSTART_S
FR DB4_HIST Historian for dBASE IV (R) TASKSTART_S
F DBLOG Database Logger TASKSTART_S
F DPLOGGER Data Point Logger TASKSTART_S
F SPCDATA Power SPC Data Collection & Calculation TASKSTART_S
F CONNSRY WebClient(R) Connection Server TASKSTART_S
F POWERNET ClienyServer RTDB Network Interface TASKSTART_S
F FLFM_SERVE | File Manager Remote Server TASKSTART_S
F FLLANSND Local Area Network Send TASKSTART_S
F FLLANRCY Local Area Network Receive TASKSTART_S
F SPOOL Spooler TASKSTART_S
F RTMON Real-Time Database Monitor TASKSTART_S

Cancel Enter Exit
il





Figure 2.8. FactoryLink task definition.

The required settings for the FLNTsys task are its taskname and executable name, the last one is not visible in the figure above, but can be reached by panning through the configuration row.

the following settings apply:
Task Name 
= 
FLNTSYS





Executable File 
= 
bin/flntsys

The selection of the domain, either shared or user is free, but as it is a task which uses system resources, it should logically be only a shared task.

Registration of the software

The first time the software is started, a serial number and configuration sequence needs to be filled in, to register your copy of the software on the workstation the application is currently running on. The dialog box shown to you is given in the figure below, the serial number and registration code can be found on the installation media and at the end of this manual, see the chapter about the license agreement. Do not enter any spaces in the serial number or registration code, if you do so there will not be enough space for you to enter all the digits and the code will be rejected. The entry for the serial number must be 6 digits, and the entry for the registration code must be 16 characters.

 [image: image15.png]FactoryLink NT Sytem Utilities

ALD Automation =
FactoyLink NT Sytem Utiies
Your copy s ot regitered I

Eter your seral number and regisration code below

o prevent showing this scieen, every time the appl:
calion s stated

The seiil number and registation cods can be found
in'the documentation inluded i the shipment.

Contact RLD Automation forinformation and pricing
of alicense.

FLD Automalion E-mai
Seial umber Regisation code

-
 Begiter (5] Continus umegistered





Figure 2.9. Registration window.

If you don’t have a serial and or registration number you can continue without registration, there are no limitations what so ever. Only the registration window will pop-up anytime you start the application. The serial number and registration code are stored in the windows registry, if you ever need to remove a license, you can do so by deleting the appropiate registry settings:

HKEY_LOCAL_MACHINE\SOFTWARE\RLD Automation\FLNTSYS\Serial

HKEY_LOCAL_MACHINE\SOFTWARE\RLD Automation\FLNTSYS\Registration

[image: image16.png]Registry E
Registy Edt_View Help

[_[CIx]

Data

T3 elable Softwars Nare
=23 ALD Automation [2Bf{Defaul] |
S FLNTSYS (E)Regiaton
Qs B

{2 Seagate ot

RIS b il

vale ot se)
4461 d218d1 a3 aa
“s00301"

My Computer\HKEY_LOCAL_MACHINE\SOFTWARE\ALD Automalior\ FLNTSYS

NI





Figure 2.10. Registry entries for license.

2 Configuration tables

The configuration tables for the NT system utilities can be accessed with the FactoryLink configuration manager (FLCM). For general information about entering data in FactoryLink configuration tables refer to the FactoryLink Fun​damentals Manual. In the Configuration Manager Main Menu select ‘NT System utilities’. Three tables will appear each having its own title bar. The three panels allow entering configuration information for the three different functionality’s of the FactoryLink application: Message boxes, System settings and enabling or disabling keystrokes. For defining the keystrokes to enable or disable, a single point tag definition tab is added on the tag definition for the Application Editor. The tab for the keystrokes is shown in figure 3.2.

[image: image17.png]Bl Configuration Manager
Apicaton. Vien Uiites Ext Hep

s stem Configuration

Scaling and Deadbanding
External Domai

WebCl

Persistence

Print Spooler

Ll - NT Message Box

Edt View Uilties Ext Help

[Ty - System Settings

hoy Edt Yew Uiities Ext Help

shut i: Enable/Disable Keystrokes
Edt View Uilties Est Help

- =

Domain

[SHARED

Keystroke

Replacement
Key

ctrlaltdel DEL
altf4 F4

i PRINTSCREE
TAB
TAB
ESC
ESC
ESC
FLYWINL
FLYWINR
POPUPMENU

NONE
NONE
F12

NONE
NONE
NONE
NONE
NONE
NONE
NONE
NONE

Exit

Prev.





Figure 3.1. FactoryLink configuration manager.

[image: image18.png]Array Subscri

General| Alarms| Logging| #*Keyboard |0 Translator|
Keystroke DEL. 3
o
X Control key
% Alt key

Replacement key [NONE

oK Cancel Help





Figure 3.2. Single point tag configuration for keystrokes.
Enable/Disable keystrokes

The ‘Enable/Disable Keystrokes’ panel is used to filter keys form the keyboard. Filtering is made active with a digital tag, filtering is set active with a digital value of ON (value is ‘1’). In case of active filtering the defined keystroke is removed from the keyboard buffer, this means no application will receive this keystroke. A keystroke can be com​bi​ned with any combination of the alt, shift or control keys. For windows NT care should be taken with the com​bi​na​tion ‘Ctlr + Alt + Del’, if this key combination is disabled, the workstation should not be locked, because the same keystroke is used to unlock a workstation and allow the user to enter a username + password to unlock the system.

In fact the same applies to a screensaver, a screensaver can be used with and without a password, when using a password the screensaver ends only if the keys ‘Ctrl + Alt + Del’ can be pressed! However the application is smart enough to remove the password protection of the screensaver as longs as the ‘Ctrl + Alt + Del’ keys are disabled.

[image: image19.png]Enable/Disable Keystrokes (o]

Edt View Uiliies Est Help

Enable/Disable Keystroke Shift | Control | Alt Reptacement | 1
Tag Key Key Key Key
[ctiaiidel  EDEN NO YES YES NONE
altia Fa NO NO YES | NONE
print PRINTSCREE | NO NO NO F12
alttab TAB NO NO YES | NONE
altshifitab TAB YES NO YES | NONE
ctrlesc ESC NO YES NO NONE o
altesc ESC NO NO YES | NONE
ctrishiftesc ESC YES YES NO NONE
i FLYWINL NO NO NO NONE
FLYWINR NO NO NO NONE
POPUPMENU | NO NO NO NONE
Enter Exit Next Pev |

o





Figure 3.3. Configuration panel for keystroke filtering.

Every row in the configuration panel completely defines the filtering behaviour for a particular keystroke. All the fields are discussed in the same order as they are presented in the configuration panel.

· Enable/Disable Tag

Digital tag to enable or disabling filtering of the defined keystroke (keystroke is defined in the next field). The value of the tag defines the filtering type, value OFF (value is ‘0’) disables filtering, the keystroke is not removed form the key​board buffer. A value of ON (value is ‘1’) enables filtering of the keystroke, the keystroke is upon detection removed from the keyboard buffer.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


· Keystroke

The keystroke to remove from the keyboard buffer if the value of the digital tag in the previous field has a value of ON. A selection list is provided to select the keystroke, the keystroke to filter must be in this selection list. If you may need more keystrokes then the ones defined, please feel free to contact us, the list can easily be extended! Standard the following keystrokes are provided:

	Selection
	Keystroke name

	DEL
	Delete key

	ESC
	Escape key

	TAB
	Tab key

	FLYWINL
	Left windows key

	FLYWINR
	Right windows key

	POPUPMENU
	

	F1
	Function key 1

	F2
	Function key 2

	F3
	Function key 3

	F4
	Function key 4

	F5
	Function key 5

	F6
	Function key 6

	F7
	Function key 7

	F8
	Function key 8

	F9
	Function key 9

	F10
	Function key 10

	F11
	Function key 11

	F12
	Function key 12

	CAPS_LOCK
	Caps Lock key

	PRINTSCREEN
	Print screen button

	ENTER
	Enter key

	BACKSPACE
	Back space key

	SCROLL_LOCK
	Scroll lock key

	NUM_LOCK
	Numeric Lock key

	INSERT
	Insert key

	HOME
	Home key

	PAGE_UP
	Page up key

	DELETE
	Delete key

	END
	End key

	PAGE_DOWN
	Page down key

	UP
	Up arrow key

	LEFT
	Left arow key

	RIGHT
	Right arrow key

	DOWN
	Down arrow key


	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	DEL


· Shift key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the shift key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Shift + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


· Control key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the control key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Ctrl + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


· Alt key

The keystroke to filter can be combined with the shift, ctrl or alt key and any combination of these keys. This field defines if the alt key needs to be pressed together with the keystroke for removing the keystroke from the keyboard buffer. A value of ‘YES’ sets the combination to: Alt + Keystroke.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


· Replacement key

Instead of removing the keystroke from the keyboard buffer the key can be replaced with another key. For example the printsrceen key: this keystroke is normally handled by NT, and is not received by the FactoryLink graphics task. Replace this keystroke with ‘F12’ and the graphics task gets the ‘F12’ key any time the printscreen button is pressed. If you define a graphics ‘print screen’ action for ‘F12’ key, a print of the current screen will be generated every time the printscreen button is pressed. 

	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	NONE


	Selection
	Keystroke name

	NONE
	No replacement key active

	DEL
	Delete key

	ESC
	Escape key

	TAB
	Tab key

	FLYWINL
	Left windows key

	FLYWINR
	Right windows key

	POPUPMENU
	

	F1
	Function key 1

	F2
	Function key 2

	F3
	Function key 3

	F4
	Function key 4

	F5
	Function key 5

	F6
	Function key 6

	F7
	Function key 7

	F8
	Function key 8

	F9
	Function key 9

	F10
	Function key 10

	F11
	Function key 11

	F12
	Function key 12

	CAPS_LOCK
	Caps Lock key

	PRINTSCREEN
	Print screen button

	ENTER
	Enter key

	BACKSPACE
	Back space key

	SCROLL_LOCK
	Scroll lock key

	NUM_LOCK
	Numeric Lock key

	INSERT
	Insert key

	HOME
	Home key

	PAGE_UP
	Page up key

	DELETE
	Delete key

	END
	End key

	PAGE_DOWN
	Page down key

	UP
	Up arrow key

	LEFT
	Left arow key

	RIGHT
	Right arrow key

	DOWN
	Down arrow key


2.1.1 Single point keystroke configuration

Single point keystroke definition is added for the Aplication Editor, this means after defining a tag, keystroke information can be added. The same configuration fields as for the Configuration manager are present, they are only displayed different.

[image: image20.png]1. Enable/Disable Keystrokes [=[of>]

Edt View Uilties Est Help

Enable/Disable Keystroke Control Alt Replacement
Tag Key Key Key
Cirlaltdel DEL YES YES | NONE

=





[image: image21.png]Array Subscri

General| Alarms| Logging| #*Keyboard |0 Translator|
Keystroke DEL. 3
o
X Control key
% Alt key

Replacement key [NONE

oK Cancel Help





Figure 3.4. Single point tag configuration for keystrokes.
	Single point tag entry
	Corresponding column in the Configuration Manager

	Keystroke
	keystroke

	Shift key
	Shift key

	Control key
	Control key

	Alt key
	Alt key

	Replacement key
	Replacement key


System settings

The ‘system settings’ panel is used to change system settings or perform system actions. There are different groups of actions c.q. settings. The first group is for shutting down the system, depending on the configuration of your system the system can be shutdown, powered off or logged off. The success of every one of these actions depends on the settings for security, if a logged on user does not have the privilege to shutdown the system, executing the action will not result in shutting down the workstation. Prior to shutting down (or logging off) the complete FactoryLink application is stopped.

The second group deals with disk space, both the numbers of kBytes free disk space and used disk space can be requested. The result will be available as a numeric tag value. In the third group settings for the screen saver can be requested and set. The inactivity time before a screensaver gets active can be queried and changed. The setting if a screensaver should appear after some time of inactivity can be read and changed.

[image: image22.png]System Settings (O]

Edt View Uiliies Est Help

Action Tag Action *Parameter
shutdown SHUTDOWN | ]
checkC FREE_C freeC

checkD FREE_D freeD

checkC USED_C driveC

checkD USED_D driveD
getsaver GET_SCRNSA | saver
getsaver GET_SCRNTI | savetime
setsaver SET_SCRNSA | saver
setsaver SET_SCRNTIM | savetime
Cancel Enter Exit Next

=l





Figure 3.5. Configuration panel for system settings and actions.

Every row in the configuration panel completely defines a setting or action. All the fields are discussed in the same order as they are presented in the configuration panel.

· Action Tag

Digital tag associated with the action defined in the next field, the tag is used as a trigger tag to start the action. For a digital trigger tag this means the value and the change flag for the tag must be both ‘ON’ for executing the action. The actions are described in the next field.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


· Action

The action to perform if the trigger defined in the previous field is active. A selection list is provided to select the action, the action must be in this selection list. If you may need more or different actions then the ones defined, please feel free to contact us, on request the list can be extended. In the table below the possible actions are listed, together with a description. For some action the next field ‘*Parameter’ is essential, for the action this field is interpreted as a parameter. It can be input or an output parameter for an action. 

	Action
	Description
	Parameter

	LOGOFF
	Log the current user off, FactoryLink application is stopped prior to logging off.
	not used

	POWEROFF
	Log the current user off, shutdown and power off the workstation. The FactoryLink application is stopped prior to logging off. Note that your workstation should have powermanagement installed properly for correct functioning of this action.
	not used

	REBOOT
	Log the current user off, shutdown the workstation and reboot. The FactoryLink application is stopped prior to logging off.
	not used

	SHUTDOWN
	Log the current user off, shutdown the workstation. The FactoryLink application is stopped prior to logging off.
	not used

	
	
	

	SCREENSAVER
	Activate the current installed screen saver. Don’t move mouse of hit the keyboard after activation, otherwise the screensaver will end…

Tag triggers the activation of the screen​saver, triggering is on the change bit, any value allowed, except for a digital tag which also needs a value of 1 (ON).
	not used

	SET_SCRNSAVER
	Boolean setting for the screensaver: the parameter value determines if a screensaver after a certain time of inactivity is displayed. The value is set for the workstation.
	Digital value 0, 1 to prevent or allow a screensaver after some time of inactivity. 

	GET_SCRNSAVER
	Boolean setting for the screensaver: the parameter value determines if a screensaver after a certain time of inactivity is displayed. The value is queried from the workstation.
	Tag which has the actual setting for the screensaver activation: 0 means screensaver will never be activated, 1 means that the screensaver will get active after a certain time of inactivity.

	SET_SCRNTIME
	The inactivity time in seconds before a screensaver gets active. Note: the activation of a screensaver should be allowed!

The value is set for the workstation.
	Decimal value representing the inactivity time in seconds, ranging from 1 and up.

	GET_SCRNTIME
	The inactivity time in seconds before a screensaver gets active. Note: the activation of a screensaver should be allowed!

The value is queried from the workstation.
	Tag which has the actual value of the inactivity time in seconds after execution of the action.

	
	
	

	FREE_?
	Requests the amount of free disk space in kBytes of drive ?.
	Tag which has the actual amount of free disk space.

	USED_?
	Requests the amount of used disk space in kBytes of drive ?.
	Tag which has the actual amount of used disk space.


	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	SHUTDOWN


· *Parameter

Parameter value associated with the action defined in the previous field. The entry can be a fixed parameter (or numerical value) or a tag name. In case of a tag the application uses the tag value as the parameter value. This applies only to parameters, which are ‘inputs’, for the action, see the description of the actions in the table above. For output parameters only a tag name is useful, the application will set the tag value to the result of the action.

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG, LONG ANALOG, FLOAT


Message Box

The ‘message box’ panel is used to define a simple message box. This message box can be activated with a digital trigger; the return value is a digital or analog tag and gives information about the button used to dismiss the message box. A return value is available after the message box is dismissed, the value depends on the button pressed in the message box. Basically there are three buttons: ok, cancel and ignore. For a digital tag only the ok (or apply) button results in a value of ON. The decimal value is 1 for ok,  0 for cancel and 2 for Ignore.

[image: image23.png]



Figure 3.6. Example of a messagebox.

The message box can be displayed without the use of the graphics task, and its intended use is in the shared domain to notify the user for an action to be taken. This relieves the user for configuring the graphics task for a simple message which should only be displayed on the shared domain, and not to every (FactoryLink) user (e.g. webclient). Additional a timeout in seconds can be set, if the message box is not dismissed within the timeout, the application dismisses the message box and assumes the user has pressed the ‘cancel’ button to return an appropriate return value. If only the ok button is present in the message box, the return value will be one after dismissing the box on timeout.

[image: image24.png]Edt View Uilties Est Help

Show Messagebox | Return Value tle Text Icon

(O | “Flashing and "Messagebox INFORMATION
shutdownbox shutdown *Shutdown sys | ‘Do you really | EXCLAMATION
Cancel Enter Exit Next Prev

=l





Figure 3.7. Configuration panel for message boxes.

Every row in the configuration panel completely defines a message box. All the fields are discussed in the same order as they are presented in the configuration panel.

· Show Messagebox

Digital tag used to show the message box, in the next fields the layout and text for the message box is defined. The tag is used as a trigger tag to show the messagebox. For a digital trigger tag this means the value and the change flag for the tag must be both ‘ON’ for showing the messagebox.

	entry
	( Required

	entry type
	Tagname, tag type: DIGITAL


· Return Value

The return value is a tag, updated after dismissing the messagebox. The return value returns the button pressed to dismiss the message box. The ok button sets a value of ‘1’, the cancel button ‘0’ and the ignore button a value of ‘2’. In case of a digital tag, only the ok button sets the return value to ON, all other buttons will give the value OFF.

	entry
	Optional

	entry type
	Tagname, tag type: DIGITAL, ANALOG




· *Title

The title of a messagebox is the text displayed in the title (or caption) bar of the window. The title can be static or dynamic, dynamic means the entry in this field is a message tag, the text in the tag is used as the title text for the message box. For a static configuration the title text is configured in the panel, don’t forget to start the text with an apostrophe ‘. Only with this sign the Configuration Manager will interpret the entry as static text, otherwise the entry is assumed to be a tagname.

	entry
	Optional

	entry type
	Tagname, tag type: MESSAGE

Alphanumeric string of up to 80 characters


· *Text

The text of a messagebox is the text displayed in the window. This text can be static or dynamic, dynamic means the entry in this field is a message tag, the text in the tag is used as the text for the message box. For a static configuration the text is configured in the panel, don’t forget to start the text with an apostrophe ‘. Only with this sign the Configuration Manager will interpret the entry as static text, otherwise the entry is assumed to be a tagname.

	entry
	Optional

	entry type
	Tagname, tag type: MESSAGE

Alphanumeric string of up to 255 characters


· Icon

Together with the text an icon can be displayed in the message box. A selection list is provided to select the icon, the icon must be in this selection list. The following icons are provided:

	Selection
	Icon

	NONE
	

	EXCLAMATION

WARNING
	[image: image25.png]




	INFORMATION

ASTERISK
	[image: image26.png]




	QUESTION
	[image: image27.png]




	STOP

ERROR

HAND
	[image: image28.png]





	entry
	( Required

	entry type
	Keyword from a selection list.

	default
	NONE


· Button(s)

Every messagebox has as a minimum one button (the ok button), with a button the messagebox is dismissed, and the ‘return’ value of the box determined. A selection list is provided to select the button(s), the button setting must be in this selection list. The following button combinations are possible:

	Selection
	
	Button(s)

	OK
	1
	OK button

	ABORTRETRYIGNORE
	1

2

3
	Abort button

Retry button

Ignore button

	OKCANCEL
	1

2
	OK button

Cancel button

	ABORTRETRYIGNORE
	1

2
	Retry button

Cancel button

	YESNO
	1

2
	Yes button

No button

	YESNOCANCEL
	1

2

3
	Yes button

No button

Cancel button


	entry
	( Required

	entry type
	Keyword form a selection list 

	default
	OK


[image: image29.png]Edt View Uilties Est Help

Text Icon Button(s) Topmost
"Messagebox | INFORMATION | OK NO
'Do you really | EXCLAMATION | OKCANCEL YES
Cancel Enter Exit Next Prev

=l





Figure 3.8. Configuration panel for message boxes.

· Topmost

A messagebox can have the topmost option, it will float on top of every other window. Even if the box is not the active window it will still float on top! There is however one restriction in using topmost windows: there can be only one box displayed by one process! So if there are two topmost messageboxes defined and they are ac​ti​va​ted at the same time, they will be displayed one after another! The message box will have the topmost setting if the field entry is YES or Y.

	entry
	( Required

	entry type
	Keyword form a selection list: YES, NO, Y, N 

	default
	NO


· Timeout

A messagebox can have the timeout option, it will dismiss itself after the specified timeout interval. The timeout interval is set in seconds, if the box is dismissed with the timeout the return value will indicate that the cancel button is pressed. If the button selection only includes the ok button the return value will be 1, even if the box is dismissed on timeout. An empty field or a zero value means disabling the timeout option, the user needs to press a button in the box to dismiss the window.

	entry
	Optional

	entry type
	Decimal value, empty or 0 = disabled, no timeout 

The range is 0 .. 3600 seconds.


Error messages

If an error condition is present in the application, an appropriate message is send to the FactoryLink kernel. The message can be seen in the ‘run-time manger screens which are part of a standard application. In the standard screens the error message will appear to the right of the ‘FLNTSYS’ task. Errors are marked by a red cross, if an error occurred but the task can continue. Severe erros cause a FactoryLink task to stop, these errors are marked with an error description and the white square (same as an inactive task).

[image: image30.png]APPLICATION [=1of>]
 Sharea Task Last Message

7 rower | |rring
0] persisT
scue Vo aiescoriigrador s sk
7 ruen ronning
I
hos
s arving
recie
counrer
o
oo
sesmst | i
seios
oo
o

] connsr

L

= o = B

@ [stop sopicaton:igp1 2] mamviever B Next Fage
@ |5t0p User Name: shareusr B user Processes Returto spplication

FactoryLink Directory: s-urssr cssio
seplicstion Dirsctory: EAFLAPP





Figure 4.1. Run-time manager screen.

[image: image31.png]


 Could not attach to keyboard

The application was unable to find the keyboard filter device, keyfiltering is not possible.

Possible solutions: make sure the keyboard filter driver is installed and running, to start a device go to the control panel ( devices ( Keyboard filter, and try to start the device if it is not running. For starting a device one needs administrator rights. If the driver is not in the list (re)install the application.

[image: image32.png]


 System tag for exiting FactoryLink is not found

The application was unable to find the system tag to shutdown the FactoryLink application, shutting down FactoryLink is now impossible. Possible causes are a corrupted database (see ‘Could not access ‘%s”) or missing of the system tag, the system tags can be removed! 

Possible solutions: make sure the system tags are all present.

[image: image33.png]


 Changing system information failed

Changing the system settings for screensaver, retrieving disk space, shutting down the system failed. Most likely cause is not enough rights to change or request a system setting.

Possible solutions: increase the rights of the user, or log on as a different user with more rights.

[image: image34.png]


 Reading system information failed

Reading the system settings for screensaver, retrieving disk space, shutting down the system failed. Most likely cause is not enough rights to change or request a system setting.

Possible solutions: increase the rights of the user, or log on as a different user with more rights.

[image: image35.png]


 Could not access '%s'

The application was unable to access the specified tag (on position %s), most likely cause is a corrupted application database and/or CT-file. 

Possible solutions: The normal advised action to repair a damaged application database, try generating the CT-file by hand. One point to check is if the application is correctly installed in your FactoryLink system directory. There must be entry with FLNTsys in both the {FLINK}/ac/titles file and the {FLINK}/ctgen/ctlist file. Is either one of them is missing try to reinstall the application.

License Agreement

The use of this program is subject to the following terms and conditions.

Title To The Licensed Software

Title to the licensed software is NOT transferred or sold to the end user. The end user is granted a non-exclusive license to use the software on a SINGLE computer or computer work station. EACH computer or computer workstation must have its own licensed copy of the software.

Copyright Protection

This software is copyrighted material. It is protected by the copyright laws of the Netherlands, and other proprietary rights of RLD Automation. You may not make any changes or modifications to the program or the manual. You may not decompile, disassemble, or otherwise reverse-engineer the software in any way.

Limited Warranty

RLD Automation does not warrant that the licensed software will meet your requirements or that the opera​tion of the software will be uninterrupted or error free.  The warranty does not cover any media or do​cu​mentation which has been subjected to damage or abuse by you or others. The software warranty does not cover any copy  of the licensed software which has been altered or changed in any way. In other words there is no warranty either implied or expressed.

ANY IMPLIED WARRANTIES INCLUDING ANY WARRANTIES OF MERCHANTABILITY OR FITNESS OR A PARTICULAR PURPOSE ARE LIMITED TO THE TERM OF THE EXPRESS WARRANTIES. Some states do not allow limitations on how long an implied warranty lasts, so the above limitation may not apply to you.

Other Warranties

The warranties set forth above are in lieu of any and all other express or implied warranties, whether oral, written, or implied, and the remedies set forth above are the sole and exclusive remedies.

Limitation Of Liability

RLD Automation is not responsible nor liable in anyway for any problems or damage caused by the licensed software that may result from using the licensed software. This includes, but is not limited to, computer hardware, computer software, operating systems, and any computer or computing accessories. End user agrees to hold RLD Automation harmless for any problems arising from the use of the software.

 RLD Automation SHALL NOT IN ANY CASE BE LIABLE FOR ANY SPECIAL,  INCIDENTAL, CON​SE​QUENTIAL, INDIRECT OR OTHER SIMILAR DAMAGES  ARISING FROM ANY BREACH OF THESE WARRANTIES EVEN IF RLD Automation OR ITS AGENTS OR DISTRIBUTORS HAVE BEEN ADVISED OF THE POSSIBILITY OF SUCH DAMAGES. Some states do not allow the exclusion or limitation of incidental or consequential damages, so the above limitation or exclusion may not apply to you.

 In no case shall RLD Automation’s liability exceed the license fees paid for the right to use the li​cen​sed software.

The above constitutes the license agreement for this program. It supersedes any and all previous license a​gree​ments.

LICENSE

	SERIAL
	S00A02

	
	

	REGISTRATION
	36 5B B0 E0 F5 7B 45 B3

	
	


( RLD Automation

Page 2

