DeltaLink XYCHART

�



























DeltaLink XYCHART

XY-Chart software for FactoryLink



User Manual



�	Table of Contents



� TOC \o "1-3" �
1. Introduction	
�
 
GOTOBUTTON 
_Toc411140613 
 
�
 
PAGEREF 
_Toc411140613
 
�
4
�
�


1.1. Scope of this document	
�
 
GOTOBUTTON 
_Toc411140614 
 
�
 
PAGEREF 
_Toc411140614
 
�
4
�
�


2. Contents of shipment	
�
 
GOTOBUTTON 
_Toc411140615 
 
�
 
PAGEREF 
_Toc411140615
 
�
6
�
�


3. Installation	
�
 
GOTOBUTTON 
_Toc411140616 
 
�
 
PAGEREF 
_Toc411140616
 
�
8
�
�


3.1. Installation of the FactoryLink software	
�
 
GOTOBUTTON 
_Toc411140617 
 
�
 
PAGEREF 
_Toc411140617
 
�
8
�
�


3.2. Installation of the protection	
�
 
GOTOBUTTON 
_Toc411140618 
 
�
 
PAGEREF 
_Toc411140618
 
�
10
�
�


3.2.1. The DeltaLink option file	
�
 
GOTOBUTTON 
_Toc411140619 
 
�
 
PAGEREF 
_Toc411140619
 
�
10
�
�


3.2.2. Demo installation	
�
 
GOTOBUTTON 
_Toc411140620 
 
�
 
PAGEREF 
_Toc411140620
 
�
10
�
�


4. Principle	
�
 
GOTOBUTTON 
_Toc411140621 
 
�
 
PAGEREF 
_Toc411140621
 
�
12
�
�


4.1. Operation principle	
�
 
GOTOBUTTON 
_Toc411140622 
 
�
 
PAGEREF 
_Toc411140622
 
�
12
�
�


4.2. Chart basic parts	
�
 
GOTOBUTTON 
_Toc411140623 
 
�
 
PAGEREF 
_Toc411140623
 
�
13
�
�


4.2.1. Chart	
�
 
GOTOBUTTON 
_Toc411140624 
 
�
 
PAGEREF 
_Toc411140624
 
�
13
�
�


4.2.2. XY-plot	
�
 
GOTOBUTTON 
_Toc411140625 
 
�
 
PAGEREF 
_Toc411140625
 
�
13
�
�


4.2.3. Color definition	
�
 
GOTOBUTTON 
_Toc411140626 
 
�
 
PAGEREF 
_Toc411140626
 
�
13
�
�


4.3. FactoryLink domain selection	
�
 
GOTOBUTTON 
_Toc411140627 
 
�
 
PAGEREF 
_Toc411140627
 
�
14
�
�


5. Configuration tables	
�
 
GOTOBUTTON 
_Toc411140628 
 
�
 
PAGEREF 
_Toc411140628
 
�
16
�
�


5.1. Application Editor	
�
 
GOTOBUTTON 
_Toc411140629 
 
�
 
PAGEREF 
_Toc411140629
 
�
16
�
�


5.1.1. Chart animation	
�
 
GOTOBUTTON 
_Toc411140630 
 
�
 
PAGEREF 
_Toc411140630
 
�
16
�
�


5.1.2. Chart object ID	
�
 
GOTOBUTTON 
_Toc411140631 
 
�
 
PAGEREF 
_Toc411140631
 
�
20
�
�


5.2. XY-Chart configuration	
�
 
GOTOBUTTON 
_Toc411140632 
 
�
 
PAGEREF 
_Toc411140632
 
�
21
�
�


5.2.1. Mailbox	
�
 
GOTOBUTTON 
_Toc411140633 
 
�
 
PAGEREF 
_Toc411140633
 
�
23
�
�


5.2.2. XY-Chart definition	
�
 
GOTOBUTTON 
_Toc411140634 
 
�
 
PAGEREF 
_Toc411140634
 
�
24
�
�


5.2.3. XY-Plot definition	
�
 
GOTOBUTTON 
_Toc411140635 
 
�
 
PAGEREF 
_Toc411140635
 
�
27
�
�


5.2.4. Color definition	
�
 
GOTOBUTTON 
_Toc411140636 
 
�
 
PAGEREF 
_Toc411140636
 
�
35
�
�


Appendix A. The delta.opt file	
�
 
GOTOBUTTON 
_Toc411140637 
 
�
 
PAGEREF 
_Toc411140637
 
�
38
�
�


Appendix B. Command line parameters	
�
 
GOTOBUTTON 
_Toc411140638 
 
�
 
PAGEREF 
_Toc411140638
 
�
40
�
�


Appendix C. Error codes	
�
 
GOTOBUTTON 
_Toc411140639 
 
�
 
PAGEREF 
_Toc411140639
 
�
42
�
�


Appendix D. Messages	
�
 
GOTOBUTTON 
_Toc411140640 
 
�
 
PAGEREF 
_Toc411140640
 
�
44
�
�



�

�



This page is left blank intentionally.

��AUTONUMLGL�	Introduction



Thank you for buying this software! We hope you will enjoy using this product.



�AUTONUMLGL�	Scope of this document



This manual is written for a technician who is familiar with the FactoryLink® IV software. This document can be used both as a training manual as well as a reference manual.



Note: Please check the contents of the shipment with the list as described in the next chapter.



The first section of this manual deals with the installation of software in your FactoryLink work�station. This part is split into a platform independent and a platform specific part. Please read carefully through both parts to make sure the software is installed correctly.



The second part explains the operation principles of the XY-chart facilities in combination with the standard Graphics task. Here all terms and definitions are explained to the reader. It ex�plains terms like "XY-Plot" and "Defining/undefining points". This part should be read to make sure that the optimum functionality can be achieved.



The third Part explains the exact tables associated with this task. This part can be used as a reference and is also an example of how to use this task with the Graphics task. It shows the entries made for the pre-configu�red demo which comes with this package. The demo pro�gram can be used to get an idea of the functionality of the task without making a complete ap�pli�ca�tion.





The last part are the Appendices which contain summarized data.









































®Copyright1994 by DeltaLink bv, The Netherlands. All rights reserved.



DeltaLink is a registered trademark, The Netherlands.

FactoryLink is a registered trademark of United States Data Corporation, Richardson Texas USA.



DeltaLink bv, Pioenroosstraat 26, 5241AB Rosmalen, The Netherlands, 



tel + 31 73 523 1234

fax +31 73 523 1222

�



This page is left blank intentionally.

��AUTONUMLGL�	Contents of shipment	



Please check the package you received with the checklist below. Should there be an item mis�sing contact DeltaLink bv to correct the problem. There is a limit of 90 days after shipment to report problems!



This package includes the following:



�SYMBOL 140 \f "Wingdings"�	1 media labelled "DeltaLink XY-Chart"

	Files:	

\AC\XYCHART.AC

		\BIN\XYCHART.EXE

		\CTGEN\XYCHART.CTG

	\DOC\XYCHART.PDF

		\HELP\DE\XYCHART.HLP

		\HELP\EN\XYCHART.HLP

		\HELP\FR\XYCHART.HLP

		\KEY\DE\TYPEA.KEY

		\KEY\DE\TYPEALF.KEY

		\KEY\DE\TYPED.KEY

		\KEY\DE\TYPEDALF.KEY

		\KEY\DE\TYPEMBX.KEY

		\KEY\DE\XYCOLOR.KEY

		\KEY\DE\XYINTP.KEY

		\KEY\DE\XYMARKER.KEY

		\KEY\DE\XYMODE.KEY

		\KEY\DE\XYSAVE.KEY

		\KEY\DE\XYSTYLE.KEY

		\KEY\DE\XYYESNO.KEY

		\KEY\EN\TYPEA.KEY

		\KEY\EN\TYPEALF.KEY

		\KEY\EN\TYPED.KEY

		\KEY\EN\TYPEDALF.KEY

		\KEY\EN\TYPEMBX.KEY

		\KEY\EN\XYINTP.KEY

		\KEY\EN\XYMARKER.KEY

		\KEY\EN\XYMODE.KEY

		\KEY\EN\XYSAVE.KEY

		\KEY\EN\XYSTYLE.KEY

		\KEY\EN\XYYESNO.KEY

		\KEY\FR\TYPEA.KEY

		\KEY\FR\TYPEALF.KEY

		\KEYFR\TYPED.KEY

		\KEY\FR\TYPEDALF.KEY

		\KEY\FR\TYPEMBX.KEY

		\KEY\FR\XYINTP.KEY

		\KEY\FR\XYMARKER.KEY

		\KEY\FR\XYMODE.KEY

		\KEY\FR\XYSAVE.KEY

		\KEY\FR\XYSTYLE.KEY

		\KEY\FR\XYYESNO.KEY

		\MPS\EN\XYCHART.MPS

		\MSG\DE\XYCHT_AC.TXT

		\MSG\DE\XYCHART.TXT

		\MSG\EN\XYCHT_AC.TXT

		\MSG\EN\XYCHART.TXT

		\MSG\FR\XYCHT_AC.TXT

		\MSG\FR\XYCHART.TXT

		\OPT\DELTA.OPT

		\INSTALL.BAT

		\INST_SEQ.EXE

		\FLBUILD.ID

		\FLXMEDIA

		\UPDATE.EXE

		\INSTALL.$$$

		

�SYMBOL 141 \f "Wingdings"�	1 DeltaLink demo application.

	File: \MPS\EN\XYCHART.MPS (see above).



�SYMBOL 142 \f "Wingdings"�	1 DeltaLink authorization sequence for a XYCHARToption.



�SYMBOL 143 \f "Wingdings"�	This manual (Which seems to be present).





You should also have:



�SYMBOL 254 \f "Wingdings"�	The graphics task  for FactoryLink®.





Multi Language support:



(	The XY-Chart task is prepared  to support the languages: German, Englisch and French. However just the english language is used for the german and french language selection.

��AUTONUMLGL�	Installation



�AUTONUMLGL�	Installation of the FactoryLink software



To install the FactoryLink task and its related tables please follow the following steps.



Before installing



Before installing the driver on the system, FactoryLink must have been installed error free. It is very important that all the environment settings are made for the FactoryLink system such as the FLINK, FLOPT etc.



First:



Copy the files from the "DeltaLink XY-Chart" media to the appropriate directory. This will be done automatically by running the install utility placed on the installation media. The installation procedure differs for UNIX and W95-OS/2-NTI systems.



For W95-OS/2-NTI systems follow the next procedure:



a:\�SYMBOL 195 \f "Wingdings"�

install�SYMBOL 195 \f "Wingdings"�



For UNIX systems first an install directory must be created. The files on the install floppy must be first copied to the install directory using the tar command. From this directory the install utility can be run. 



For UNIX systems follow the next procedure:



mkdir install

cd install

tar xv�symbol 195 \f "Wingdings"��

install�symbol 195 \f "Wingdings"��



Second:



After you installed the software you need to activate the tables in the FactoryLink Con�fi�gu�ra�tion Manager (FLCM). The installation automatically appends the xychart.ac entry into the {FLINK}/ac/titles file
�
. The place of this entry is also the place where the option appears in the FLCM Main Menu. Therefore check the validity of the entry and move it to the place where you want to appear it in the Configuration Manager. The entry must match the xychart.ac entry in the following table.



file: {FLINK}/ac/titles:



...

sys.ac

persist.ac

scale.ac

gedant.ac

windhdr.ac

xychart.ac

spool.ac

itimer.ac

...





Third:



To make sure all the Configuration Tables (CT's) are generated after a change, the install utility automatically adds the xychart entry at the end of the {FLINK}/ctgen/ctlist file. The place of this entry is not important. Check if this entry has the same format as in the next table.



file: {FLINK}/ctgen/ctlist:



...

timer: itimer etimer

recipe: rcphdr rcpovr

xychart: xymbx nchart xydisp xydef xyclr

iml: imltags imltrig

spool: spool

...



Fourth:



To enable the help functionality for the XY-chart tables in the Configuration Manager, the installation utility reindexes the ‘help-index’ for the Configuration Manager. If desired reindexing of the ‘help-index’ can be started from the command line prompt.



mkhelp�SYMBOL 195 \f "Wingdings"�



Fifth:



The XYCHART task must, with the FactoryLink Configuration Manager (FLCM),  be entered in the System Configuration table. An entry of an existing task which will not be used at run-time can be overwritten or a new entry can be created with (as a minimum) the following data:



Task Name   Description   ....   				Executable File



XYCHART	DeltaLink XY-Chart				bin/xychart



The Task Name and name of the executable file are fixed and should not be altered by the user.





This completes the installation of the FactoryLink (software) parts.

��AUTONUMLGL�	Installation of the protection



The XY-Chart task is protected via the DeltaLink option file. This file contains authorization sequence codes for DeltaLink modules. The protection is linked to the serial number of the FactoryLink package.





�AUTONUMLGL�	The DeltaLink option file



The installation disk of the XY-chart task contains an option file, named ‘delta.opt’, in the 'opt' direc�to�ry. This file contains the unique autho�ri�za�tion sequence which enables the XY-chart task to run. The install utility automatically copies the authorization sequence into the {FLOPT}/delta.opt file. It is also possible to enter the authorization sequence manually into the {FLOPT}/delta.opt file. For more information on the delta.opt file refer to Appendix A. 



Note that the task will only run on the FactoryLink system with the same serial number. The delta.opt file on the installation diskette contains, for reference, the serial number of FactoryLink.





�AUTONUMLGL�	Demo installation



It is possible to install the XY-Chart task without an authorization code. This will be done from a normal installation diskette. In this case the task will start up but only runs in so called 'demo' mode. This means that the XY-Chart task runs on limited resources and runs only for a period of time (one hour). After this period has expired the task will shutdown and can not be restarted before the complete FactoryLink system has been restarted. 



After  installation of this demo version an authorization code can be ordered and installed which enables the task to run with full functionality. The authorization code must be entered manually in the {FLOPT}/delta.opt file. For more information on entering the authorization code in the delta.opt file refer to Appendix A. 



The limitations of a demo version of the XY-chart task are:



- one hour of consecutive run-time

- not restartable (FactoryLink must be restarted)



�



This page is left blank intentionally.

��AUTONUMLGL�	Principle



�AUTONUMLGL�	Operation principle



The DeltaLink XY-chart task works in conjunction with the FactoryLink Dynamic Color Gra�phics task to graphically simulate the function of a X versus Y diagram. A XY-chart will be shown to the user by the Graphics task and will therefore be fully integrated in the FactoryLink System. The control of the chart is handled by the XY-chart task. The exchange of in�for��mation between the two mentioned task is based on mailbox communication. Two mailboxes are used for communication between the two tasks, the user needs only to configure one mailbox, the ‘XY-Chart Mailbox’. The other mailbox, ‘Graphics Mailbox’, is an already predefined database element.



� EMBED Visio.Drawing.4  ���



Figure 4.1.1 The Graphics/XY-Chart Principle.



The XY-chart task supports x-y diagrams situated in all of the four quadrants. This means that the values for X and Y axis are not limited to a certain value. Basically one type of diagrams can be created: x-y relationships (mathematical functions). A special case of this type of diagram which can be realised is the scatter diagram. The special requirements for this type of chart will be explained in the next chapter. As it appears to the user a scatter diagram is a XY-chart for which only the points are visible, there will be no lines between successive points.



A XY-chart consists basically of three parts: the chart itself, the XY-plot and the color definition. Figure 4.1.2 shows a visualisation of the three parts.



� EMBED Word.Picture.6  ���



Figure 4.1.2 Basic parts of the XY-chart.

�AUTONUMLGL�	Chart basic parts



�AUTONUMLGL�	Chart



The ‘chart’ is the first basic part and determines the size of the XY-chart as it is presented to the user. Except the size the following properties are set for the XY-chart: background color, resolution in the X-direction, orientation and controls of the diagram. The chart controls allow the user to perform several actions during runtime. The pan and zoom rate for the X- / Y-direction can dynamically be altered. More or less XY-points can be shown and/or the origin of the X- / Y-axis can be shifted. It is also possible to "freeze" a chart, allowing to change the XY-plot appearance(s) without seeing the changes immediately on the screen.

On a chart one or more XY-plots can be presented. With the chart definition the resolution for every XY-plot is set. The resolution determines how many XY-points as a maximum can be presented on a chart, a resolution of 100 means that there can be 100 (or less) points visible (for every XY-plot) on a chart. Another term directly related to the resolution is the relative X-position. The relative X-position corresponds with the point number (in the X-direction), and will always be greater or equal to zero and less or equal to the resolution. The engineering units of the X-axis can be defined for every XY-plot individually, and are not limited in value due to the principle of relative points. The resolution for the Y-axis is indefinite, but is in practice limited by the screen resolution of your monitor.





�AUTONUMLGL�	XY-plot



The next part is the XY-plot definition, here the relationship between the X- and Y-axis is defined. The appearance of the plot is defined by the color schema, the settings of the line and marker style, the interpolation mode and the engineering units for the X- and Y-axis. Every XY-point can individually be changed, and one or more XY-plots may be presented on one chart.

For a XY-plot there are two special options, the first option is retrieving XY-points from a plot, by placing the value(s) on tag(s). This can for example be used to store XY-points to disk (Database Logger) or to generate a printed report (Report Generator). 

The second special option is the one to save a XY-plot to disk, this is an easy to use option for saving/restoring complete XY-plots. The used file format corresponds with that of the Batch Recipe task. Both the XY-Chart and Batch Recipe task are able to read and write this type of files.





�AUTONUMLGL�	Color definition



The last part is the color definition for a XY-plot. The color definition is unique for every XY-plot. All XY-points of a XY-plot may have the same color, or the color can depend on the Y-value of a point. The limit for a color change can be static or dynamic, dynamically the limit for a color change is set by a tag value. The same applies for the color, if needed the color can dynamically be set by a tag value.



��AUTONUMLGL�	FactoryLink domain selection



The standard domain for the XY-Chart task is the USER domain. The XY-Chart task com�mu�ni�ca�tes with the Graphics task which is normally located in the USER domain. Important: The XY-Chart and the Graphics task  must be in the same domain (either SHARED or USED). The XY-Chart task should be started/stopped by the RunTime-Manager, as any other FactoryLink task.



� EMBED Visio.Drawing.4  ���

 

Figure 4.3.1 Standard domain selection.



�



This page is left blank intentionally.

��AUTONUMLGL�	Configuration tables



The configuration of a XY-chart consists of two steps. First defining a chart with the Application Editor, second setting up a plot for the chart with the configuration tables of the XY-Chart task. 






�AUTONUMLGL�	Application Editor





In the Configuration Manager Main Menu, select Application Editor. The background of a XY-chart should be drawn with the Application Editor. The drawn object must be animated as a 'chart'. The 'chart' animation enables a set of generic controls for every XY-plot on a chart. The meaning of the input fields for the 'chart' animation, if it is used in combination with XY-Chart task,  are des�cribed below.






Note
:
 
For general information about entering data in FactoryLink configuration tables, refer to the FactoryLink Fundamentals Manual.




Note:
 
For information about accessing the Application Editor refer to the Factory�Link Application Editor Manual.





�AUTONUMLGL�	Chart animation





�




Figure 5.1.1 FactoryLink chart animation.



The  'chart' animation allows the user to define the maximum resolution in the X-directon, the background, a grid and the controls for a XY-chart. There is no need to define a pen for the chart, any defined pen here will be ignored by the XY-Chart task ! The line settings are defined in the configuration tables of the XY-Chart task, with the Configuration Manager, see the next section.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Data Source or Scroll Trigger Tag

Tag name of the XY-Chart task mailbox element that the developer defines, to be refe�ren�ced by the Graphics task. The XY-Chart task uses this mailbox to receive requests from the Graphics task. For all XY-Chart animation’s the same mailbox tag must be used. The tag name entered here must also correspond with the name of the mailbox tag entered in the panel DeltaLink XY-Chart Mailbox.



entry: 		Required.

entry type: 	Standard FactoryLink tag name.

valid entry: 	MAILBOX.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Direction

Direction of the X-axis of a chart on the screen. To select a direction, position the cursor on the arrow that represents the direction and press mouse button.



entry: 		Required.

entry type: 	Selection field.

valid entry: 	Up, Down, Right, Left.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Initial Chart Duration

Length of the X-axis in points. The value entered is the maximum number of points  available in the X-direction of the chart (resolution). Use only the Points style, another style will normally not result in a visualization of the chart.



entry: 		Required.

entry type: 	Decimal number.

valid entry: 	Positive integer 0 .. 3600.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Chart Scroll Frequency

Entry is disabled if the Points style is selected for the field Initial Chart Duration.



entry: 		Disabled.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Starting Time

Entry is currently not used for a XY-chart.



entry: 		Not used.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Ending Time

Entry is currently not used for a XY-chart.



entry: 		Not used.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Starting Sequence

Tag name of an element that has the value of the first X-position visible in the chart. The value is updated in case the pan and/or zoom rate is changed. The actual value can be controlled with entries, in the panel DeltaLink XY-Chart Displays, for the X-legend.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Ending Sequence

Tag name of an element that has the value of the last X-position visible in the chart. The value is updated in case the pan and/or zoom rate is changed. The actual value can be controlled with entries, in the panel DeltaLink XY-Chart Displays, for the X-legend.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.



�
	�SYMBOL 168 \f "Symbol" \s 10 \h�	Group ID

Entry is currently not used for a XY-chart.



entry: 		Not used.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Zoom

Tag name of an element whose value changes the span of the X-axis on a chart. Note that the zoom value in the X-direction is common to all the plots on a chart. The value of the tag represents a span expressed as a percentage of the range in the X-direction. The formula used for calculating the span is:

		X-zoom = Initial Chart Duration * (Zoom tag value / 100)

For example: The zoom tag value is 25, which means a zoom factor of 25 %. The Initial Chart Duration is 200 points. For this XY-chart the number of points displayed will be: 

Initial Chart Duration * 0.25, being 50. 

The zoom factor ranges from 0% until 100%, the effective pan factor depends on the currently set X-zoom factor. If for example the X-zoom factor is 90%, the maximum effective X-pan fac�tor will be 10%. The sum of the X-zoom and X-pan factor will always be less or equal to 100%.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Pan

Tag name of an element whose value changes the offset in the X-direction. Note that the pan value in the X-direction is common to all the plots on a chart. The value of the tag represents an offset expressed as a percentage of the range in the X-direction. The formula used for calculating the offset is:

		X-offset = Initial Chart Duration * (Pan tag value / 100)

For example: The pan tag value is 25, which means a pan factor of 25 %. The Initial Chart Duration is 200 points. For this XY-chart the minimum X-point number displayed in the chart will be: Initial Chart Duration * 0.25, being 50.

The pan factor ranges from 0% until 100%, the effective pan factor depends on the currently set X-zoom factor. If for example the X-zoom factor is 90%, the maximum effective X-pan fac�tor will be 10%. The sum of the X-zoom and X-pan factor will always be less or equal to 100%.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Mode

Tag name of an element whose value toggles or triggers the drawing mode of a chart from in�ac�ti�ve to active or vice versa. If no tag is specified the drawing mode will always be active. An active drawing mode means that a XY-chart is redrawn immediately after a change of  X-pan,  X-zoom factor or a XY-plot. Changes for a XY-plot which will cause a redraw are: style, marker, interpolation, visibility, defining or undefining points. A description of these properties is given in the next chapter. The value of the digital tag entered in this field can be interpreted in two ways, a toggle or a trigger. The functionality of the tag is defined with the field Drawing Mode in the XY-chart Displays panel. For a normal drawing mode the digital tag is a toggle, if the value of the tag is equal to zero, nothing will be drawn in the chart. This gives the possibility to update/change the XY plot(s) for a chart without seeing the changes immediately. For tag value not equal to zero, or if the entry is left blank, the chart is redrawn after any of the above mentioned changes. In case of mode drawing the mode tag is interpreted as a trigger, only forcing the tag value to a value not equal to zero, will result in a redraw of the chart.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL, ANALOG.

	�SYMBOL 168 \f "Symbol" \s 10 \h�	Cursor Pos

Tag name of a real-time database element whose value specifies the location of the  cursor on the chart. A value cursor is a line orthogonal on the X-direction that moves in the X-direction. The cursor position can be set by writing a value to the tag or by positioning the mouse cursor on a valid X-position and pressing a mouse button. The position for the cursor is relative to every XY-plot, so the first point visible is always zero, the next point visible is always one etc.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Chart Color

Tag name of the real-time database element containing the value of the chart's back�ground color.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Grid On/Off

Tag name of the real-time database element that controls the absence or presence of a grid on the chart. If the value of the element is 1 (ON), a grid is placed on the chart. If the value of the element is 0 (OFF), no grid is placed on the chart.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Grid Color

Indicator of the color of the grid if an element is specified in Grid On/Off and the value of that element is 1 (ON), or if a unit for the grid is defined.



entry: 		Optional.

entry type: 	Selection field.

valid entry: 	Standard FactoryLink color.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	# of X

Number of units between each grid line on the horizontal (X) axis.



entry: 		Optional.

entry type: 	Decimal number.

valid entry: 	0 .. 65535.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	# of Y

Number of units between each grid line on the vertical (Y) axis.



entry: 		Optional.

entry type: 	Decimal number.

valid entry: 	0 .. 65535.










�
�AUTONUMLGL�
	Chart o
bject ID






Every object o
n
 a drawing has an 
o
b
ject name and an object ID. 
Objects are referred to by their
 I
d
s, except in PowerVB code. The object name ca
n
 be changed by the user
, the object ID is assigned by the FactoryLink system (on creation of an object) and can n
ot be altered by the user. Whenever referencing to a
 graphical 
object
, the X
Y
-
c
hart 
task 
needs the ID of an object.






�
�
�
�
�
�
�




Figure 5.1.
2
 Chart object 
name and 
ID
.





The 
popup dialog for changing the name of 
a
n 
object
, shows both the object name and the object ID. See the figure above.





�
�AUTONUMLGL�	XY-Chart configuration






In the Configuration Manager Main Menu, select XY-Chart. Four tables appear, with the titles of all panels visible for direct access. To access a specific panel position the cursor on a visible area and press the left mouse-button, or use the Next/Prev but�tons.



Note: For general information about entering data in FactoryLink configuration tables, refer to Chapter 2 of the FactoryLink Fundamentals Manual.







�



���



����



��



Figure 5.2.1 XY-Chart configuration tables.







�
�







�




Figure 5.2.2 XY-Chart relation between graphics and table configuration.






�
�AUTONUMLGL�	Mailbox





From the display of all the panels, select the XY-Chart Mailbox panel.



�



Figure 5.2.3 XY-Chart Mailbox panel.



The  DeltaLink XY-Chart Mailbox panel allows the user to initialize one Mailbox Tag for the XY-Chart task. Only one Mailbox is needed for full performance of the task-combination Graphics/XY-Chart. Specify the fol��lowing information.




	�SYMBOL 168 \f "Symbol" \s 10 \h�	Mailbox

Tag name of the XY-Chart mailbox element that the developer defines, to be referenced by the Graphics task. The Graphics task uses this mailbox to send requests to the XY-Chart task. The name of the mailbox should match with the tag entered in the 'chart' animation(s) defined with the Application Editor.



entry: 		Required.

entry type: 	Standard FactoryLink tag name.

valid entry: 	MAILBOX.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Description Mailbox

Tag description of the XY-Chart mailbox element. 



entry: 		Display only.



�
�AUTONUMLGL�	XY-Chart definition




From the display of all the panels, select the XY-Chart Displays panel.




�




Figure 5.2.4 XY-Chart Displays.



The XY-Chart Displays panel allows the user to specify the (graphic) display/object names on which XY-plot(s) are active. This table also includes entries for global chart func�tions.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Chart Name

Logical name of a chart assigned by the user to represent a particular XY-chart. The entry is a selection field for the plot definitions on a XY-chart.



entry: 		Required.

entry type: 	Alphanumeric string.

valid type: 	String of up to 16 characters.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Display Name

Name of the display (drawing) on which the XY-chart is present. The drawing is created with the Application Editor. The entry should match with a filename of a drawing.



entry: 		Required.

entry type: 	Alphanumeric string.

valid type: 	String of up to 16 characters.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Chart Object

Object 
ID
 of the chart created with the Application Editor.  The entry should match with the object 
ID
 as it is defined on a drawing.



entry: 		Required.

entry type: 	Alphanumeric string.

valid type: 	String of up to 16 characters.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Drawing Mode

This entry is used to specify how the mode tag (defined on the chart animation with the ‘Application Editor’) is interpreted. See also the discussion in the previous chapter. Standard a mode tag is interpreted as a toggle (NORMAL), the XY-chart is redrawn after the user changed an Y-value, forced the 'set point' trigger, changed a zoom or pan factor and the tag value is ON (1). If needed the redrawing can only star�t on demand by forcing the mode tag to 
ON (MODE).




entry, default:	Required, NORMAL

type of entry: 	Alphanumeric string.

valid entry: 	NORMAL, MODE.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Clear Chart

Tag name of the real-time database element that controls the clearing of the chart. If the value of the element is forced to 1 (ON), the chart is cleared.

entry:		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.




�



Figure 5.2.5 XY-Chart Displays.




	�SYMBOL 168 \f "Symbol" \s 10 \h�	Pan Y-dir.

Tag name of an element whose value changes the offset in the Y-direction. Note that the pan value in the Y-direction is common to all the plots on a chart. The value of the tag represents an offset expressed as a percentage of the range in the Y-direction. The panning for every XY-plot is calculated from the tag value, and the individual Y-min. and Y-max. values (as they are specified for a XY-plot). The formula used for calculating the offset is:

		Y-offset = Y-min + (Y-max - Y-min) * (Pan tag value / 100)

For example: The pan tag value is 25, which means a pan factor of 25 %. The Y-min. value is -10, The Y-max value is 110. For this particular XY-plot the the minimum Y-value displayed in the chart will be: Y-min + (Y-max - Y-min) * 0.25, being 20.

The pan factor ranges from 0% until 100%, the effective pan factor depends on the currently set Y-zoom factor. If for example the Y-zoom factor is 90%, the maximum effective Y-pan fac�tor will be 10%. The sum of the Y-zoom and Y-pan factor will always be less or equal to 100%.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Zoom Y-dir.

Tag name of an element whose value changes the span of the Y-axis on a chart. Note that the zoom value in the Y-direction is common to all the plots on a chart. The value of the tag represents a span expressed as a percentage of the range in the Y-direction. The zooming for every XY-plot is calculated from the tag value, and the individual Y-min. and Y-max. values (as they are specified for a XY-plot). The formula used for calculating the span is:

		Y-zoom = Y-offset + (Y-max - Y-min) * (Zoom tag value / 100)

For example: The pan tag value is 25, which means a pan factor of 25 %. The Y-min. value is -10, The Y-max value is 110. For this particular XY-plot the minimum Y-value displayed in the chart will be: Y-min + (Y-max - Y-min) * 0.25, being 20. 

For a zoom tag value of 50, which means a span of 50 %, the span will be: Y-span = 60 = (Y-max - Y-min) * 0.5. So the maximum displayed Y-value is Y-zoom = Y-offset + Y-span = 80.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONGANA.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	*X-Legend Minimum

Minimum value for a X-legend of a XY-chart. This value entered here specifies the absolute minimum value of the X-legend, and will be written to the Starting Sequence tag (if specified in the chart animation). Activating panning in the X-direction causes a re�cal�culation of the actual X-legend minimum, the result will be written to the  Starting Sequence tag. The value represents the minimum X-legend value if panning in the X-direction is in�active. The entry can be a numerical value as well as a tag, which allows setting the minimum for the X-legend dy�na�mical�ly.



entry: 		Optional.

entry type: 	Numeric value, Standard FactoryLink tag name.

valid entry: 	Numeric: any value.

			Tag: ANALOG, FLOAT, LONGANA.



� EMBED Word.Picture.6  ���



Figure 5.2.6 X-Legend Minimum and Maximum.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	*X-Legend Maximum

Maximum value for a X-legend of the XY-chart. This value entered here specifies the absolute maximum value of the X-legend, and will be written to the Ending Sequence tag (if specified in the chart animation). Activating panning or zooming in the X-direction causes a re�cal�culation of the actual X-legend minimum, the result will be written to the  Ending Sequence tag. The value represents the maximum X-legend value if panning and/or zoom�ing in the X-direction are inactive. The can be a numerical value as well as a tag, which allows dynamically setting the minimum for the X-legend.



entry: 		Optional.

entry type: 	Numeric value, Standard FactoryLink tag name.

valid entry: 	Numeric: any value.

			Tag: ANALOG, FLOAT, LONGANA.



�




Figure 5.2.7 XY-Chart Displays.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Status

Tag name of the real-time database element that represents the status after every draw, define/undefine, retrieve or file command. A value not equal to zero indicates an error (see Appendix B).



entry:		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Completion

Tag name of the real-time database element that is forced to 1 (ON) after every redraw and clearing of the XY-chart.



entry:		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.

�
�AUTONUMLGL�	XY-Plot definition




From the display of all the panels, select the XY-Plot Definition panel.



�



Figure 5.2.8 XY-Plot Definition.





The XY-Plot Definition panel allows the user to specify one or more XY-plot(s) for a chart.  The relationship between X and Y is defined, including control options.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	XY-Plot

Logical name for a XY-plot. The entry is a selection field for the color definitions of XY-points on this XY-plot.



entry: 		Required.

entry type: 	Alphanumeric string.

valid entry: 	String of up to 16 characters.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	*Line Style

Line style of the XY-plot used for drawing the XY-points on a XY-chart. There are four line styles solid, dotted, dashed or dash-dot. Except for the line styles there are three other representations of the points, that is as a bar, a number or combined.



entry: 		Required / Default: SOLID.

entry type: 	Alphanumeric string, Standard FactoryLink tag name.

valid entry: 	String: 
	
NONE, SOLID, DOT, DASH, DASHDOT, BAR, NUM, NUMBAR.

			Tag: 
	
ANALOG.

description:


String�Tag value�Description��NONE�0�No line style��SOLID�1�Solid line��DOT�2�Dotted line��DASH�3�Dashed line��DASHDOT�4�Dash/dot line��BAR�5�Bar��NUM�6�Numerical��NUMBAR�7�Bar and Numerical��


	�SYMBOL 168 \f "Symbol" \s 10 \h�	*Marker Style

Marker style of the XY-plot used for drawing the XY-points on a XY-chart. There are nine marker styles: circle, diamond, box, triangle, plus sign, cross, solid diamond, solid box and x sign. A special diagram is a scatter diagram. A scatter diagram is created by defining no interpolation, a marker style (except NONE) and no line style (see above) for a XY-plot.



entry: 		Required / Default: NONE.

entry type: 	Alphanumeric string, Standard FactoryLink tag name.

valid entry:	String: 
	
NONE, CIRCLE, DIAMOND, BOX, TRIANGLE, PLUS, CROSS, 

		           
	
SDIAMOND, SBOX.

			Tag: 
	
ANALOG.

description:


String�Tag value�Description��NONE�0�None��CIRCLE�1�Circle��DIAMOND�2�Diamond��BOX�3�Box��TRIANGLE�4�Triangle��PLUS�5�Plus��CROSS�6�Cross��SDIAMOND�7�Solid diamond��SBOX�8�Solid box��


	�SYMBOL 168 \f "Symbol" \s 10 \h�	*Interpolation

Interpolation mode between XY-points. Normally a XY-plot shows a relation between X and Y. A special diagram is a scatter diagram. A scatter diagram is created by defining no interpolation, no line style (see below) and a marker style for a XY plot.

For an interpolation mode (entry is not NONE) the points on XY-plot are 'connected' with the chosen line style, as there are line, power 2, polynomial of third order, square root, step and hold interpolation. 



� EMBED Word.Picture.6  ���



Figure 5.2.9 Interpolation types.



entry: 		Required / Default: LINE.

type of entry: 	Alphanumeric string, Standard FactoryLink tag name.

valid entry: 	String:  NONE,  LINE, LINE_SEC, LINE_BEGIN, LINE_END,

POW2, POW2_SEC, POW2_BEGIN, POW2_END,

POLY3, POLY3_SEC, POLY3_BEGIN, POLY3_END,

SQRT2, SQRT2_SEC, SQRT2_BEGIN, SQRT2_END,

HOLD, HOLD_SEC, HOLD_BEGIN, HOLD_END,

STEP, STEP_SEC, STEP_BEGIN, STEP_END.

			Tag: 
	
ANALOG.

description:


Interpolation�Tag

value�Description��NONE�0�No interpolation between points.��LINE�10�Line interpolation, from origin until end of chart.��LINE_SEC�11�Line interpolation, from first defined point until last defined point.��LINE_BEGIN�12�Line interpolation, from origin until last defined point.��LINE_END�13�Line interpolation, from first defined point until end of chart.��POW2�20�Power 2 interpolation, from origin until end of chart.��POW2_SEC�21�Power 2 interpolation, from first defined point until last defined point.��POW2_BEGIN�22�Power 2 interpolation, from origin until last defined point.��POW2_END�23�Power 2 interpolation, from first defined point until end of chart.������POLY3�30�Polynomial 3 order, from origin until end of chart.��POLY3_SEC�31�Polynomial 3 order, from first defined point until last defined point.��POLY3_BEGIN�32�Polynomial 3 order, from origin until last defined point.��POLY3_END�33�Polynomial 3 order, from first defined point until end of chart.������SQRT2�40�Square root interpolation, from origin until end of chart.��SQRT2_SEC�41�Square root interpolation, from first defined point until last defined point.��SQRT2_BEGIN�42�Square root interpolation, from origin until last defined point.��SQRT2_END�43�Square root interpolation, from first defined point until end of chart.������HOLD�50�Hold interpolation, from origin until end of chart.��HOLD_SEC�51�Hold interpolation, from first defined point until last defined point.��HOLD_BEGIN�52�Hold interpolation, from origin until last defined point.��HOLD_END�53�Hold interpolation, from first defined point until end of chart.������STEP�60�Step interpolation, from origin until end of chart.��STEP_SEC�61�Step interpolation, from first defined point until last defined point.��STEP_BEGIN�62�Step interpolation, from origin until last defined point.��STEP_END�63�Step interpolation, from first defined point until end of chart.��




�



Figure 5.2.10 XY-Plot Definition.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	XY-Plot Visible

Tag name of an element whose value toggles the XY-plot mode from invisible to visible or vice versa. If the value of the tag is equal to zero (OFF), the XY-plot is not drawn in the chart (invisible). For tag value not equal to zero (ON) the XY-plot will be drawn in the chart. Except dynamically a XY-plot can be made permanent visible (YES) or invisible (NO)



entry: 		Required / Default: YES.

type of entry: 	Alphanumeric string, Standard FactoryLink tag name.

valid entry: 	String: NO, YES.

		Tag: DIGITAL.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	X-Min

Minimum X-value for a XY plot (Engineering units). The X-axis of this plot is limited from the value en��tered in this field to X-max. The X-value of points to be added/�re�mo�ved to/from the plot should be within the range: X-min, X-max. If not an appropriate error message is generated and the point will be rejected. 



entry:	 	Required / Default: 0.

entry type: 	Decimal number.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	X-Max

Maximum Y-value for a XY-plot (Engineering units). The X-axis of chart is limited from X-min to the value en��tered in this field.



entry:	 	Required / Default: 100.

entry type: 	Decimal number.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Y Min

Minimum Y-value for a XY-plot (Engineering units). The Y-axis of chart is limited from the value en��tered in this field to Y-min. The Y-value of points to be added/removed to/from the plot should be within the range: Y-min, Y-max. If not an appropriate error message is generated,  however the point will not be rejected. 



entry:	 	Required / Default: 0.

entry type: 	Decimal number.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Y Max

Maximum Y-value for a XY-plot. The Y-axis of chart is limited from Y-min to the value en��tered in this field.



entry:	 	Required / Default: 100.

entry type: 	Decimal number.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Y-Legend Minimum

Tag name of the real-time database element that contains the actual minimum value for the Y-direction (Y-offset, see Y-zoom factor). The tag can be used for animating a dynamic legend in the Y-direction. 



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG.



�



Figure 5.2.11 XY-Plot Definition.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Y-Legend Maximum

Tag name of the real-time database element that contains the actual maximum value for the Y-direction (Y-zoom, see Y-zoom factor). The tag can be used for animating a dynamic legend in the Y-direction. 



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Cursor Value

Tag name of the real-time database element used to represent the Y-value of a XY-plot on the actual cursor position.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONG ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Set X-Position

Tag name (array) of the real-time database element used to specify the X-values on a XY-plot. For a tag array the first tag is the tag specified here,  the length of the tag array considered is specified with the field Set Dimension. 

In case no tag is specified or the value of the tag is less then X-min, the X-positions are not relevant. The Y-values are assumed to correspond with relative X-positions starting at zero, increasing by one every next Y-value (only for tag arrays!).



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONG ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Set Y-Position

Tag name (array) of the real-time database element used to specify the Y-values on a XY-plot. For a tag array the first tag is the tag specified here,  the length of the tag array considered is specified with the field Set Dimension. As well as adding (defining) you can remove (undefine) a point for a XY-plot.

Defining a Y-value: 	value >= Y-min.		

Undefining a Y-value: 	value < Y-min.



There are two options for adding/removing (defining/undefining) a XY-point to/from a XY-plot.

�SYMBOL 129 \f "Wingdings" \s 10 \h�	Defining/undefining is started if the change flag of the tag from the field Set Y-Po�sition is set to 1 (ON) and there is no entry in the field Set Point.

�SYMBOL 130 \f "Wingdings" \s 10 \h�	There is an entry in the field Set Point. Defining/undefining is started if the value of this digital tag is forced to 1 (ON).



entry: 		Required.

entry type: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONG ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	*Set Dimension

Length of the tag array for X- and Y-Set positions
�
.



entry: 		Required.

entry type: 	Decimal number, Standard FactoryLink tag name.

valid entry: 	Number: 1 .. 3600.

		Tag: ANALOG.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Clear Points

Tag name of the real-time database element that clears all the XY-points if the value is forced to 1 (ON). After a clear command all XY-points are undefined for the XY-plot.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Set Point

Tag name of the real-time database element used to define/undefine a XY-point (array) on a XY-plot. If the element is forced to 1 (ON), value(s) for XY-points are de�fi�ned�/�undefined. If an entry is specified, defining/undefining is not started if the change flag of the element Set Y-Position is set to 1 (ON).



entry: 		Optional.

type of entry: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



�




Figure 5.2.12 DeltaLink XY-Plot Definition.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Set Completion

Tag name of the real-time database element that is forced to 1 (ON) after every de�fi�ne�/undefine command.



entry: 		Optional.

type of entry: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Retrieve X-Position

Tag name (array) of the real-time database element used to specify the X-values to re��trieve Y-values from a XY-plot. For a tag array the first tag is the tag specified here,  the length of the tag array considered is specified with the column Dim or Dim Tag. In case no tag is specified or the value of the tag is less then zero, the X-positions are not relevant. The Y-values are assumed to correspond with relative X-positions starting at zero, increasing by one every next Y-value (only for tag arrays!). 






There are two options for retri
eving a XY-point from a XY-plot.



�SYMBOL 129 \f "Wingdings" \s 10 \h�
	Retrieving is started if the change flag of the tag from the field Retrieve X Position  is set to 1 (ON) and there is no entry in the field Retrieve.


�SYMBOL 130 \f "Wingdings" \s 10 \h�
	There is an entry in the field Retrieve. Retrieving is started if the value of this digital tag is forced to 1 (ON).



entry: 		Optional.

type of entry: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONG ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Retrieve Y-Position

Tag name (array) of the real-time database element in which the Y-values from a XY-plot are placed after a retrieve command. For a tag array the first tag is the tag spe�cified here,  the length of the tag array considered is specified with the column Retrieve Dimension. A defined point returns: Y-value >= Y-min. A undefined point returns: Y-value = Y-min - 1.



entry: 		Optional.

type of entry: 	Standard FactoryLink tag name.

valid entry: 	ANALOG, FLOAT, LONG ANALOG.





	�SYMBOL 168 \f "Symbol" \s 10 \h�	Retrieve Dimension

Length of the tag array for X- and Y-Retrieve positions
�
.



entry: 		Required.

entry type: 	Decimal number, Standard FactoryLink tag name.

valid entry: 	Number: 1 .. 3600.

			Tag: ANALOG.



�



Figure 5.2.13 DeltaLink XY-Plot Definition.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Retrieve

Tag name of the real-time database element used to retrieve a XY-point (array) on a XY-plot. If the element is forced to 1 (ON), value(s) for XY-points are retrieved (tag(s) for Y-values are updated accordingly to the specified X-positions). If an entry is specified, retrieving is not started if the change flag of the element Retrieve X-Posi�tion is set to 1 (ON).



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Retrieve Completion

Tag name of the real-time database element that is forced to 1 (ON) after every re�trie�ve command.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	File Spec.

A XY-plot can be saved to or restored from a file, called a XY-plot save file. The format of the XY-plot save file is compatible with the format of Batch Recipe
�
 files. The File Specifier is a variable specifier that uses the value of the File Spec. Variable to form a path/file name for a binary XY-plot save file that contains a specific plot. The default directory for a XY-plot save file is {FLAPP}/LOG. The following environment variables can be used in a definition of a path/file name: {FLINK}, {FLAPP}, {FLOPT}, {FLNAME}, {FLDOMAIN} and {FLUSER}.



entry: 		Optional.

entry type: 	Alphanumeric string.

valid entry:	String of up to 128 characters.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	File Spec. Variable

Variable specifier that is used to form with the File Spec. a full path/file name for a XY-plot save file.

Note: For general information about variable specifiers in FactoryLink configuration tables, refer to the FactoryLink Fundamentals Manual.





entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL, ANALOG, FLOAT LONGANA, MESSAGE.



�



Figure 5.2.14 DeltaLink XY-Plot Definition.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Save Format

The specifier is used to instruct the XY-Chart task how many XY-points should be written in a XY-plot save file. All the points of a XY-plot can be written to a file, or just the defined ones. If a XY-plot save file is read, all the points found in the file will be defined points in the XY-plot.



entry: 		Optional.

entry type: 	Alphanumeric string.

valid entry:	ALL, DEFINED.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Format

The specifier is used to instruct the XY-Chart task which format for the X- and Y-positions is used in a XY-plot file. This format is used for both reading and writing a save file.



entry: 		Optional.

entry type: 	Alphanumeric string.

valid entry:	ANALOG, FLOAT, LONGANA.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Read File

Tag name of the real-time database element used to read XY-points from a save file.  If the element is forced to 1 (ON), value(s) for X and Y points are read from the file.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Write File

Tag name of the real-time database element used to write XY-points to a save file.  If the element is forced to 1 (ON), value(s) for X and Y points are written to the file.



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.	



�SYMBOL 168 \f "Symbol" \s 10 \h�	File Completion

Tag name of the real-time database element that is forced to 1 (ON) after every file com�mand (read or write).



entry: 		Optional.

entry type: 	Standard FactoryLink tag name.

valid entry: 	DIGITAL.



�
�AUTONUMLGL�	Color definition




From the display of all the panels, select the XY-Points Color Definition panel.



�



Figure 5.2.15 XY-Points Color Definition.



The XY-Points Color Definition panel allows the user to specify one or more colors to be used for drawing a XY-plot on a chart.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Y-value

The value entered in this field is used in combination with the color field. If the value in the Y-direction >= value entered, the defined color is used for drawing the XY-point.



entry: 		Required.

entry type: 	Decimal number, Standard FactoryLink tag name.

valid entry: 	Number: any decimal value.

		Tag: DIGITAL, ANALOG, FLOAT, LONGANA.



	�SYMBOL 168 \f "Symbol" \s 10 \h�	Color

The color entered in this field is used in combination with the value entered in the pre�vious field.



entry: 		Optional.

entry type: 	Alphanumeric string, Standard FactoryLink tag name.

valid entry: 	String: RED, ORANGE-RED,  ORANGE, YELLOW-ORANGE, YELLOW, 

GREEN-YELLOW,  YELLOW-GREEN, PALE-GREEN, GREEN, 

LIME-GREEN, SEA-GREEN, AQUAMARINE, CYAN, LIGHT-BLUE, SKY-BLUE, MEDIUM-BLUE, BLUE, MIDNIGHT-BLUE, CORN-BLUE, ORCHID, MAGENTA, PINK, CORAL, FIREBRICK, INDIAN-RED, SIENNA, BROWN, SANDY-BROWN, KHAKI, LIGHT-OLIVE, 

MED-OLIVE, DARK-OLIVE, SPRING-GREEN, FOREST-GREEN, DARK-GREEN, DARK-AQUAMARINE, TURQUOISE, CADET-BLUE, SLATE-BLUE, STEEL-BLUE, NAVY-BLUE, BLUE-VIOLET, VIOLET, DARK-ORCHID, RED-VIOLET, PLUM, MAROON, DARK-MAROON, BLACK, DARK-GRAY4, DARK-GRAY, DARK-GRAY3, DARK-GRAY2, DARK-GRAY1, GRAY6, GRAY5, GRAY, GRAY4, GRAY3, GRAY2, GRAY1, LIGHT-GRAY4, LIGHT-GRAY, LIGHT-GRAY3, LIGHT-GRAY2, LIGHT-GRAY1, WHITE

Tag: 	ANALOG

description:


Color�Tag value�Color�Tag value��RED�0�SPRING-GREEN�32��ORANGE-RED�1�FOREST-GREEN�33��ORANGE�2�DARK-GREEN�34��YELLOW-ORANGE�3�DARK-AQUAMARINE�35��YELLOW�4�TURQUOISE�36��GREEN-YELLOW�5�CADET-BLUE�37��YELLOW-GREEN�6�SLATE-BLUE�38��PALE-GREEN�7�STEEL-BLUE�39��GREEN �8�NAVY-BLUE�40��LIME-GREEN�9�BLUE-VIOLET�41��SEA-GREEN�10�VIOLET�42��AQUAMARINE�11�DARK-ORCHID�43��CYAN�12�RED-VIOLET�44��LIGHT-BLUE�13�PLUM�45��SKY-BLUE�14�MAROON�46��MEDIUM-BLUE�15�DARK-MAROON�47��BLUE�16�BLACK�48��MIDNIGHT-BLUE�17�DARK-GRAY4�49��CORN-BLUE�18�DARK-GRAY3�50��ORCHID�19�DARK-GRAY2�51��MAGENTA�20�DARK-GRAY1�52��PINK�21�GRAY6�53��CORAL�22�GRAY5�54��FIREBRICK�23�GRAY4�55��INDIAN-RED�24�GRAY3�56��SIENNA�25�GRAY2�57��BROWN�26�GRAY1�58��SANDY-BROWN�27�LIGHT-GRAY4�59��KHAKI�28�LIGHT-GRAY3�60��LIGHT-OLIVE�29�LIGHT-GRAY2�61��MED-OLIVE�30�LIGHT-GRAY1�62��DARK-OLIVE�31�WHITE�63��



�



This page is left blank intentionally.




�
Appendix A. The delta.opt file




In order to run the task permanently with full functionality either an authorisation sequen�ce or a protection hardware key with the task option is needed. This appendix describes the authorisation sequence together with the option file.



The authorisation sequence of every independent DeltaLink module must reside in the {FLOPT}/delta.opt file in order to take effect. In case the task has been ordered with an authorisation sequence then this sequence resides on the install diskette (in the /opt/delta.opt file) and will be automatically added to the {FLOPT}/delta.opt file with the installation. In case the task has been previously installed from a demo diskette and the authorisation sequence has been purchased later then the sequence must be added manually to the {FLOPT}/delta.opt file.



The format of the delta.opt file consists of two parts. The first part is the comment header. This part remains always at the beginning of the file. Every line of the comment part starts with an '*' character. The second part contains the authorisation sequences of every indepen�dent DeltaLink module. Every line must hold one sequence code and must apply to a strict format.



An example of the option file looks like this:



Protection file: delta.opt


*

* Copyright 1994 DeltaLink bv. All Rights Reserved 

*

* DeltaLink bv

* Saffierborch 6c

* NL-5241 LN Rosmalen

* The Netherlands

* Tel: (int) 31 4192 20025

* Fax: (int) 31 4192 15451

*

*

* FactoryLink Serial Number: 12345OS2

*

* DeltaLink module option:

*

* MODULE = taskname of always 8 characters with trailing spaces

* .      = <space>

* X      = authorization code supplied by DeltaLink

*

* MODULE..XXXX.XXXX.XXXX.XXXX.XXXX.XXXX.XXXX.XXXX.XXXX

DECODER   2D6F E047 2534 036E 1215 EC80 92F8 1EFC C4C0




In case a full installation diskette with authorisation diskette has been ordered then the header in the option file on the diskette contains the serial number of FactoryLink. The task will run only on the FactoryLink package with this serial number. If the serial number is not listed in the {FLOPT}/delta.opt file due to a previous demo installation then this number can be added in the header of this file.



The authorisation code must exactly match the format as listed in the header. If this is not the case the module will not recognise the authorisation sequence and start up in demo mode.



The format of an authorisation sequence line is as follows:




MODULE<s><s>XXXX<s>XXXX<s>XXXX<s>XXXX<s>XXXX<s>XXXX<s>XXXX<s>XXXX<s>XXXX<CR><LF>




The MODULE field contains the DeltaLink module name in this case XYCHART. This field must always be 8 characters long. If the module name is shorter then 8 characters then the name must be filled out with spaces to 8 characters.

After the MODULE field one space must be entered.



After the space field 9 records must be specified with the authorisation code. One record is build up of one leading space (ASCII 0x20) and four sequence codes. The sequence codes must be entered exactly as specified by DeltaLink.



After the authorisation code records a carriage return (ASCII 0x13) and linefeed (ASCII 0x10) must fol�low.



There may be no empty lines between the specification of more than one module. To add an authorisa�tion sequence a normal editor can be used. If all modules with the right authorisation codes are speci�fied according to the format described above then the modules will start with full functionality.



�
Appendix B. Command line parameters





The XYCHART task accepts several command line parameters, these can be configured with the configuration manager in the ‘System Configuration’ table, column ‘Program Arguments’. An argument consists out of first a minus sign (‘-‘), followed by the a letter specifying the option. After the letter an optional number can be present, if this is supported by the option.





Option�Description�����-dn�Debug option, the level of debug information is set with the number n. The range of this number is from 1 until 4. If no number is specified the default level will be 1. The debug output will be visible in the ‘window’ of the protocol driver, that of the run time manager.�����-ln�Same as the previous option, difference is the output device. For this option an ASCII log file is generated, being the file: {FLAPP}/{FLNAME}/{FLDOMAIN}/log/s_3964r.log�����-pn�Zoom and Pan resolution for the X-direction. Pan and zoom factor in the X-direction are (dynamical) adjusted with tags, these tags are defined in the chart animation with the Application Editor. The allowed type of the tags include ‘FLOAT’, however internally in the Graphics task this value is converted to a long integer (truncation). This can cause improper zoom and pan actions. The value after the -p option defines the correction factor for zooming and panning in the X-direction. So the percentage to zoom is the tag value divided by the correction value, the percentage to pan is the tag value divided by the correction value. E.g. th eprogram argument -p100 defines a correction factor of 100. If a value 0f 500 is written to th eX-zoom tag, the actual zoom percentage will be: 500 / 100 = 5%.�����


�



This page is left blank intentionally.



�
Appendix C. Error codes




The error code is returned to the user in a user-defined status tag. These error codes will also be printed with the message of the DeltaLink XYCHART task in the run-time manager. The er�rors can be generated from within different parts of the task which will be listed here:






Error #�FactoryLink errors��401�Internal error��402�Out of memory��403�Operating system error��404�Initialization not successful��405�Initialization not successful��406�Incorrect function��407�Incorrect argument��408�Incorrect data��409�Bad tag��410�Null pointer assignment��411�Change flag not set��412�Procedure table full��413�Bad procedure name��414�Bad user name��415�Bad option��416�Incorrect checksum��417�No options��418�No key��419�Bad key��420�No port available��421�Port busy��422�FL already active��423�No lock��424�Lock failed��425�Lock expired��426�Wait failed��427�Termination flag set��428�Q-size to big��429�Q-size changed��430�No tag list��431�Tag list changed��432�Wake up failed��433�No signals��434�Signaled��435�Not a mailbox��436�No messages��437�Access denied��438�Attribute failure��439�Invalid attribute��440�Attribute not defined��441�Application exists��442�RTDB does not exist��443�No task bit��444�Not a lite task��





Error #�XY-Chart errors��
501�Y-value <  minimum��502�Y-value > maximum��503�X-value < minimum��504�X-value > maximum��505�Error retrieving GRAPH Mailbox��506�X-Pan value < 0%��507�X-Pan value > 100%��508�X-Zoom value < 0%��509�X-Zoom value > 100%��510�Dimension tag array <= 0 ��511�Invalid chart definition��512�Error reading command line��513�Unknown window for chart��530�Y-Pan value  < 0%��531�Y-Pan value > 100%��532�Y-Zoom value < 0%��533�Y-Zoom value > 100%��550�Error opening xyplot save file��551�Error closing xyplot save file��552�Error reading xyplot save file��553�Error writing xyplot save file��554�Incorrect size/format of xyplot save file��555�Filename to long for xyplot save file��556�Maximum number of format specifiers exceeded��557�Unknown format specifier��558�Incorrect tag type for format specifier��559�Tag format specifier undefined��




�
Appendix D. Messages





If an error condition occurs in the XY-Chart task during Run-Time mode, a message to that ef�fect will appear on the runtime manager graphics screen to the right of "XYCHART". The error messages that may be displayed are as follows:



Running in DEMO mode

The task did not found the DeltaLink protection code or key, when starting up. The code or key could not be present or damaged. Check also, for the protection key, if the device driver is correctly loaded. This is a non fatal error, however the task continues running in DEMO mode. The DEMO has some limitations: timed for 60 minutes, a maximum of three plots. After shutdown the task can not be restarted without stopping the complete FactoryLink application.



Demo shutdown, licensed to run 60 minutes

The task did not found the DeltaLink protection code or key, when starting up and continued running in DEMO mode. The DEMO has some limitations: timed for 60 minutes, a maximum of two charts and three plots. After shutdown the task can not be restarted without stopping the complete FactoryLink application.



Demo restart prohibited, restart FactoryLink

The task did not found the DeltaLink protection code or key, when starting up. The code or key could not be present or damaged. Check also, for the protection key, if the device driver is correctly loaded. This is a fatal error. After shutdown the task can not be restarted (if the protection key is missing or defect) without stopping the complete FactoryLink application.



Out of RAM

There is not enough RAM memory to load the complete configuration and/or task. This is a fatal error.



Can't open CT file

The task was unable to open the configuration table file, generally because it does not exist. This is a fatal error.



Error reading CT index

An error occurred reading the index of the CT file. This is a fatal error.



Error reading CT header

An error occurred reading the header of a table in the CT file. This is a fatal error.



Error reading CT table %d, record %d

An error occurred reading a record in a particular table in the CT file. The number of the table and record are displayed. This is a fatal error.



Error (%d) reading CT trigger for %s

An error occurred during loading a trigger. This is a fatal error. The error number and informa�ti�ve string are displayed.



No plot for chart '%s' specified

There is no XY-plot found for the displayed chart. This is a fatal error.



No graphics definition for chart '%s' specified

There is no matching definition found for the displayed chart in the graphic configuration files. This is a fatal error.




Incompatible Mailbox tags for chart '%s'

The chart definition in the graphics and XY-CHART have different mailboxes. This is a fatal error.





No graphics definition found for '%s'

An error is encountered in the definition of a chart. The error is normally generated if a chart definition for the XY-Chart task does not correspond with a chart object as it is defined with the GEDANT. This is a fatal error.



Invalid division type for chart '%s'

‘Initial Chart Duration’ is not set to the type points. This is a fatal error.



Invalid tag type for %s mailbox

A mailbox tag was expected but not found, there is a tag of a different type. This is a fatal error.



More then one Mailbox tag specified for XYCHART

There is more then one mailbox defined for the task XYCHART. This is a fatal error.



Error (%d) reading data

An error occurred reading a tag value. The error number is displayed.



Error (%d) change wait data

An error occurred waiting on a changed tag value. The error number is displayed.



Error (%d) writing data

An error occurred writing a tag value. The error number is displayed.



Error (%d) initialising XY-chart facilities

An error occurred during the initialization of the XY-chart facilities of FactoryLink. The error number is displayed, this is a fatal error.



Error (%d) activating chart %s on window ‘%s’

An error occurred during the initialization of a chart. The error number, the chart name and the window name are displayed.



Error (%d) inactivating chart %s on window ‘%s’

An error occurred during the de-activation of a chart. The error number, the chart name and the window name are displayed.



Error (%d) updating legend chart %s

An error occurred during updating a legend variable. The error number and the chart name are displayed.



Error (%d) zooming chart %s

An error occurred during zooming of a chart. The error number and the chart name are displayed.



Error (%d) panning chart %s

An error occurred during panning of a chart. The error number and the chart name are displayed.



Error (%d) clearing chart %s

An error occurred during clearing a chart. The error number and the chart name are displayed.



Error (%d) cursor value chart %s

An error occurred during updating the output value for the cursor position. The error number and the chart name are displayed.




Error (%d) setting value chart %s

An error occurred during defining/undefining XY-points for chart. The error number and the chart name are displayed.



Error (%d) retrieving value chart %s

An error occurred during retrieving xy-points for a chart. The error number and the chart name are displayed.



Error (%d) drawing chart %s

An error occurred drawing a chart. The error number and the chart name are displayed.



Error (%d) reading save file for chart %s

An error occurred during reading a XY-plot save file. The result of the read operation may be inconsistent! The error number and the chart name are displayed.



Error (%d) writing save file for chart %s

An error occurred during writing a XY-plot save file. The result of the write operation may be inconsistent! The error number and the chart name are displayed.



Unknown chart, %s, %s, %s

The task XYCHART received from the graphics task information for an unknown chart. The drawing name, object name and the window name are displayed.

� EMBED Word.Picture.6  ���


�



This page is left blank intentionally.







�
{FLINK} is the working directory for the FactoryLink programs.


�
TAG dimension: The task XYCHART uses as a tag array, the array with the first element being the specified tag and the given length. The array dimension given here is not cross-checked with the one of the tag-array definition.


�
TAG dimension: The task XYCHART uses as a tag array, the array with the first element being the specified tag and the given length. The array dimension given here is not cross-checked with the one of the tag-array definition.


�
Batch Recipe is an optional USDATA FactoryLink task.






�		�   






�		�






© DeltaLink bv	�filename �
Xychart.doc
�   Version 5
	Page �PAGE�
46
�






Page �PAGE�
29
�	�filename �
Xychart.doc
�   Version 5
	© DeltaLink bv






��















© DeltaLink bv



Printed: 01 april, 1996�















Version 5
��








This is the object
’
s 
name






This is the object
’
s ID












