_


Independent Software Vendor Modules

For FactoryLink® Software System

 SAPI S7 Protocol Driver

Company Providing: DeltaLink bv






    Pioenroosstraat 26






    5241 AB  ROSMALEN






    Tel:  +31 (0)73 523 1234






    Fax: +31 (0)73 523 1222

 






    E-mail: Sales@deltalink.nl


Section: Tools and Utilities

Product: SAPI S7 Protocol Driver

Overview:

The DeltaLink  SAPI (Simple Application Programmers Interface) Protocol Driver has been developed using the IMX principle. It implements full IMX protocol capability. It is a new generation driver fully compliant to the SINEC SAPI standard. 

This driver has been designed for a maximum performance with full IMX and SAPI functionality and ease of use.


[image: image1.wmf]SAPI

Ioxlator

RTDB


Key Features:

Provides the following features:

· Supports the S7-400 PLC range.

· Supported network types: Profibus, Industrial Ethernet and TCP/IP.

· Full asynchronic communication on Read, Write and Receive.

· Selectable boards. Makes it possible to have more then one board in the same PC, and even switch communication from one board to another.

· Full control over communication.

· Enable tags on all functions per PLC.

· Ease of use. Just specify which areas to Read, Write or Receive.

Supported Platforms and FactoryLink Versions:

Platform
FL Version
Part No.
Hardware

Windows NT
 6.x.x
 FLNTI-SAPI
Depends on choice of network type

Windows 95
 6.x.x
 FLWIN-SAPI
Depends on choice of network type

Third Party Software / Hardware Dependencies:

· Siemens communication board, choice depends on network type: CP1413, CP1416 for Ethernet or TCP/IP, CP5412, CP5613 for Profibus.

· Programmable Logic controller of type Siemens S7 400 series. PLC’s must be equipped with a communicaiton card, eg CP143 (Ethernet).

Supported Protocols:

· SAPI S7 protocol


Updated: juni 1998

Disclaimer: The product information in this listing was supplied by the respective vendor. USDATA is providing this listing to assist our customers in locating additional sources of products. USDATA has not completed testing of the products and has no way of knowing the actual function or performance of the products. USDATA makes no representations or warranties concerning the products. The information is subject to change without notice. USDATA cannot assume responsibility for any errors appearing in this listing. USDATA also reserves the right to make changes in the page format and content.

The responsibility for support and maintenance of the products belongs to the product company.

Trademarks: USDATA®  and FactoryLink®  are registered trademarks of United States Data Corporation. The Open Software Bus®  is a registered trademark licensed to United States Data Corporation.

All other brand or product names are used to identify products or services of their respective owners.

Copyright:  Copyright© 1998, United States Data Corporation. All rights reserved. 



   Copyright© 1998,   DeltaLink bv 

_947664016

_960380230.vsd

