Version history DeltaLink IOXlator Module

Version 1.0 cs#4

This version solves the length problem in conjuction with the DeltaLink redundancy module. Problem was when performing a block read with the ioxlator then the length could be on a different value depending on the last action taken by the decoder. Without the redundancy module this problem does not exist.

Version 1.0 cs#5

Solves the time conversion problem when using devices with another boundary direction. Also implements the YEAR conversion which is a binary which holds the complete year like e.g. 1998.

Version 1.0 cs#7

Changed the CDE code in case of exception write back to the old way. The CDE code will be adjusted with the bit offset in case of exception bit write. This is done for SPR 990060, the usdata problem with modbus plus TCP/IP.

Version 1.0 cs#8

Manual updated for case 9800233. Absolute addressing column stated wrong values.

Version 1.0 cs#9

Solves SPR 990286, query error 69 on dataset at start up. This has been solved in the IMX libraries where a fixed maximum number of dataset of 1000 was specified to check upon before writing in the mailbox.

