{"text_format":"2","workbook":"xls","n_sheets":12,"sheets":["Title","TM Datasets","TM Tags","Blad8","Blad9","Blad10","Blad11","Blad12","Blad13","Blad14","Blad15","Blad16"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":3,"comments":18,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Title","index":0,"n_rows":50,"n_cols":2,"rows_kept":50,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[]
[]
["IM Datasets"]
{"$rows_empty":38}
["Author:","W. van der Locht"]
["Company:","Starren B.V."]
["Date","2002-07-22"]
["Project:",51156]
["Document version","V005"]

{"sheet":"TM Datasets","index":1,"n_rows":19,"n_cols":27,"rows_kept":19,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Nr.","TM DSID","TM ID","Data set name, Data set control tag, Data set tag","Mailbox Tag","Message Type","FieldType","Start FieldIndex","End FieldIndex","Length","Read trigger","Write trigger","RD","EW","BW","UR","ABS","Status","Read completition","Write Completition","Unsollicited rcv completition","Read disable","Write disable","Unsollicited rcv disable","Read sync","Write sync","Unsollicited rcv sync"]
[1,1,43,"TM43_1_CD_BO_H","IOTRANSLATOR","COMMAND","BOOLEAN",9997,9999,3,"","TM43_1_CD_BO_H_WT","N","E","N","N","YES","TM43_1_CD_BO_H_STAT","","TM43_1_CD_BO_H_WC","","","TM43_1_CD_BO_H_WD","","","TM43_1_CD_BO_H_WS",""]
[2,2,43,"TM43_2_PR_BO_H","IOTRANSLATOR","PARAMETER","BOOLEAN",9997,9999,3,"TM43_2_PR_BO_H_RT","TM43_2_PR_BO_H_WT","Y","E","N","N","YES","TM43_2_PR_BO_H_STAT","TM43_2_PR_BO_H_RC","TM43_2_PR_BO_H_WC","","TM43_2_PR_BO_H_RD","TM43_2_PR_BO_H_WD","","TM43_2_PR_BO_H_RS","TM43_2_PR_BO_H_WS",""]
[3,3,43,"TM43_3_SS_BO_H","IOTRANSLATOR","STATUS","BOOLEAN",9997,9999,3,"TM43_3_SS_BO_H_RT","","Y","N","N","N","YES","TM43_3_SS_BO_H_STAT","TM43_3_SS_BO_H_RC","","","TM43_3_SS_BO_H_RD","","","TM43_3_SS_BO_H_RS","",""]
[4,4,43,"TM43_4_PR_IN_H","IOTRANSLATOR","PARAMETER","INTEGER",9997,9999,3,"TM43_4_PR_IN_H_RT","TM43_4_PR_IN_H_WT","Y","E","N","N","YES","TM43_4_PR_IN_H_STAT","TM43_4_PR_IN_H_RC","TM43_4_PR_IN_H_WC","","TM43_4_PR_IN_H_RD","TM43_4_PR_IN_H_WD","","TM43_4_PR_IN_H_RS","TM43_4_PR_IN_H_WS",""]
[5,5,43,"TM43_5_SO_IN_H","IOTRANSLATOR","STATINFO","INTEGER",9997,9999,3,"TM43_5_SO_IN_H_RT","","Y","N","N","N","YES","TM43_5_SO_IN_H_STAT","TM43_5_SO_IN_H_RC","","","TM43_5_SO_IN_H_RD","","","TM43_5_SO_IN_H_RS","",""]
[6,6,43,"TM43_6_PR_ST_H","IOTRANSLATOR","PARAMETER","STRING",9997,9999,3,"TM43_6_PR_ST_H_RT","TM43_6_PR_ST_H_WT","Y","E","Y","N","YES","TM43_6_PR_ST_H_STAT","TM43_6_PR_ST_H_RC","TM43_6_PR_ST_H_WC","","TM43_6_PR_ST_H_RD","TM43_6_PR_ST_H_WD","","TM43_6_PR_ST_H_RS","TM43_6_PR_ST_H_WS",""]
[7,7,43,"TM43_7_SO_ST_H","IOTRANSLATOR","STATINFO","STRING",9997,9999,3,"TM43_7_SO_ST_H_RT","","Y","N","N","N","YES","TM43_7_SO_ST_H_STAT","TM43_7_SO_ST_H_RC","","","TM43_7_SO_ST_H_RD","","","TM43_7_SO_ST_H_RS","",""]
[8,8,43,"TM43_8_SL_IN_H","IOTRANSLATOR","STATINFO-DEL","INTEGER",9997,9999,3,"TM43_8_SL_IN_H_RT","","Y","N","N","N","YES","TM43_8_SL_IN_H_STAT","TM43_8_SL_IN_H_RC","","","TM43_8_SL_IN_H_RD","","","TM43_8_SL_IN_H_RS","",""]
[9,9,43,"TM43_9_SL_ST_H","IOTRANSLATOR","STATINFO-DEL","STRING",9997,9999,3,"TM43_9_SL_ST_H_RT","","Y","N","N","N","YES","TM43_9_SL_ST_H_STAT","TM43_9_SL_ST_H_RC","","","TM43_9_SL_ST_H_RD","","","TM43_9_SL_ST_H_RS","",""]
[10,10,43,"TM43_10_EN_IG_H","IOTRANSLATOR","EXCEPTION","IGNORE",0,3,4,"","","N","N","N","Y","YES","TM43_10_EN_IG_H_STAT","","","TM43_10_EN_IG_H_URC","","","TM43_10_EN_IG_H_URC","","","TM43_10_EN_IG_H_URS"]
[11,11,43,"TM43_11_PR_RE_H","IOTRANSLATOR","PARAMETER","REAL",9997,9999,3,"TM43_11_PR_RE_H_RT","TM43_11_PR_RE_H_WT","Y","E","N","N","YES","TM43_11_PR_RE_H_STAT","TM43_11_PR_RE_H_RC","TM43_11_PR_RE_H_WC","","TM43_11_PR_RE_H_RD","TM43_11_PR_RE_H_WD","","TM43_11_PR_RE_H_RS","TM43_11_PR_RE_H_WS",""]
[12,12,43,"TM43_12_PR_LO_H","IOTRANSLATOR","PARAMETER","LONG",9997,9999,3,"TM43_12_PR_LO_H_RT","TM43_12_PR_LO_H_WT","Y","E","N","N","YES","TM43_12_PR_LO_H_STAT","TM43_12_PR_LO_H_RC","TM43_12_PR_LO_H_WC","","TM43_12_PR_LO_H_RD","TM43_12_PR_LO_H_WD","","TM43_12_PR_LO_H_RS","TM43_12_PR_LO_H_WS",""]
[13,13,43,"TM43_13_SO_BO_H","IOTRANSLATOR","STATINFO","BOOLEAN",9997,9999,3,"TM43_13_SO_BO_H_RT","","Y","N","N","N","YES","TM43_13_SO_BO_H_STAT","TM43_13_SO_BO_H_RC","","","TM43_13_SO_BO_H_RD","","","TM43_13_SO_BO_H_RS","",""]
[14,14,43,"TM43_14_SO_RE_H","IOTRANSLATOR","STATINFO","REAL",9997,9999,3,"TM43_14_SO_RE_H_RT","","Y","N","N","N","YES","TM43_14_SO_RE_H_STAT","TM43_14_SO_RE_H_RC","","","TM43_14_SO_RE_H_RD","","","TM43_14_SO_RE_H_RS","",""]
[15,15,43,"TM43_15_SO_LO_H","IOTRANSLATOR","STATINFO","LONG",9997,9999,3,"TM43_15_SO_LO_H_RT","","Y","N","N","N","YES","TM43_15_SO_LO_H_STAT","TM43_15_SO_LO_H_RC","","","TM43_15_SO_LO_H_RD","","","TM43_15_SO_LO_H_RS","",""]
[16,16,43,"TM43_16_SL_BO_H","IOTRANSLATOR","STATINFO-DEL","BOOLEAN",9997,9999,3,"TM43_16_SL_BO_H_RT","","Y","N","N","N","YES","TM43_16_SL_BO_H_STAT","TM43_16_SL_BO_H_RC","","","TM43_16_SL_BO_H_RD","","","TM43_16_SL_BO_H_RS","",""]
[17,17,43,"TM43_17_SL_RE_H","IOTRANSLATOR","STATINFO-DEL","REAL",9997,9999,3,"TM43_17_SL_RE_H_RT","","Y","N","N","N","YES","TM43_17_SL_RE_H_STAT","TM43_17_SL_RE_H_RC","","","TM43_17_SL_RE_H_RD","","","TM43_17_SL_RE_H_RS","",""]
[18,18,43,"TM43_18_SL_LO_H","IOTRANSLATOR","STATINFO-DEL","LONG",9997,9999,3,"TM43_18_SL_LO_H_RT","","Y","N","N","N","YES","TM43_18_SL_LO_H_STAT","TM43_18_SL_LO_H_RC","","","TM43_18_SL_LO_H_RD","","","TM43_18_SL_LO_H_RS","",""]

{"sheet":"TM Tags","index":2,"n_rows":250,"n_cols":7,"rows_kept":250,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Nr.","Data Tag","Dimension","Address","Bit or Length","Conversion","Comment"]
[1,"TM43_1_CD_BO_H_9997",1,9997,null,"BYTE"]
[2,"TM43_1_CD_BO_H_9998",1,9998,null,"BYTE"]
[3,"TM43_1_CD_BO_H_9999",1,9999,null,"BYTE"]
[4,"TM43_2_PR_BO_H_9997",1,9997,null,"BYTE"]
[5,"TM43_2_PR_BO_H_9998",1,9998,null,"BYTE"]
[6,"TM43_2_PR_BO_H_9999",1,9999,null,"BYTE"]
[7,"TM43_3_SS_BO_H_9997",1,9997,null,"BYTE"]
[8,"TM43_3_SS_BO_H_9998",1,9998,null,"BYTE"]
[9,"TM43_3_SS_BO_H_9999",1,9999,null,"BYTE"]
[10,"TM43_4_PR_IN_H_9997",1,9997,null,"WORD"]
[11,"TM43_4_PR_IN_H_9998",1,9998,null,"WORD"]
[12,"TM43_4_PR_IN_H_9999",1,9999,null,"WORD"]
[13,"TM43_5_SO_IN_H_9997",1,9997,null,"WORD"]
[14,"TM43_5_SO_IN_H_9998",1,9998,null,"WORD"]
[15,"TM43_5_SO_IN_H_9999",1,9999,null,"WORD"]
[16,"TM43_6_PR_ST_H_49985",1,49985,20,"MSG"]
[17,"TM43_6_PR_ST_H_49990",1,49990,20,"MSG"]
[18,"TM43_6_PR_ST_H_49995",1,49995,20,"MSG"]
[19,"TM43_7_SO_ST_H_49985",1,49985,20,"MSG"]
[20,"TM43_7_SO_ST_H_49990",1,49990,20,"MSG"]
[21,"TM43_7_SO_ST_H_49995",1,49995,20,"MSG"]
[22,"TM43_8_SL_IN_H_9997",1,9997,null,"WORD"]
[23,"TM43_8_SL_IN_H_9998",1,9998,null,"WORD"]
[24,"TM43_8_SL_IN_H_9999",1,9999,null,"WORD"]
[25,"TM43_9_SL_ST_H_49985",1,49985,20,"MSG"]
[26,"TM43_9_SL_ST_H_49990",1,49990,20,"MSG"]
[27,"TM43_9_SL_ST_H_49995",1,49995,20,"MSG"]
[28,"TM43_10_EN_IG_H_0",1,0,14,"MSG","Timestamp"]
[29,"TM43_10_EN_IG_H_14",1,14,16,"MSG","Equipment code"]
[30,"TM43_10_EN_IG_H_30",1,30,null,"BYTE","Severity"]
[31,"TM43_10_EN_IG_H_31",1,31,50,"MSG","Description"]
[32,"TM43_11_PR_RE_H_9997",1,9997,null,"DBL"]
[33,"TM43_11_PR_RE_H_9998",1,9998,null,"DBL"]
[34,"TM43_11_PR_RE_H_9999",1,9999,null,"DBL"]
[35,"TM43_12_PR_LO_H_9997",1,9997,null,"LONG"]
[36,"TM43_12_PR_LO_H_9998",1,9998,null,"LONG"]
[37,"TM43_12_PR_LO_H_9999",1,9999,null,"LONG"]
[38,"TM43_13_SO_BO_H_9997",1,9997,null,"BYTE"]
[39,"TM43_13_SO_BO_H_9998",1,9998,null,"BYTE"]
[40,"TM43_13_SO_BO_H_9999",1,9999,null,"BYTE"]
[41,"TM43_14_SO_RE_H_9997",1,9997,null,"DBL"]
[42,"TM43_14_SO_RE_H_9998",1,9998,null,"DBL"]
[43,"TM43_14_SO_RE_H_9999",1,9999,null,"DBL"]
[44,"TM43_15_SO_LO_H_9997",1,9997,null,"LONG"]
[45,"TM43_15_SO_LO_H_9998",1,9998,null,"LONG"]
[46,"TM43_15_SO_LO_H_9999",1,9999,null,"LONG"]
[47,"TM43_16_SL_BO_H_9997",1,9997,null,"BYTE"]
[48,"TM43_16_SL_BO_H_9998",1,9998,null,"BYTE"]
[49,"TM43_16_SL_BO_H_9999",1,9999,null,"BYTE"]
[50,"TM43_17_SL_RE_H_9997",1,9997,null,"DBL"]
[51,"TM43_17_SL_RE_H_9998",1,9998,null,"DBL"]
[52,"TM43_17_SL_RE_H_9999",1,9999,null,"DBL"]
[53,"TM43_18_SL_LO_H_9997",1,9997,null,"LONG"]
[54,"TM43_18_SL_LO_H_9998",1,9998,null,"LONG"]
[55,"TM43_18_SL_LO_H_9999",1,9999,null,"LONG"]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]
[""]

{"sheet":"Blad8","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad9","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad10","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad11","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad12","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad13","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad14","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad15","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Blad16","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}